CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No   01

# MILITARY ENGINEER SERVICES

NAME OF WORK: REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD

# CONTENTS SHEET

| Srl. No | Particulars | Serial Page No |
| --- | --- | --- |
| 1. | Contents Sheet | 01 |
| 2. | Tender forwarding letter including Instructions to Tenderers for filling the Tender. | 02 to 06 |
| 3. | Notice of Tender IAFW-2162 (Revised 1960) including Appendix `A' to Notice of Tender and Errata/ amendments to Appendix `A` to Notice of Tender. | 07 to 12 |
| 4. | Measurement Contracts for works by measurements (IAFW-2159) (Revised – 1947) Schedule ‘A', BOQ and Schedule ‘B’, ‘C’ & ‘D’ and Schedule of credit | 13 to 31 |
| 5. | General Conditions of Contracts IAFW-2249 (1989 print) including Errata/Amendments | 32 to 83 |
| 6. | Schedule of Minimum Fair Wages | 84 to 97 |
| 7. | Particular Specifications Section-I (Special Conditions) | 98 to 107 |
| 8. | Particular Specifications Section-II, Appendix `A’ to `E’. | 108 to 163 |
| 9. | Errata/Amendments to the tender documents |  |
| 10. | Relevant correspondence. |  |
| 11. | Acceptance letter. |  |
|  | Total Pages |  |
|  | Drawings- Sheets |  |

Total_________________Pages

SIGNATURE OF CONTRACTOR

SSW

DATED 	:   _______________					for Accepting Officer

CA NO:  CWE/GGN/F-34/2018-19						Serial Page No 02

Tele: 25675755					Headquarters

Fax : 25675749					Commander Works Engineer (AF) Gurgaon

Military Engineer Services

C/O CWE (AF) Palam Complex

Old Palam Road

Delhi Cantt -110010

8287/F-34/  	 /E8				     	Dec 2018

- M/S_______________________________

__________________________________

__________________________________

CA NO: CWE/GGN/F-34/2018-19: REPAIR AND RENOVATION TO BLDG NO P-4, 
P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD

Dear Sir(s)

1.     	Tender documents in respect of above work are uploaded on the site https://defproc.gov.in. The tender is on single stage two cover e-tendering system.  The contents of Cover I & Cover II are specified in NOTICE OF TENDER.

2.	Bids will be received online by ACCEPTING OFFICER upto the date and time mentioned in the NOTICE INVITING TENDER (NIT).  No tender/bid will be received in physical form and any tender/bid received in such manner will be treated as non bonafide tender/bid.

3.	Bid will be opened on due date and time fixed for opening in the presence of tenders/bidders or their authorised representatives, who have uploaded their quotation bid and who wish to be present at the time of opening the bids.

4.	Your attention is also drawn to instruction on filling and submission of tender attached herewith.  You may forward your points on tender documents and/or depute your technical representative for discussion on tender/drawings and to clarify doubts, if any. You are requested not to write piece meal points and forward your points duly consolidated.

5.	Un-enlisted contractors are required to submit the scanned copies (in pdf file) of documents required as per eligibility criteria mentioned in instructions for filling the tender documents and Appendix ‘A’ to NIT alongwith EARNEST MONEY DEPOSIT(EMD) and tender fee on e-procurement portal and submit the physical documents in the office of  CWE (AF) Gurgaon C/o CWE (AF) Palam Complex, Delhi Cantt-10 within time limit specified in NIT.  Inadequacy/deficiency of documents shall make the bid liable for rejection resulting in disqualification for opening of finance bid.

6	(a) contractor having not executed standing security bond and standing security deposit in any MES formation shall upload scanned copy of EARNEST MONEY DEPOSIT(EMD) mentioned in  Notice of Tender and shall ensure receipt of hard copy of EMD in the office of tender issuing authority before date & time fixed for this purpose.  In case of failure to abide by any of those two requirements, the finance bid will not be opened.

(b)	Contractor having not executed standing security bond and standing security deposit in any MES formation would be required to deposit individual security on acceptance of tender which will be calculated with reference to the tendered cost as per scales laid down by MES for calculation of “EARNEST MONEY” enhanced by 25% subject to maximum of Rs. 1875000/- (Rupees Eighteen Lakhs seventy five thousand Only).

- Contd……….

CA No:  CWE/GGN/F-34/2018-19						Serial Page  03

7.	Enlisted contractors of MES shall submit the scanned copies (pdf file) of enlistment letter, tender fee and such other documents as mentioned in Appx ‘A’ to NIT on e-procurement portal and submit physical documents in the office of CWE (AF) Gurgaon C/o CWE (AF) Palam Complex, Delhi Cantt-10 before date & time fixed for this purpose.

8.	The contractor must ensure that the tender/bid on the proper form is uploaded in time as the Accepting Officer will take no cognizance of any quotations/offer received in any other electronic or physical form like email/fax/by hand/ through post from tenderer/bidder even if they are received in time.

9.	In view of delays due to system failure or other communication related failure, it is suggested that the tender/bid be uploaded, if necessary, sufficiently in advance of the last due date and time fixed.

10.	General Conditions of Contracts (IAFW-2249) (1989 Print) and errata and amendments thereto, Schedule of minimum fair wages and MES SSR (Part-I and Part-II) are not enclosed with these documents.  These are available for perusal in the  Office of GE concerned and this office.

11.	ANY TENDERER, WHICH PROPOSES ALTERATIONS TO ANY OF THE CONDITION, SPECIFICATIONS LAID DOWN IN THE TENDER DOCUMENTS OR ANY NEW CONDITION, WHATSOEVER, IS LAIBLE TO BE REJECTED.

12.	(a) Contractor having not executed standing security bond and standing security deposit in any MES formation shall upload scanned copy of EARNEST MONEY DEPOSIT (EMD) mentioned in Notice of Tender and shall ensure receipt of hard copy of EMD in the office of tender issuing authority before date & time fixed for this purpose. In case of failure to abide by any of these two requirements, the finance bid will not be opened.

(b)	Contractor having not executed standing security bond and standing security deposit in any MES formation would be required to deposit individual security on acceptance of tender which will be calculated with reference to the tendered cost as per scales laid down by MES for calculation of “EARNEST MONEY” enhanced by 25% subject to maximum of Rs. 1875000/- (Rupees Eighteen Lakhs seventy five thousand Only).

________________________			            SSW

(SIGNATURE OF CONTRACTOR)              	            FOR ACCEPTING OFFICER

DATE: ________________

CA No:  CWE/GGN/F-34/2018-19						Serial Page  04

INSTRUCTIONS ON FILLING AND SUBMISSION OF TENDER

1.	EARNEST MONEY DEPOSIT (EMD)

Contractor(s) who are not enlisted with MES/who are enlisted but have not executed the standing Security Bond shall submit Earnest Money Deposit as detailed in Notice of Tender in one of the following forms, along with their tender/bid:-

- Deposit at Call Receipt from a Scheduled Bank in favour of Garrison Engineer concerned.

- Receipted Treasury Challan, the amount being credited to the Revenue Deposit of GE.

It is advisable that Earnest Money is deposited in the form of deposit call receipt from an approved Schedule Bank for easy refund.  In case the tenderer/bidder wants to lodge EARNEST MONEY DEPOSIT’ in any other form allowed by MES, a confirmation about its acceptability will be obtained from the Accepting Officer well in advance of the bid submission end date and time. Earnest Money Deposit shall be submitted in the name of concerned GE.

NOTES:- Earnest Money Deposit (EMD) in the form of cheque/Bank Guarantee etc will not be accepted.  NON-SUBMISSION OF EARNEST MONEY DEPOSIT (EMD) (scanned copy along with Technical Bid & hard copy before the date & time fixed for opening of BOQ) WILL RENDER THE BID DISQUALIFIED FOR OPENING OF COVER II (FINANCE BID).

2.	SECURITY DEPOSIT

In case the tender/bid submitted by such contractor who is not enlisted with MES is accepted, the contractor will be required to lodge with the Controller of Defence Accounts INDIVIDUAL SECURITY DEPOSIT calculated with reference to TENDERED COST as notified  by the Accepting Officer subject to a maximum of Rs 18,75,000/-.  The amount is required to be lodged within 30(Thirty) days of the receipt by the contractor of notification of acceptance of tender/bid , failing which the sum shall be recovered from the 1st RAR payment or from the Final bill (See Condition 22 of GCC(IAFW-2249)).

3.	CONTRACTORS ENLISTED WITH CHIEF ENGINEER WESTERN COMMAND AND WHO HAVE EXECUTED STANDING SECURITY BOND AND DEPOSITED STANDING SECURITY DEPOSIT BUT OF LOWER CLASS

In case the tender/bid is accepted, the amount of Additional Security Deposit will be as notified by the Accepting Officer.  The amount will be the difference between the “Individual Security Deposit” calculated with reference to the “TENDERED COST” AND ‘Standing Security Deposit’ lodged.  The amount is required to be lodged within 30 (Thirty) days of the receipt by the contractor of notification of acceptance of tender/bid, failing which the sum shall be recovered from the 1st RAR payment or from the Final bill (See Condition 22 of GCC (IAFW-2249)).

4.	CONTRACTOR ENLISTED IN MES FORMATIONS OTHER THAN CE WESTERN COMMAND

Contractors whose names are on the approved list of any MES formation i.e. Other than CE Western Command and who have deposited Standing Security and have executed Standing Security Bond may tender/bid without depositing Earnest Money with the bid and if the Accepting Officer decides to accept the tender/bid, such tenderers will be required to lodge Security Deposit as notified by the Accepting Officer.  The amount is required to be lodged within 30 (Thirty) days of the receipt by the contractor of notification of acceptance of tender/bid , failing which the sum shall be recovered from the 1st RAR payment or from the Final bill.

Contd/---

CA No:  CWE/GGN/F-34/2018-19						Serial Page  05

INSTRUCTIONS ON FILLING AND SUBMISSION OF TENDER(CONTD…)

5.	GENERAL INSTRUCTIONS FOR COMPLIANCE

5.1	The bids received only in the electronic form will be considered.  All bids shall be submitted on ‘defproc.gov.in’ portal.  Documents should be scanned and forwarded in ‘pdf’ form and ‘xls’ form as indicated.

5.2	Bids shall be uploaded on ‘defproc.gov.in’ portal on or before the bid closing date mentioned in the tender.  No tender/bid in any other electronic or physical form like date email/fax/by hand/through post will be considered.

5.3	Bid should be DIGITALLY signed using valid DSC.  All pages of tender documents corrections/alterations shall be signed /initialed by the lowest bidder after acceptance.

5.4	Drawings, if issued in physical form, must be returned duly initiated by the tenderer/bidder in separate envelope indicating his name and address.

5.5	The tender shall be signed, dated and witnessed at all place provided for in the documents after acceptance.  All corrections shall be initialed.  The contractor shall initial every page of tender and shall sign all drawings forming part of the tender.  Any tender/bid, which proposes alterations to any of the conditions whatsoever, is liable to be rejected.

5.6	In the technical bid, a scanned copy of power of Attorney in favour of the person uploading the bid using his/her DSC shall be uploaded.   In case the digital signatory himself is the sole proprietor, scanned copy of an affidavit on stamp paper of appropriate value to this effect sating that he has authority to bind the contractor (through partnership deed, general power of attorney or Memorandum and Articles of Association of the company) in all the matters pertaining to the contracts with Union of India including arbitration clause.  A scanned copy of the documents confirming of such authority shall be attached with the tender/bid in ‘PDF’ form, if not submitted earlier.  The person uploading the bid on behalf of another partner(s) or on behalf of a firm or company using  his DSC shall upload with the tender/bid a scanned copy (in ‘pdf’ form) of /Power of Attorney duly executed in his favour by such other or all of the Partner(s) or in accordance with constitution  of the company in case of company, stating that he has authority to bind such other person of the firm or the Company in case of company, stating that he has authority to bind such other person of the firm or the Company, as the case may be , in all matters pertaining to the contract including the Arbitration Clause.

5.7	Even in case of Firms or Companies which have already given Power of Attorney to an individual authorizing him to sign tender in pursuance of which bids are being uploaded by such person as a routine, fresh power of Attorney duly executed in his favour stating specifically that the said person has authority to bid such partners of the Firm, or the Company as the case may be , including the condition relating to Arbitration Clause, should be uploaded in ‘pdf’ form with the tender/bid; unless such authority has already been given to him by the Firm or the Company. It shall be ensured that power of attorney shall be executed in accordance with the constitution of the company as laid down in its Memorandum & Article of Association.

5.8	Hard copies of all above documents should be sent by the contractor to the Tender issuing authority well in advance to be received before the date & time fixed for the same.

5.9	Bid (Cover 1& 2) shall be uploaded online well in time.

5.10	The contractor shall employ Indian Nationals after verifying their antecedents and loyalty.  Attention is also drawn to special condition 3 referred hereinafter and also conditions 24 & 25 of IAFW-2249 (General conditions of contract).

Contd/---

CA No:  CWE/GGN/F-34/2018-19						Serial Page  06

INSTRUCTIONS ON FILLING AND SUBMISSION OF TENDER(CONTD…)

5.11	Tenders/bidders who uploaded their priced tenders/bids and are desirous of being present at the time of opening of the tenders/bids, may do so at the appointed time.

5.12	The tenderer/bidder shall quote his rate on the BOQ file only. No alteration to the format will be accepted; else the bid will be disqualified and summarily rejected.

5.13	In case the tenderer/bidder has to revise/modify the rates quoted in the BOQ (excel sheet) he can do so only in the BOQ, through ‘https: //defproc.gov.in’ site only before the bid closing time and date.

6.	REVOKATION/REVISION OF OFFER UPWARD/ OFFERING VOLUNTARY REDUCTION AFTER CLOSING OF BID SUBMISSION DATE & TIME

In the event of tenderer/bidder revoking his offer or revising his rates upwards/offering voluntary reduction, after closing of bid submission date & time, his offer will be treated as revoked and the Earnest Money deposited by him shall be forfeited.  In case of MES enlisted Contractor, the amount equal to the Earnest Money stipulated in the Notice of tender, shall be notified to the tenderer/bidder for depositing the amount through MRO.  Bids of such Contractors/bidders shall not be opened till the aforesaid amount equal to the earnest money is deposited by him in Govt. Treasury. In addition, bids of such tenderer/bidder and his related firm shall not be opened in second call or subsequent calls. Reduction offered by the tenderer/ bidder on the freak high rates referred for review shall not be treated as voluntary reduction.

7.	C P M (Critical Path Method)

7.1	The Project planning for work covered in the scope of tender is based on CPM.

7.2	The tenderer/bidder is expected to be fully conversant with the CPM technique and employ technical staff who can use the technique in sufficient details.  Sufficient books and other literature on the subject are widely available in the market which the tenderer/ bidder may make use of.

7.3	The tenderer’s/bidder’s attention is drawn to special condition of the tender regarding preparation of the detailed network analysis and time schedule for the work and his liability for employing sufficient resources to adhere to this schedule.  Any inability on the part of the tenderer/bidder in using the technique will be taken as his technical inefficiency and will affect his class of enlistment and future prospect/invitation to tenders for future works.

7.4	Department may issue amendments/errata in form of CORRIGENDUM to tender/ revised BOQ to the tender documents.  The tenderer/bidder is requested to read the tender documents in conjunction with all the errata/amendments/corrigendum, if any, issued by the department.

8.	These instructions shall form part of the contract documents.

SIGNATURE OF CONTRACTOR

SSW

Dated:   _______________						for Accepting Officer

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 07

MILITARY ENGINEER SERVICES

NOTICE INVITING TENDER

1. A tender is invited   for the work as mentioned in Appendix 'A' to this NOTICE INVITING TENDER (NIT)

2. The work is estimated to cost as indicated in aforesaid Appendix 'A'. This estimate, however, is not a guarantee and is merely given as a rough guide and if the work cost more or less, a tenderer/bidder will have no claim on that account. The tender shall be based on as mentioned in aforesaid Appendix 'A'.

3. The work is to be completed within the period as indicated in aforesaid Appendix 'A' in accordance with the phasing, if any, indicated in the tender from the date of handing over site, which will be on or about two weeks after the date of Acceptance of tender.

4 Normally contractors whose names are on the MES approved list for the area in which the work lies, and within whose financial category the estimated amount would fall, may tender/bid but in case of term contracts, contractors of categories SS to E may tender/bid. In case, where the tender amount is in excess of the financial limit of the contractor and the Accepting officer decides to accept the tender/bid, in which event the tenderer/bidder would be required to lodge additional security deposit as notified by the Accepting Officer in term of conditions of contract. Contractors whose names are on the MES approved list of any MES Formation and who have deposited standing security and have executed standing security bond may also tender/bid without depositing Earnest money along with the tender/bid and if the tender/bid submitted by such a tenderer/bidder is accepted, the contractor will be required to lodge with the Controller of Defence Accounts concerned the amount of 'Individual Security Deposit' within thirty days of the receipt by him of notification of acceptance of his tender/bid, failing which this sum will be recovered from 1st RAR payment or from the first final bill in the case of term/running contracts, remaining sum shall be recovered from subsequent bill(s) of the contractor. Not more than one tender/bid shall be submitted/uploaded by one contractor or one firm of contractors. Under no circumstances will a father and his son(s) or other close relations who have business dealing with one another be allowed to tender/bid for the same contract as separate competitors. A breach of this condition will render the tenders/bids of both the parties liable for rejection.

5. The Office of CWE (AF) Gurgaon C/o CWE (AF) Palam Complex, Delhi Cantt-10 will be the Accepting Officer here in after referred to as such for purpose of the contract.

6. The Technical Bid and Financial Bid (Cover-1 and Cover-2) shall be uploaded by the tenderer/bidder on or before the date & time mentioned in NIT. A scanned copy of DD with enlistment details/documents shall be uploaded as packet 1/cover-1 ('T' bid) of the tender/bid on e-tendering portal. DD is refundable in case T bid is not accepted resulting in non-opening of 'Q’ bid. The applicant contractor shall bear the cost of bank charges for procuring and encashing the DD and shall not have any claim from Government whatsoever on this account.

6.1. Tender form and conditions of contract and other necessary documents shall be available on https://defproc.gov.in site for download and shall form part of contract agreement in case the tender/bid is accepted.

6.2	In case of contractor who has not executed the Standing Security Bond, the Cover-I shall be accompanied with by Earnest Money of amount as mentioned in Appendix ‘A’ in the form of deposit at call receipt in favour of concerned GE (see Appendix ‘A’) by a scheduled Bank or in receipted treasury Challan the amount being credited to the revenue deposit of the concerned GE (see Appendix ‘A’).

6.3	A contractor who is not enlisted for the area in which the work lies but whose name is in the MES approved list of any MES formation and who has deposited standing security and executed standing security Bond may bid without depositing earnest money along with the tender; but if the Accepting officer accepts the tender/bid, the contractor will be required to lodge with the Controller of Defence Accounts concerned the amount of ‘individual  security deposit’ within thirty days of the receipt by him of notification of acceptance of his tender/bid, failing which this sum will be recovered from 1st RAR payment or from the first final bill.  In this case of terms/running contracts, remaining sum shall be recovered from subsequent bill(s) of the contractor.

Contd.../-

CA NO  :  CWE/GGN/F-34/2018-19							Serial Page  08

NOTICE OF TENDER (Contd.)

6.4	A Contractor who has executed standing security Bond but not corresponding to the appropriate class as mentioned above, shall lodge with the Accepting Officer, Additional Security Deposit as notified by the Accepting Officer within thirty days of the receipt of his notification of acceptance of his tender/bid, failing which this sum will be recovered from the first RAR payment or from the first final bill.  In case of term/running contracts, remaining sum shall be recovered from subsequent bill(s) of the contractor.  However, in case where any payment is made to the contractor within thirty days of the receipt by him of notification of acceptance of tender/bid, the amount of additional security deposit shall be recovered from such payment.

6.5	The GE will return the Earnest Money wherever applicable to all unsuccessful tenderers/bidders by endorsing an authority on the deposit-at-call receipt for its refund, on production by the tenderer, bidder a certificate of the Accepting Officer that a bonafide tender/bid was received and all documents were returned.

6.6	The GE will either return the Earnest Money to the successful tender/bidder by endorsing an authority on the deposit-at-call for its refund, on receipt of an appropriate amount of Security Deposit or will retain the same in part or full on account of security deposit if such a transaction is feasible.

6.7	Copies of the drawings and other documents pertaining to the work signed for the purpose of identifications by the Accepting Officer or his accredited representative, sample of materials and stores to be supplied by the contractor will also be available for inspection by the tender/bidder at the office of Accepting Officer and concerned GE during working hours.

7.	The tender/bidders are advised to visit the site of work by making prior appointment with GE who is also the Executing Agency of the work (see appendix ‘A’).  The tenders/bidders are deemed to have full knowledge of all relevant documents, samples, site etc, whether they have inspected them or not.

8.	Any tender/bid which proposes any alteration to any of the conditions laid down or which proposes any other condition or prescription whatsoever, is liable to be rejected.

9.	The uploading of bid implies that bidder has read this notice and the conditions of Contract and has made himself aware of the scope and specification of works to be done and to the conditions and rates at which stores, tools and plants etc will be issued to him and local conditions and other factors having bearing on the execution of the work.

10.	Tenderers/bidders must be in possession of a copy of the MES Standard Schedule of Rates (See Appendix ‘A’) including amendments and errata thereto.

11.	Invitation for e-tender does not constitute any guarantee for validation of ‘T’ bid and subsequent opening of finance bid of any applicant/bidder, even of enlisted contractors of appropriate class, merely by virtue of enclosing DD.  Accepting Officer reserves the right to reject the ‘T’ bid and not open the finance bid of any applicant/bidder.  ‘T’ bid validation shall be decided by the Accepting Officer based on, inter alia, capability of the firm as per criteria given in Appx ‘A’ to this NIT.  The applicant contractor/bidder will be informed regarding non-validation of his ‘T’ bid assigning reasons thereof through the defproc website. The applicant contractor/bidder if he so desires may appeal to the next higher Engineer authority viz Chief Engineer (AF) WAC Palam, Delhi Cantt-10 with copy to the Accepting Officer on email before the scheduled date of opening of Finance Bid. The decision of the Next Higher Engineer Authority (NHEA) shall be final and binding.  The contractors/bidder shall not be entitled for any compensation whatsoever for rejection of his bid.

12.	The Accepting Officer reserves the right to accept a tender submitted by a Public Undertaking, giving a purchase preference over other Tender(s) bids which may be lower, as are admissible under the Government Policy.  No claim for any compensation or otherwise shall be admissible from such tenderer/bidder whose tender/bid is rejected.

13.	Accepting Officer does not bind himself to accept the lowest or any tender/bid or to give any reason for not doing so.

14.	This Notice Inviting Tender (NIT) including Appendix ‘A’ with its annexure shall from part of the contract.

(Signature of the Contractor)				          SSW

Dated: _______________     						For Accepting Officer

CA No:  CWE/GGN/F-34/2018-19				         	 		Serial Page No  09

##### APPENDIX ‘A’ TO NOTICE INVITING e – TENDER

| 1 | Name of work | : | REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD |
| --- | --- | --- | --- |
| 2 | Estimated Cost of Work | : | Rs 113.52 Lakhs |
| 3 | Period of completion | : | 06 (Six) months |
| 4 | Cost of tender documents | : | Rs 1000/- in the shape of DD / Bankers cheque from any Scheduled bank in favour of GE (AF) Faridabad. (Copy shall be uploaded online and original to be submitted offline before due date of opening of cover No 1) payable at Faridabad |
| 5 | Website/Portal Address |  | https://defproc.gov.in |
| 6 | Type of Contract |  | Item rate based on (IAFW-2249) and (IAFW-1779A). Rates to be quoted by the tenderers. |
| 7 | Information & Details |  |  |
|  | (a) Bid Submission start date (b) Last date of bid submission (c) Date of bid opening | : | Refer critical dates shown below |
| 8 | Eligibility Criteria (a) For MES enlisted contractors Class in MES, Category of enlistment | : | All contractors enlisted with MES in Class ‘B’ and above and category (a) (i) & (b) (i) subject to remarks with reference to performance in r/o works in hand reflected in Workload return (WLR) circulated by competent engineer authority. Refer Note – below. |
|  | (b) For Other contractors |  | (a) The firms not listed with MES shall meet enlistment criteria of Class ‘B’ and category (a) (i) & (b) (i) i.e. with regard to having satisfactorily completed requisite value works, annual turnover, solvency, working capital, immovable property/fixed assets, T&P, Engineering establishment, no recovery outstanding in any Govt Department, Police verification/Passport etc. As per enlistment criteria given in Para 1.4 & 1.5 of section I of Part I of MES Manual of Contracts-2007 (Reprint-2012) as available in all MES formations (b) These firms shall also submit copy of police verification from police authorities of the area where the registered office of the firm is located/notarized copy of valid Passport of proprietor/each partner/each director. (c) Firm should not carry any adverse remarks in WLR or any other similar report of any authority. |
|  | (c) For all contractors |  | Contractors will not be allowed to execute the work by subletting or through power of attorney holder on his behalf to a third party/another firm except sons/daughters/spouse of proprietor /partner /director and firm’s own employees, Director, Project Manager. This shall be subject to certain conditions which will be prescribed in the NIT forming part of tender documents |
| 9 | Tender Issuing and Accepting Officer |  | HQ CWE (AF) Gurgaon C/o CWE (AF) Palam Complex, Delhi Cantt-10 |
| 10 | Executing Agency |  | GE (AF) Faridabad |
| 11 | Earnest Money |  | Rs 1,76,100/- in form of DD/ Banker’s cheque from any Scheduled/Nationalized bank in favour of GE (AF) Faridabad. |
| CRITICAL DATES |  |  |  |
| Para 7 | Publishing date and time of tender documents | : | 27 Dec 2018 at 1800 hrs |
|  | Starting date& time of tender documents downloading | : | 27 Dec 2018 at 1800 hrs |
|  | Clarification start date & time | : | 27 Dec 2018 at 1800 hrs |
|  | Clarification end date & time | : | 24 Jan 2019 at 1800 hrs |
|  | Starting date and time of bid submission(Cover No 1 & 2) | : | 15 Jan 2019 at 1500 hrs |
|  | Bid documents download end date & time | : | 24 Jan 2019 at 1800 hrs |
|  | Closing date and time of bid submission(Cover No 1 & 2) | : | 24 Jan 2019 at 1800 hrs |
|  | Date and time of bid opening (Cover No 1) | : | 25 Jan 2019 at 1500 hrs or subsequent days |
|  | Date and time of bid opening (Cover No 2) | : | Will be intimated online after completion of evaluation of tech bid/application (Cover No 01) |

CA No:  CWE/GGN/F-34/2018-19				         	 		Serial Page No  10

APPENDIX ‘A’ TO NOTICE INVITING e – TENDER (Contd/--)

Notes:-

(a)	Contractor one class below (two class below in case or remote and difficult area) may also bid this tender. Their application shall be considered subject to fulfilment of other eligibility criteria given in NIT when number of applicants of eligible class qualifying for the tender are less than 7(seven).

(b)	In case number of eligible class contractors satisfying the eligibility criteria given in NIT are 7 or more than 7, application of one class below the eligible class shall not be considered except those who have previously completed similar works satisfactorily and are meeting the criteria of up gradation in respect of past experience and / or average annual turnover as applicable and financial soundness (solvency/financial soundness and working capital) provided the value of work is less than twice the tendering limit of such contractors. Contractors one class below the eligible class may upload necessary documents wrt works experience and financial soundness in cover 1 of tender (T bid).

(c) (i) Application/bid not accompanied by scanned copies of requisite value DD/Bankers cheque towards cost of tender and earnest money (as applicable) shall not be considered for validation of ‘T bid and their finance bids will not be opened.

(ii) Contractors should ensure that their original DDs and earnest money (as applicable) are received within 5 days of bid submission end date.

(iii) In case of applications/bids from enlisted contractors of MES, where scanned copies of requisite DD/Bankers Cheque towards cost of tender has been uploaded but physical copies are not received by the stipulated date, their finance bids will be opened. However non-submission of physical copies of cost of tender shall be considered as wilful negligence of the bidder with ulterior motives and such bidder shall be banned from bidding for a six months commencing from the date of opening of finance bid(cover 2).

(iv) In case of applications/bids from un-enlisted contractors, where scanned copies of requisite DD/bankers Cheque towards cost of tender has been uploaded but physical copies are not received by the stipulated date, finance bids will not be opened. Name of such contractor along with complete address shall be circulated for not opening of their bids for a period of six months commencing from the date of opening of finance bid   (cover 2).

(v) In case of applications/bids (enlisted contractor as well as un-enlisted contractor) where scanned copies of requisite earnest money (as applicable) were uploaded but the same are not received in physical form within stipulated time, such bids shall not qualify for opening of finance bid (cover 2).

(vi) Contractor shall upload copy of Goods and Service Tax (GST) no of their company. In case of failure to submit GST no, the firm shall be disqualified in technical bid evaluation.

(vii) In case tenderers upload quotation in pre-revised BOQ, the same shall be considered as a wilful negligence by the bidder and their quotation shall be considered Non-bonafide.

(d)	Contractors may note that they shall not be loaded beyond their tendering limit as under :-

(aa) In case contractors of eligible class are selected for issues of tender : 4 to 5 times the tendering limit.

(bb) In case of one class (two class in case of remote and difficult area as the case may be) contractors are selected for issue of tender : 6 to 7 times.

(cc) In case of un-enlisted contractors : 2 times the upper tendering limit of class for which contractor meets the criteria for enlistment.

(e)	In case any deficiency is noticed, in the documents required to be uploaded by the tenderers as per NIT, after opening of cover 1 (T bid) and during technical evaluation, a communication in the form of e-mail/whatsapp/sms/speed post etc. shall be sent to the contractor to rectify the deficiency within a period of 7 days from date of communication failing which financial bid (cover 2) shall not be opened and contractor shall not have any claim on the same.

(f)	Contractors enlisted with MES will upload following documents for checking eligibility:

(i) Application for bid in Firm’s letter head

(ii) Enlistment letter

(iii) Scanned copy of DD of cost of tender

(iv) Scanned copy of GST Registration

(v) Scanned copy of EPF Registration.

(g) Contractors not enlisted with MES will be required to upload necessary documents to prove their eligibility for enlistment in eligible class & category of work, including Affidavit for no recovery outstanding. List of documents required for enlistment in MES has been given in para 1.5 of section 1 of Part I of MES Manual on contracts 2007 (Reprint 2012). Following documents shall also be uploaded amongst others:

(i) Details of three highest valued similar nature of works executed during last five years, financial year-wise in tabular form giving name of work. Accepting Officer’s details, viz Address, Telephone < Fax No., E-Mail ID etc, date of acceptance of tender and actual date of completion. This shall be duly signed by proprietor/all partners/authorized Director of Pvt/Public Ltd as applicable. It should indicate whether extension was granted or compensation was levied. Attested copy of acceptance letter and completion certificate shall be enclosed of each work. In case performance report has been given by the client same shall also be submitted duly attested.

Contd/---

CA No:  CWE/GGN/F-34/2018-19				         	 		Serial Page No  11

APPENDIX ‘A’ TO NOTICE INVITING e – TENDER

(ii) Solvency certificate and working capital certificate issued by scheduled bank.

(iii) Annual turnover certificate for last 2 years issued by Chartered Accountant along with relevant pages of audited balance sheets in support thereof.

(iv) Affidavits for possession of movable & immovable properties by proprietor/partner owning the immovable property along with Valuation certificate from regd Valuer in support of movable & immovable properties. In case of Limited Company, the immovable property is required to be in the name of the company.

(v) In addition, the un-enlisted contractors shall also furnish affidavit on non Judicial stamp paper in the form of hard copy declaring their turnover for last 2(Two) years.

(vi) Scanned copy of DD of cost of tender and earnest money.

(vii) Scanned copy of GST Registration

(viii) Scanned copy of EPF Registration.

(h) In case of rejection of technical/prequalification bid, contractor may appeal to next higher Engineer authority i.e. CE (AF) WAC Palam on email against rejection, whose decision shall be final and binding. However contractor/bidder shall not be entitled to any compensation whatsoever for rejection of technical/prequalification bid.

(f) Court of the place from where tender has been issued shall alone have jurisdiction to decide any dispute out of or in respect of this tender. After acceptance of tender, condition 72 – Jurisdiction of courts of IAFW 2249 shall be applicable.

8287/F-34/           /E8						(Niranjan Singh)

Headquarter								Lt Col

Commander Works Engineers Gurgaon				SSW

C/o CWE (AF) Palam Complex					for Accepting Officer

Delhi Cantt-110010

Dated:		Dec 2018

| 1. | Hony General Secretary, MES Builders Association of India (Regd) Flat No 807(8th Floor ) Sahyog, 53 Nehru Place, New Delhi – REGD AD | 2. | The Hony Secretary, MES Builders Association of India, Delhi Branch, 106 Kirti Deep, Nangal Raya, New Delhi – 46– REGD AD | 3. | CE Executive Office DDA, New Delhi |
| --- | --- | --- | --- | --- | --- |
| 4 | HQ CE(R&D) Delhi -64 | 5 | HQ CE(AF) WAC Palam | 6 | HQ CE Delhi Zone |
| 7 | HQ CWE (AF) Palam | 8 | HQ CWE New Delhi | 9 | HQ CWE Delhi Cantt-10 |
| 10 | HQ CWE (U) Delhi Cantt-10 | 11 | HQ CWE No-02 Delhi Cantt-10 | 12 | GE(AF) Gurgaon |
| 13 | GE (AF) Faridabad | 14 | GE(AF) Subroto Park | 15 | GE(P) West Delhi Cantt |
| 16 | GE E/M Base Hospital, Delhi Cantt | 17 | GE New Delhi | 18 | GE E/M RR Hospital Delhi Cantt |
| 19 | GE(P) East Delhi Cantt | 20 | GE (E/M) Electric Delhi Cantt | 21 | GE(W/S) Delhi Cantt |
| 22 | GE (West) Delhi Cantt | 23 | GE(U) Plant & Machinery Delhi Cantt | 24 | GE Central Delhi Cantt |
| 25 | Post Master Gopinath Bazar Delhi Cantt-10 | 26 | CE CPWD, Nirman Bhawan, New Delhi | 27 | SBI Delhi Cantt-10 |
| 28 | Chief Executive Office, Cantt Board, Delhi Cantt-110 010 | 29 | Station Master New Delhi Railway Station | 30 | Station Master Delhi Cantt Railway Station |
| 31 | GE(P) AF Palam Delhi Cantt -10 |  |  |  |  |

CA No:  CWE/GGN/F-34/2018-19			           		 Serial Page No 12

Annexure ‘I’

Of Appendix “A”

FORM OF SOLVENCY CERTIFICATE FROM

NATIONALISED/SCHEDULED BANK

This is certified that to the best of our knowledge and information M/s / Shri / Smt _____________ having address _________________________ , a customer of our bank are/ is respectable and can be considered solvent up to Rs ________ (Rupees ________)/ Financially sound for any engagement up to Rs ____________(Rupees  ________).  This certificate is issued without any guarantee or responsibility on the bank or any of the officers.

(Signature)

Name, Designation and Personal Code No of Signatory & Seal of bank with bank address and Code no.

Note:	In case of partnership firm, certificate to include names of all partners as recorded with the bank

FORM OF WORKING CAPITAL CERTIFICATE FROM

NATIONALISED/ SCHEDULED BANK

This is certified that M/s / Shri / Smt _________ having address ______ have/has been maintaining a saving bank account/ current account/ fixed deposit account with this branch of bank since _______ and the firm is having working capital of approximately Rs ________ and/ or the firm is enjoying overdraft/ credit facilities up to limit of Rs ______.  This certificate is issued without any guarantee or responsibility on the bank of any or the officers.

(Signature)

Name, Designation and Personal Code No of Signatory & Seal of bank with bank address and Code no

DETAILS OF WORKS EXECUTED DURING LAST 05 YEARS

| Ser No | CA No and Name of Work | Address of Accepting Officer | Amount of CA | Final amount of Work | Date of Completion | Extension granted if any | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 13

MILITARY ENGINEER SERVICES

(IAFW-1779A REVISED 1955)

TO BE USED IN CONJUCTION WITH GENERAL CONDITIONS OF CONTRACT

IAFW-2249 (1989 PRINT)

Tele: 25675755					Headquarters

Fax : 25675749  					Commander Works Engineer (AF) Gurgaon

Military Engineer Services

C/O CWE (AF) Palam Complex

Old Palam Road

Delhi Cantt -110010

8287/F-34/           /E8					 Dec 2018

e-TENDER

CA NO:CWE/GGN/F-34/2018-19: REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD

1.	Mr/Messers________________________________________of_______________________

is/are hereby authorised to tender for the above work.  The tender is to be submitted online through e-procurement solution (single stage two cover system) on website defproc.gov.in to “Commander Works Engineer (AF) Gurgaon C/o CWE (AF) Palam Complex, Old Palam Road, Delhi Cantt-10” upto 1800 hrs on  24 Jan 2019.

2.	Any correspondence concerning this tender should be online and no offline correspondence is permitted.

# THE PRESIDENT OF INDIA DOES NOT BIND HIMSELF TO ACCEPT THE LOWEST OR ANY TENDER

____________________________		SIGNATURE OF THE OFFICER ISSUING

SIGNATURE OF CONTRACTOR	THE TENDER DOCUMENTS

APPOINTMENT	:	SSW

DATED:	________________

DATED		:	   Dec 2018

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No  14

# BOQ/SCHEDULE ‘A’ NOTES

(LIST OF WORKS AND PRICES)

### NOTES:-

1.         The work under this contract comprises of REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD as described in Schedule ‘A’ and as specified in particular specifications.

2.	Tenderer is required to get fully acquainted with the scope of work as catered for in tender documents and also the site of work.  No claim whatsoever shall be entertained subsequently for any misunderstanding or any in-accuracy with regards to site conditions and provisions made in the tender documents.

3.	Contractor’s special attention is drawn to condition 6 (D) of IAFW-2249 (General Conditions of Contract).  No claim on account of any error in the unit rates inserted by contractor shall be admissible later on.

4.	The period of completion for the entire work under this contract shall be           06 (Six) Months from the date of commencement of work as per work order No 1 to be placed by Garrison Engineer (AF) Faridabad. In case of any delay in handing over of site suitable, extension of time for delay shall be granted as per condition 11 of IAFW-2249 and nothing extra shall be admissible on this account.

5.	Garrison Engineer referred to in IAFW-2249 or elsewhere in the tender documents shall be Garrison Engineer (AF) Faridabad.

6.	The unit rates quoted by the tenderer in BOQ shall be inclusive of all charges such as:-

- VAT/Sales tax/GST, Octroi, Central Tax, Excise Duty, Service Tax, Labour Tax and/or Cess etc

- Insurance if any.

- Packing unpacking if any.

- Transportation and delivery.

- Entire material and labour for execution of work.

7.	The tenderers shall quote their rates against each items of BOQ in figures.  The quantities shown in BOQ are provisional and are inserted as guide only.  These shall however, not be varied beyond the limits laid down in condition 7 of IAFW-2249 (General conditions of contract)

8.	Unit rates quoted by the tenderer shall be deemed to allow for all minor extra and constructional details, which are not specifically given in particular specifications but are essential for the execution of works services in a sound and workman like manner all as mentioned in the description of items of work to conform to good workmanship and sound engineering.

In case of difference in opinion as to whether or not a certain items of works constitutes “Minor extra and constructional details included in the contractor’s prices, the decision of the Accepting Officer shall be final, binding and conclusive.

9.	BOQ Part-II i.e. schedule of credit is included in the PDF document and not with BOQ since no summary page is included in tender documents to adjust this amount. However the quoted amount of tender shall be worked out by deducting the amount of schedule of credit for the purpose of acceptance. Contractors are requested to take note of this while quoting for items contained in BOQ (Cover No 2).

Contd….,

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 15

# (BOQ/SCHEDULE ‘A’ NOTES  CONTD…)

10.	During execution of work special care is to be taken to safeguard the losses/damages to the existing work as well as Govt properties.  In case any losses/damage take place due to contractor’s default shall be made good by the contractor without any extra cost to the department. No claim on this account shall be entertained later on.

11.	Unless otherwise stated in BOQ and/or particular specification the unit rates quoted by the contractor in BOQ shall be deemed to include for all provisions in the preambles given in MES Schedule 2010 (Part-II) as applicable to respective items.

12.	Unless otherwise stated, unit rates quoted by the tenderer in BOQ shall be deemed to include for all “Materials and Labour” or “Supply and fix” complete all as described in BOQ and specified in particular specifications.

13.	All materials (except those catered in Schedule of Credit) obtained during dismantling/demolition shall become the property of the Govt and shall be deposited by the contractor in MES store yard as directed by Engineer-in-Charge.  The rates quoted by the tenderer in BOQ shall be deemed to include this aspect and nothing extra shall be payable on this account.

14.	GE/Engineer – in-Charge of work may administrate this contract in such a manner that work shall be executed by the contractor as per users and site requirement for entire contract period.  The contractor will have to arrange his working programme accordingly.  No claim what so ever will be entertained by the Department on this account.

15.	The materials / fixtures /fittings shall be procured from any of the firms / manufactures whose name mentioned in tender documents.  However the materials / fixtures / fittings whose manufacturers name are not mentioned in the tender documents these shall be conforming to relevant IS and as approved by GE.

16.	A tenderer is supposed to check if any revised BOQ has been uploaded and quote in revised BOQ only. Uploading quotation in pre-revised BOQ shall be considered as a willful negligence by the bidder and his quotation shall be considered non-bonafide.

17.	Consequent upon the provision of section 51 of the Goods and Service Tax Act came into force w.e.f. 01 Oct 2018 circulated vide E-in-C’s Branch letter No. 66546/Manual/GST/168/E8 dt 26 Sep 2018 accordingly GST on works contract shall be deducted at source as notified/specified in the Government Of India, Ministry Of  Finance , Department of Revenue letter No F. No. S. 31011/11/2018-ST-I-DoR dt. 14 Sep 2018.

Contd….

CA No:  CWE/GGN/F-34/2018-19					            Serial Page No 28

SCHEDULE ‘A’ PART –II (SCHEDULE OF CREDIT)

| Ser No | Description of work/item | A/U | Qty | Rate | Amount | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 1 | Old u/s brick batts obtained from sch item 15 | Cum | 3.00 | 400.00 | 1200.00 |  |
| 2 | Old u/s tiles obtained from sch item 27 | Sqm | 800.00 | 10.00 | 8000.00 |  |
| 3 | Old shutter with chowkhat exc 1.5 Sqm and n. exc. 4.00 Sqm obtained from sch item 56 | Each | 10.00 | 500.00 | 5000.00 |  |
| 4 | Old shutter with chowkhat n exc 1.5 Sqm each obtained from sch item 57 | Each | 100.00 | 300.00 | 30000.00 |  |
| 5 | Old shutters only not exc. 1 Sqm each.obtainedd from sch item 58 | Each | 20.00 | 100.00 | 2000.00 |  |
| 6 | Old shutters only exc. 1 and n. exc 2 Sqm each obtained from sch item 59 | Each | 20.00 | 150.00 | 3000.00 |  |
| 7 | Old u/s boards obtaied from sch item 82 | Sqm | 22.00 | 10.00 | 220.00 |  |
| 8 | Old GI tubing 15mmm dia obtained from sch item 91 | RM | 240.00 | 25.00 | 6000.00 |  |
| 9 | Old GI tubing 20mmm dia obtained from sch item 92 | RM | 120.00 | 30.00 | 3600.00 |  |
| 10 | Old PVC water tank 500 litre capacity obtained from sch item 95 | Each | 12.00 | 350.00 | 4200.00 |  |
| 11 | Old PVC water tank 1000 litre capacity obtained from sch item 96 | Each | 18.00 | 500.00 | 9000.00 |  |
| 12 | Old sink obtained from sch item 101 | Each | 2.00 | 50.00 | 100.00 |  |
| 13 | Old u/s PVC flusing cistern obtained from sch item 106 | Each | 40.00 | 40.00 | 1600.00 |  |
| 14 | Old brass scrap obtained from sch item 107, 108, 109, 110, 111, 112, 115, 116 & 117 | Each | 277.00 | 25.00 | 6925.00 |  |
| 15 | Old u/s towel rail obtained from sch item 119 | Each | 30.00 | 20.00 | 600.00 |  |
| 16 | Old u/s PVC pipe 110mm dia obtained from sch item 143 | RM | 20.00 | 30.00 | 600.00 |  |
| 17 | Old u/s aluminium scrap obtained from sch item 146 & 147 | KG | 300.00 | 70.00 | 21000.00 |  |
| 18 | Old u/s floor door spring and floor door closeer obtained from sch item 154 & 155 | Each | 24.00 | 55.00 | 1320.00 |  |
| 19 | Old iron scrap obtained from sch item 8 & 14 | Kg | 210.00 | 20.00 | 4200.00 |  |
| 20 | Old cast iron pipe any size obtained from sch item 120 | RM | 60.00 | 50.00 | 3000.00 |  |
| 21 | Old wiring copper/ aluminium | Point | 1161.00 | 17.00 | 19737.00 |  |
| 22 | All type switches/socket/bell push/ceiling rose/holder etc | Each | 2101.00 | 2.00 | 4202.00 |  |
| 23 | Ceiling fan regulator | Each | 84.00 | 2.00 | 168.00 |  |
| 24 | Sheet metal enclosure any type | Each | 41.00 | 8.00 | 328.00 |  |
| 25 | All type of MCB / Isolators | Each | 196.00 | 5.00 | 980.00 |  |
| 26 | Sub main wiring | RM | 1260.00 | 2.00 | 2520.00 |  |
| 27 | Tube light/Street light fitting/Fancy light fitting/Mirror light | Each | 453.00 | 50.00 | 22650 |  |
| 28 | XLPEcable up to 120 sq mm | RM | 580.00 | 5.00 | 2900.00 |  |
|  | Rs. |  |  |  | 165050.00 |  |

Notes:-

1.	The quantities inserted under column 4 are provisional.

2.	The material mentioned in credit schedule shall be measured net.

3.	Material other than those listed in schedule of credit obtained from demolition/dismantling shall be the Government’s property and shall be deposited in MES yard all as directed by Engineer-in-Charge.

4.	The contractor shall be responsible to remove both serviceable and unserviceable materials from the site and leave the site neat and tidy on or before the date of completion.

5.	The recovery on account of materials listed in schedule of credit shall be made immediately from payment due to contractor irrespective of fact that these have been removed from site or not. However materials listed in schedule of credit shall be removed from site only after written permission of Engineer-in-Charge and after recovery has been effected from Contractor’s payment.

6.	Contractor shall have no claim whatsoever on account of quality and quantity of retrieved materials becoming his property and at the recovery rates mentioned in schedule of credit.

7.	Govt does not guarantee the quality of the retrieved material. The contractor is advised to verify at the site, the quality of items for which credit is to be recovered from his payments. The contractor shall not have any claim whatsoever on this account.

8.	The rates inserted in this credit schedule are firm and shall not be altered by the tenderers.

SIGNATURE OF CONTRACTOR					SSW

DATED	: ________________					FOR ACCEPTING OFFICER

CA No:  CWE/GGN/F-34/2018-19					            Serial Page No 29

##### SCHEDULE ‘B’

ISSUE OF MATERIAL TO THE CONTRACTOR   (SEE CONDITION 10 OF IAFW-2249

AND AS AMENDED THERE TO)

| Ser No | Particulars | Rate at which material will be issued to the contractor |  | Place of issue by name | Remarks |
| --- | --- | --- | --- | --- | --- |
|  |  | Unit | Rate (Rs) |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |

- NIL –

_______________________________________________________________________________

##### SCHEDULE ‘C’

(LIST OF TOOLS AND PLANTS (OTHER THAN TRANSPORT)

WHICH  WILL BE HELD HIRED TO THE CONTRACTOR)

(See condition 5, 34 & 35 of IAFW-2249)

| ### Ser No | ### Quantity | ### Details of MES Crew supplied | Hire charges per (unit per working day) (Rs.) | Standby charges (per off day) (Rs) | ### Place of issue (By Name) | ### Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| ### 1 | ### 2 | ### 3 | ### 4 | ### 5 | ### 6 | ### 7 |

- NIL –

##### SCHEDULE ‘D’

TRANSPORT TO BE HIRED TO THE CONTRACTOR

(See condition 15 & 35 of IAFW-2249)

| ### Ser No | ### Quantity | ### Particulars | Rate per unit per working day (Rs) | ### Place of issue of stores by name | ### Remarks |
| --- | --- | --- | --- | --- | --- |
| ### 1 | ### 2 | ### 3 | ### 4 | ### 5 | ### 6 |

- NIL –

_______________________________________________________________________________

SIGNATURE OF CONTRACTOR

SSW

DATED   : ___________________						for Accepting Officer

CA NO  :  CWE/GGN/F-34/2018-19			      			Serial Page No 30

##### TENDER

THE PRESIDENT OF INDIA

Having examined and pursued the following documents:-

1.	Specifications.

2.	Drawings detailed in the specifications.

3.	Schedule ‘A’ ‘B’ ‘C’ & ‘D’ attached hereto.

4.	MES Standard Schedule of Rates: Part I, 2009 (Specifications) and Part II 2010 (Rates) together with errata and amendment as follows as applicable to the above said schedule:-

Part - I (2009)

Errata – NIL: Amendment Nos 1 & 2

Part II – (2010)

Errata /Amendment Nos - 1 to 59

5.	General Conditions of Contract, IAFW-2249 (1989 Print) together with Errata Nos 1 to 20 and Amendment Nos 1 to 40

6.	Water condition 31 of IAFW-2249 General Conditions of Contracts: Water will be supplied by MES and contractor shall pay Rs 3.75 per every Rs 1000/- worth of work done priced at Contract rates.

Should this tender be accepted I/We agree:-

*“(a)	That the sum or Rs 1,76,100/- (Rupees one lakh seventy six thousand one hundred only) forwarded as Earnest Money shall either be retained on account of Security Deposit or to be refunded by the Government on receipt of an appropriate amount as Security Deposit within the time specified on condition 22 of IAFW-2249.

(b)	To execute all works referred to in the said documents upon the terms  and conditions contained, or referred to therein and as detailed in General Summary below and to carry out such  deviation as may be ordered vide Condition 7 of IAFW-2249 upto a maximum of 10% (TEN percent) and further agree to refer all disputes as required by condition 70 of IAFW 2249 to the Sole Arbitrator of a serving Engineer Officer having degree in Engineering or equivalent or having passed final/direct final exam of Sub Div II of  Institution of Surveyors (India)  recognized by the Govt of India to be appointed by Chief Engineer, Air Force, Western Air Command, Palam, Delhi Cantt –10 or his absence the officer officiating as Chief Engineer, Air Force , Western Air Command,  Palam, Delhi Cantt-10 whose decision shall be final, conclusive and binding.”

7.	To be deleted if not applicable.

Contd....

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No  31

### TENDER (CONTD--/--)

Signature _____________________ in the capacity of ________________ Name___________________

duly authorised to sign the tender for and on behalf  of M/S _______________________

(IN BLOCK LETTERS)

Date ______________

Witness __________________________	Postal Address _______________________

Address___________________________           ________________________________

________________________________       Telephone No_________________________

##### ACCEPTANCE

___________________________alterations have been made in these documents and as evidence that these alterations were made before the execution of the contract agreement; they have been initialed by the contractor and Lt Col Niranjan Singh, SSW.

The said officer(s) is/are hereby authorised to sign and initial on my behalf the documents forming part of this contract.

The above tender is/are accepted by me on behalf of the President of India at the item rate contained in Schedule ‘A’/BOQ on the _________________ day of ________ 2018

Signature___________________   dated this ___________ day of _________ 2018

Appointment:	COMMANDER WORKS ENGINEER (AF)

GURGAON C/O CWE (AF) PALAM COMPLEX, DELHI CANTT-10

(FOR AND ON BEHALF OF THE PRESIDENT OF INDIA)

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No  32 to 64

And 65 To 83

GENERAL CONDITIONS OF CONTRACTS (IAFW-2249)(1989 PRINT)

FOR

MEASUREMENT CONTRACTS

(IAFW-1779 AND 1779-A)

A copy of the GENERAL CONDITIONS OF CONTRACT (IAFW-2249) (1989 PRINT) with Errata Nos 1 to 20 and Amendment Nos 1 to 40 has been supplied to me/us and is/in my/our possession. I/We have read and understood the provisions contained in the aforesaid GENERAL CONDITIONS OF CONTRACT before submission of this tender and I/We agree that I/We shall abide by the terms and conditions thereof, as modified, if any, elsewhere in these tender documents.

It is hereby further agreed and declared by me/us, that the General Conditions of Contract (IAFW-2249-1989 Print) including Condition 70 thereof pertaining to settlement of disputes by arbitration containing 33 pages (Serial Page Nos 32 to 64) with Errata Nos 1 to 20 and Amendment Nos. 1 to 40 containing 19 pages (Serial Page Nos. 65 to 83) form part of these tender documents.

_____________________________ 				SSW

SIGNATURE OF CONTRACTOR)    			FOR ACCEPTING OFFICER

DATED: _____________________

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 84 to 97

SCHEDULE OF MINIMUM FAIR WAGES

A copy of the latest schedule of Minimum wages has been supplied to me/us and is in my/our possession. I/we have read and understood the provisions contained in the aforesaid Schedule of Minimum wages before submission of this tender and I/We agree that I/We shall abide by the terms and conditions thereof, as modified, if any, elsewhere in these tender documents.

It is hereby further agreed and declared by me/us, that Schedule of Minimum Wages (Containing 14 Pages from Srl Page No. 84 to 97) form part of these tender documents.

_____________________________ 				SSW

SIGNATURE OF CONTRACTOR)    			FOR ACCEPTING OFFICER

DATED: ____________________

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 98

##### SPECIAL CONDITIONS

1.   GENERAL

1.1 The following Special Conditions shall be read in conjunction with the General Conditions of contracts IAFW-2249 and IAFW-1779 & 1779-A including upto date Errata/Amendments thereto.  If any provisions in these Special Conditions are at variance with that of the aforesaid documents, the former shall be deemed to take precedence there over.

1.2. The Work under this contract shall be carried out in accordance with Schedule 'A', particular specifications, drawings and other provisions given in General summary and general specifications/provisions given in MES Schedule.

1.3 The term 'General Specifications' referred to hereinbefore as well as referred to in IAFW-2249 (General Conditions of Contracts) shall mean the specifications contained in the MES Schedule.

1.4 General rules, Specifications, Special conditions and all preambles in the MES Schedule shall be deemed to apply to the works under this contract. In case of any discrepancy the provisions in these documents shall take precedence over the aforesaid provisions in the MES Schedule.

2. ADMISSION TO SITE BY CONTRACTOR TO ASCERTAIN HIS OWN INFOR MATIONS

2.1. The tenderers shall contact the Garrison Engineer for the purpose of inspection of site(s) and relevant documents other than those sent herewith, who will give reasonable facilities for this purpose. The tenderers shall also make themselves familiar with working conditions, accessibility of site(s), availability of materials and other cognate conditions which may affect the entire completion of work under this contract.

2.2. The tenderers shall be deemed to have visited the site(s) and made themselves familiar with the working conditions, whether they actually inspect the site(s) or not.

3. SECURITY AND PASSES

3.1. Contractor's attention is invited to condition 25 of IAFW- 2249. He shall employ only Indian Nationals after verifying their antecedents and loyalty.  The contractor shall on demand by the Engineer-in-Charge, submit list of his agents, employees and work people concerned and shall satisfy the Engineer-in-Charge as to the bonafides of such people.

3.2. The Engineer-in-Charge at his discretion has the right to forward the list of personnel’s to CO of unit for issuing the passes as per rules and regulations of the area in force to control the admission of the contractor, his agents, employees and work people to the site of the work or any part there of. Passes should be returned at any time on demand by the Engineer-in-Charge and or the authorities concerned and in any case on completion of work.

3.3. The contractor and his agents, employees and work people shall observe all the rules promulgated by the authority controlling the area in which the work is to be carried out e.g. prohibition of smoking and lighting, fire precautions, search of persons on entry and exit, keeping to specific routes, observing specified timing etc.  Nothing extra shall be admissible for any man-hours etc lost on this account.

4.   CONDITIONS OF WORKING IN RESTRICTED AREA

4.1.       WORK LIES IN RESTRICTED AREA (Visit to site within the Restricted Area): Permission to enter the restricted area at the time of submission of tenders can be obtained through the Garrison Engineer.   Tenderers are advised to send prior intimation of their agent, representative etc. if any, dates and time of their proposed visit so that necessary arrangements may be made by GE to secure admission. Whether tenderer visit the site or not he shall be deemed to have full knowledge of the restrictions of entering into/exit from and within the restricted area and other cognate conditions which may affect the entire completion of work under this contract.

Contd . . ./-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 99

SPECIAL CONDITIONS (Contd. . )

4.2 ENTRY/EXIT:  The contractor, his agent(s), representatives, workmen   etc and his materials, carts, trucks or other means of transports etc, will be allowed to enter through and leave from such gate or gates and at such times as the GE or authorities in-charge of the restricted Area may at their sole discretion permit to be used. The contractor's authorised representative is required to be present at the place of entry and exit for the purpose of identifying his carts, trucks etc to the personnel in-charge of the security of Restricted Areas.

4.3 IDENTITY CARDS OR PASSES: The contractors, his agents and representatives are required individually to be in possession of an identity card or pass duly verified by the police department.  The identity card or pass will be examined by the security staff at the time of entry into or exit from the restricted area and also at any time or number of times inside the Restricted Area.

4.3.1 IDENTITY OF WORKMEN: Every Workman shall be in possession of an identity card. The identity card will be issued after thorough investigation of the antecedents of the labourers by the contractors and attested by the Officer-in-Charge of the unit concerned in accordance with the standing rules and regulations of the units.

4.3.2 Contractor shall be responsible for the conduct and action of his workmen, agents or representative.

4.4 SEARCH:  Thorough search of all persons and transport shall be   carried out at each gate and for as many times as a gate is used for entry or exit and may also be carried out at any time or any number of times at the work site.

4.5 WORKING HOURS.

4.5.1 The units controlling Area, usually work during six days in the week and remain closed on the 7th day.  The working hours available to contractor's labour and staff are however, appreciably reduced because of the time taken in security checks observed at the time of entry, exit and during working hours.

4.5.2. The exact working hours, days and non working days observed for the restricted area, where works are to be carried out shall be deemed to have been ascertained by the contractor before submitting his tender.  The tenderer's attention is invited to the fact that the total numbers of working hours for a unit are prescribed in regulations and they cannot be increased by the Garrison Engineer.

4.6.   Working on Holidays: The contractor shall not carry out any work on gazetted holidays, weekly holidays and other non working days except when he is specially authorised in writing to do so by the GE. The GE may at his sole discretion declare any day as holiday or non working day without assigning any reason for such declaration.

  - FIRE PRECAUTIONS:

4.7.1 The contractor, his agents, representatives, workmen etc, shall strictly observe the orders pertaining to fire precautions prevailing within the restricted area.

4.7.2 Motor transport vehicles, if any, allowed by authorities to enter the area must be fitted with serviceable fire extinguishers.

4.8 	Female searcher: If the contractor desires to employ female labours on work to be carried out inside the area and a female searcher is not borne on the authorised strength at the time of submission of the tender, he shall be deemed to have allowed in his tender for pay and allowances etc, for a female searcher (Class IV servant/GP `D` servant) calculated for the period female labour is employed by him inside that area.  If more than one contractor has/have to be employed in addition to the authorised strength, the salary and allowances paid on an equitable basis between the contractors employing female labour taking in to consideration the value and period of completion of their contracts.  The GE’s decision with regard to the amount recoverable on this account from any contractor shall be final and binding.																	Contd . . ./-

CA NO  :  CWE/GGN/F-34/2018-19   					Serial Page No 100

SPECIAL CONDITIONS (Contd. . )

5.  MINIMUM WAGES PAYABLE

5.1   Refer condition 58 of IAFW-2249.  The contractor shall not pay wages lower than minimum wages for labour as fixed by the Govt of India/State Govt whichever is higher.

5.2. The fair wages referred to in condition 58 of IAFW-2249 will be deemed to be the same as the minimum wages payable as referred to above.

5.3    The contractor shall have no claim whatsoever, if any on account of local factor and/or Regulations, he is required to pay the wages in excess of minimum wages as described above during the execution of work.

6. ROYALTIES

Reference condition 14 of General Conditions of contracts (IAFW-2249).

No quarries on Defence land are available.

7. LAND FOR TEMPORARY WORKSHOP AND STORES

Delete the following from lines 5 to 9 of Sub Para 1 of Condition 24 of IAFW-2249 reading "in the event of area of land ..........land allotted to him" and insert as under: -

“The contractor shall be allotted free of charge, the area as marked on the layout plans or as directed by Engineer-in-Charge for the purpose of erection of temporary workshop and stores.  No M O D land is available for accommodation of labour and canteen for which the contractor shall make his own arrangement at his own expense.

8.  WATER.

8.1   Refer condition 31 of General Conditions of Contracts IAFW-2249 “Water will be supplied by the MES. As the water supply by MES is likely to be intermittent/short supply make his own arrangement for storing the water required for the work, labour and workmen etc at his own expense. The contractor shall not have any claim on account to supplement the requisite quantity of water.

8.2    Water will be supplied by the MES and contractor shall pay Rs.3.75 per every Rs.1000.00 worth of work done priced as contract rates and the condition 31 shall be deemed to be amended accordingly.

9.   CO-OPERATION WITH OTHER AGENCIES

The contractor shall permit free access and generally afford reasonable facilities to other agencies or departmental workmen engaged by the Govt to carryout their part of the work, if any, under separate arrangements.

10.   ELECTRIC SUPPLY

Electricity supply required for the work upto a maximum of 20 KW three phase 440 volts shall be available by the MES at points either shown on site plan or from point (s) as directed by Engineer in charge. KWH meters to register the electric energy supplied and main switch shall be provided and installed by the contractor. Contractor shall provide all necessary cables, fittings etc from the tapping point in order to ensure a proper and suitable supply of electricity for execution of work. The contractor will be craged for the electric energy consumed for execution of works at the following rate:-

(a)	At the rate of Rs. 10.00 Per unit for Lighting.

(b)	At the rate of Rs. 10.00 Per unit for Power.

10.1	MES do not guarantee continuity of supply and no compensation whatsoever shall be allowed for supply becoming intermittent or for breakdown in the system.

Contd…/-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 101

SPECIAL CONDITIONS (Contd. . )

10.2	GE or his representative shall be free to inspect all the power consuming devices or any electrical lines provided by the contractor. Any devices or electric lines provided by the contractor which is not to the satisfaction of the GE shall be disconnected from the supply if so directed by him.

11.  NET WORK ANALYSIS

11.1 The time and progress chart to be prepared as per Condition 11 of General Conditions (IAFW-2249) shall consist of detailed network analysis and a time Schedule.  The critical path network will be drawn jointly by the GE and the contractor soon after acceptance of tender.  The time scheduling of the activities will be done by the contractor so as to finish the work within the stipulated time.  On completion of the time schedule a firm calendar date Schedule will be prepared and submitted by the contractor to the GE who will approve it after due scrutiny.  The schedule will be submitted in four copies within two weeks from the date of handing over of site.

11.2 During the currency of work, the contractor will adhere to the time schedule and this adherence will be a part of the contractor’s performance under the contract.  During the execution of the work the contractor is expected to participate in the reviews and updating of the network under taken by the GE.  These reviews may be undertaken at the discretion of the GE either as a periodical appraisal measure or when the quantum of work ordered on the contractor is substantially changed through deviation orders or amendments. Any revision of the time schedule as a result of the review will be submitted by the contractor to GE within a week for the approval after due scrutiny by the authority concerned.

11.3. The contractor shall adhere to the revised time schedule thereafter.   In case of contractor disagreeing with revised schedule the same will be referred to the Accepting Officer whose decision shall be final, conclusive and binding. GE’s approval to the revised schedule resulting in a completion date beyond the stipulated date of completion shall not automatically amount to a grant of extension of time.  Extension of time shall be considered and decided by the appropriate authority mentioned in condition 11 of IAFW-2249 and separately regulated.

11.4   Contractor shall mobilize and employ sufficient resources to achieve the detailed schedule within broad framework of the accepted method of working and safety.  No additional payment will be made to contractor for any multiple shift work or other intensive methods contemplated by him in his schedule, even though the time schedule is approved by the GE.

12	ATTENDANCE UPON DEPARTMENTAL LABOUR AND CO-OPERATION WITH OTHER BUILDING CONTRACTORS

12.1	The work is required to be carried out in close co-operation with building contractor so as to cause minimum possible damage to the work already executed and this should be done by frequent visit to the site at the appropriate stage. The contractor should therefore supply to Engineer in charge sufficient details of pocket, holes/chases to be left in the work so the building contractor can be directed to do so.

12.2	The contractor shall note that if the requirement of leaving holes etc is not furnished in time, he shall/have to carry out such works himself and make good the disturbed works as necessary at his own cost.

12.3	The contractor shall also note that the building contractor is not required to provide any concrete blocks and the like for embedding lots etc. Such provision if required shall be the responsibility of the contractor under this contract.

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 102

SPECIAL CONDITIONS (Contd. . )

13. RECORD OF CONSUMPTION OF CEMENT

13.1 The contractor shall maintain a pucca bound register with serially numbered pages with all pages initialed by Engineer in charge against numbering showing quantities of cement received, incorporated in the work and balance at the end of each day.  The form of record shall be as approved by Engineer-in-Charge. The register shall be signed daily by representatives of MES and the contractor in token of verification of its correctness and will be checked by Engineer-in-Charge, at least once a week.

13.2 The register shall be kept at site in safe custody of the contractor’s representative during the progress of the work and shall be produced on demand for verification to the inspecting officer(s).

13.3. On completion of the work the contractor shall deposit the cement register with the Engineer-in-Charge for record.

14.	PERIOD OF COMPLETION

14.1	Work order to commence the work shall be placed on the contractor soon after the acceptance of tender. The period of completion as laid down in schedule ‘A’ shall commence from the date of commencement shown in the first work order and the contractor should take the fabrication/procurement action immediately so as to ensure completion of entire work within the stipulated period of completion.

14.2	The period of completion shown in schedule ‘A’ is for the completion of the entire work to the satisfaction of the GE.

15.	RECOMMENDATION FOR PROCUREMENT OF MATERIALS FOR INCORPORATION IN THE WORK.

15.1	The contractor shall at his own cost and expense provide all materials required for the work other than those listed in schedule ‘B’

15.2	In the event of the contractor experiencing difficulty in procuring the materials required for incorporation in the work through his own requires he may apply to the appropriate authority/manufacturer, such application of the contractor with his recommendations.

15.3	The aforesaid condition would not however amount to any guarantee expressed or implied and the contractor still remains contractually liable to make his own. Arrangements to fulfill his contractual obligations. No claim what so ever shall be admissible in the event of any delay in finalization of the supply of such materials.

16.  PERIOD FOR KEEPING THE TENDER OPEN

The tender shall remain open for acceptance for a period of 60 (Sixty) days from the date on which the tenders are due to be submitted.

17.  CONTRACTOR'S REPRESENTATIVES AND WORKMEN

Refer condition 25 of IAFW-2249. The contractor shall employ only Indian Nationals as his representatives, servants and workmen and verify their antecedents and loyalty before employing them for the works. He shall ensure that no person of doubtful antecedents and nationality is, in any way associated with work.

18.  SECURITY OF CLASSIFIED DOCUMENTS

Contractor's Special attention is drawn to conditions 2-A and 3 of IAFW-2249 (General Conditions of Contracts). The contractor shall not communicate any classified information regarding the work either to subcontractors or others without the prior written approval of the Engineer-in-Charge. The contractor shall also not make copies of the design/drawing and other documents furnished to him in respect of work, and shall return all documents on completion of the work or earlier on determination of the contract.  The contractor shall alongwith the final bill attaches a receipt of his having returned the classified documents as per conditions 3 of IAFW-2249 (General conditions of contractor).

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 103

SPECIAL CONDITIONS (Contd. . )

19.  RECORD OF MATERIALS

19.1 The quantity of materials such as paints, water proofing compound and the like, as directed by the Engineer-in-Charge (the quantity of which cannot be checked after incorporation in the works), shall be recorded in measurement books and signed by the contractor and the Engineer-in-Charge as a check to ensure that the required quantity has been brought to site for incorporation in the work.

19.2 Materials brought to site shall be stored as directed by the Engineer-in-Charge recorded in Measurement Book and shall be suitably marked for identification.

19.3 The contractor shall, on demand, produce to the GE original receipted vouchers in respect of the supplies. Vouchers so produced and verified shall be stamped by Engineer-in-Charge indicating contract number.  The contractor shall ensure that the materials are brought to site in original sealed containers/packing; bearing manufacturer’s marking except in the case of the requirement of material(s) being less than smallest packing.

19.4 Contractor shall produce original vouchers from the manufacturers and/or their authorised agents for the full quantity of the following materials, as applicable as a prerequisite before submitting for payment for any advances on account of the work done and/or materials collected in accordance with condition 64 of General Conditions of Contracts IAFW-2249.

(a)	Cement

(b)	Steel (Structural & Reinft)

(c)	Sanitary fittings (Vitreous china) of all types as mentioned in BOQ

(d)   	Flushing cistern (PVC)

(e)   	GI and CI Pipe with fittings etc

(f)	PVC flush Pipes with fittings etc

(g)	Vitrified and Non Skid/ Glazed tiles

(h)	Cement & Steel(Reinft & Structural)

(j)	SE Paint

(k)	Cement based paint

(l)	Exterior emulsion paint (Weather Proof)

(m)	OBD

(n)	Door shutters with frames of all types as mentioned in BOQ.

(o)	PVC Tank.

(p)	CP Fittings of all types.

(q)	Block Board

(r)	WPC.

(s)	All types of Hardware fittings as mentioned in BOQ (MS/ Aluminium).

(t)	Stainless Steel Sink and Plate Rack.

(u)	APP.

(v)	Acrylic Coloured Sheet 3 mm thick

(w)	PVC Pipes (SWR) with fitting.

(x)	Granite stone

(y)	Galvalume sheet

(aa)	Point wiring

(ab)	Electrical Modular Switches

(ac)	Exhaust fan

(ad)	Fan Regulator

(ae)	LED Light fittings of different size & type

(af)	Submain Wiring

(ag)	MCCB

(ah)	MCB

(aj)	DB’s

(ak)	Normal earthing

(al)	LT XLPE cable

(am)	LT Panel/ Feeder Pillar

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 104

SPECIAL CONDITIONS (Contd. . )

20.   SECURITY AGAINST LOSS OR DAMAGE

The contractor shall furnish to the Engineer-in-Charge every morning distribution return of his plants/equipments on the site of work stating the following particulars: -

(i) Particulars of plants/equipments, their make manufacture Model No. If any. Registration No if any, capacity, year of manufacture and year of purchase etc.

(ii) Total No (Quantity) on site of work.

(iii) Location, indication No. quantity at each location of site of work.

(iv) Purchase value on the date of purchase. For the purpose of the condition, plant/equipment, shall be given vehicle No i.e. trucks and lorries but neither the workman's tools nor any manually operated tools/equipment. The Engineer-in-Charge shall record the particulars supplied by the contractor in the works diary and send the return to the GE for record in his office.

Note: - However this will not absolve the contractor of his responsibility for safe custody of plants, equipments etc even though the work is to be executed in restricted area.

21.   RELEASE OF ADDITIONAL SECURITY DEPOSIT

21.1 Refer condition 22 and 68 of IAFW-2249

21.2     The contractor in case he has to deposit additional security deposit for the contract, is advised to deposit the additional deposit security in two equal parts so as to facilitate its release in accordance with condition 68 of IAFW-2249.

22.   OFFICIAL SECRET ACT

The contractor shall be bound by the official secret Act 1923.

23.   CLEANING DOWN

Refer  condition 49 of IAFW-2249, General  Conditions  of Contracts:-   The contractor shall clean  all  floors,  walls remove cement, lime, paint marks, drops etc. clean the  joinery glass  panes  etc touch up all painters work and  carryout  all other  necessary  items of work in connection  there  with  and leave the whole premises clean and tidy before handing over the building(s) and other works covered under this contract.

24.   DETAILS OF CONSTRUCTION

The quoted rates shall be deemed to include for minor details of construction which are obviously and fairly intended and are essential for completion of the work but may not have specially been referred to in these documents. In the event of disputes the decision of the Accepting Officer shall be final, binding and conclusive.

25. OCTROI/SALES TAX/GST AND OTHER DUTIES

Contractor’s rates shall be deemed to be inclusive of all duties such as Octroi, Sales Tax, excise, VAT/GST etc as referred in condition 10 of IAFW-2249 (General Conditions of Contract) and state Govt sales tax/GST on works contracts payable under respective statutes pursuant to the Constitution (Forty sixth amendment) Act 1982.  Any condition stipulated by the tenderer regarding sales tax/GST on works contracts will not be considered and such tender shall be liable for rejection.

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 105

SPECIAL CONDITIONS (Contd. . )

26.  CONSTRUCTION LABOUR WELFARE CESS

The  quoted rates by the tenderers shall  be  deemed  to  be inclusive of construction labour welfare cess and no extra  payment  shall  be admissible to the  contractor  on  this  account.

27.  TESTING OF MATERIALS

27.1.	All the materials to be incorporated in the work shall be subjected to quality control tests as per the testing procedure and frequency as laid down in relevant IS and as indicated in the tender.

27.2. Irrespective of whatever is indicated elsewhere in the tender documents the modalities of testing arrangements shall be as mentioned here in after.

27.3. The contractor shall set-up his site laboratory fully equipped to the satisfaction of GE to carry out the `A` type tests as given in Appendix `A` to these specifications.   The laboratory shall be set up in all respects before any activity requiring tests as indicated above is physically commenced. Contractor shall employ a competent person technically qualified and approved by the GE to carry out the testing activities.  All the tests shall be carried out in the presence of Engr-in-Charge and records shall be jointly signed by the contractor and Engineer-in-Charge.

27.4. Entire cost of laboratory and its functioning including cost of samples will be borne by the contractor in all respects and no separate recovery for testing charges shall be effected for tests/retests carried out at site laboratory.   If in the opinion of GE (whose decision in this regard shall be final) any of the `A’ type tests as given in Appendix `A` to these specifications cannot be satisfactorily carried out in the site laboratory at any stage due to any reason the same shall be got done in Govt approved lab/Engineering College as approved by GE in respect of which all expenditure there of shall be borne by the contractor.

27.5.  Any tests marked as type `A` `B` or `C` in Appendix `A` if got done at  SEMT wing, Pune/Command Test Lab(CTL), testing charge as indicated against them will be recovered from the contractor. In addition to this the contractor shall arrange for samples and its handling/transportation to the concerned labs at his own cost.

27.6. The tests marked as type `B` and `C` will not be carried out in the site laboratory. These tests shall be carried out only in SEMT wing/Govt approved lab/National test House/Engineering College/Command Test Lab(CTL) as approved by the GE.  In case type  `B` and `C` testing is done in  SEMT wing/Command Test Lab(CTL), the testing charges recovered shall be as indicated in the Appendix `A` to these P.S. against each test.  However if testing is done in other places as mentioned above, the actual cost will be directly borne by the contractor.

27.7. The list of tests given in Appendix `A` to these PS contain only a few common tests.  However all other tests required in the work but not covered in the appendix shall also be got done from Govt approved lab/ Engineering College  /National test house as approved by GE and entire cost of samples, handling, transportation and actual testing charge will be borne by the contractor directly.

28.	MATTERS ARISING BETWEEN VARIOUS AGENCIES WORKING AT SITE

The contractor shall permit free access and afford reasonable facilities to other agencies or departmental workmen, If any engaged by Govt to carry out their part of work in the area No extra payments shall, however be made to the contractor on this account what so ever. The decision of GE shall be final and binding on the contractors in all matters arising between the various contractor working at site simultaneously. The various agencies/contractors working contemporaneously at the site are required to work in close co-ordination.

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 106

SPECIAL CONDITIONS (Contd. . )

29.	DAMAGE TO EXISTING WORKS

Any damage done to the existing structure during the execution of work shall be made good by the contractor at his own cost and the site of work shall be left clean and tidy on completion rectification/re-instatement making good etc shall conform to the standard of materials originally used on the work and shall match with existing work in all respects to the entire satisfaction of the GE. In case of any dispute on this account decision of the GE shall be final, conclusive and binding.

30.	FORCE MAJEURE

Should any force majeure circumstances arise, each of the contracting party shall be excused for the non fulfillment or for the delayed fulfillment of any of its contractual if the affected part within 15 days of its occurrence informs the other party in writing.

Force Majeure shall mean fires, floods, natural calamities or other acts such as war, turmoil’s, strikes (as not limited to be establishment of the seller), sabotage, explosions, qua anatine restrictions beyond the control of either party.

It is understood and agreed between the parties hereto that the right and obligations of the parties shall be deemed to be in suspension during the continuance of the force majeure event as aforesaid and the said rights and obligations shall automatically revive upon the cessation of the intervening forces  majeure  vent the period within the rights and obligation of the parties shall be in suspension due to force  majeure event shall  not be considered as a delay with respect to the period of deliver and/or acceptance of delivery under the contract or other to the detriment of either party.

Not with standing the provisions of the immediately for clauses it is further understood and   agreed between the party hereto that in the event of any force majeure persisting for uninterrupted period exceeding (06) six months, on their part reserves the right to terminate this contract upon giving prior written notice of 30 (thirty) days to the other party of the intention terminate without any liability other than reimbursement on the terms provided in their agreement for the goods received.

31.  RE-IMBURSEMENT / REFUND ON VARIATION IN “TAXES DIRECTLY RELATED TO CONTRACT VALUE

31.1.     The rates quoted by the Contractor shall be deemed to be inclusive of all taxes (including Sales Tax/VAT/GST on materials, Sales Tax/VAT/GST on Works Contracts, Turnover Tax, Service Tax, Labour Welfare Cess/Tax etc.), duties, Royalties, Octroi & other levies payable under the respective Statues.  No reimbursement/refund for variation in rates of taxes, duties, Royalties, Octroi & other levies, and/or imposition/abolition of any new/existing taxes, duties, Royalties, Octroi & other levies shall be made except as provided in sub Para 31.2 here-in-below.

31.2.  The taxes which are levied by Govt. at certain percentage rates of Contract Sum/Amount shall be termed as “taxes directly related to Contract value” such as Sales Tax/VAT/GST on Works Contracts, Turnover Tax, Labour Welfare Cess/Tax and like but excluding Income Tax.  The tendered rates shall be deemed to be inclusive of all “taxes directly related to Contract value” with existing percentage rates prevailing on last due date for receipt of tenders.  Any increase in percentage rates of “taxes directly related to Contract value” with reference prevailing rates on last due date for receipt of tender shall be reimbursed to the Contractor and any decrease in percentage rates of “taxes directly related to Contract value” with reference to prevailing rates on last due date for receipt of tenders shall be refunded by the Contractor to the Govt. / deducted by the Govt. from any payments due to the Contractor.  Similarly imposition of any new “taxes directly related to Contract value” after the last due date for receipt of tenders shall be reimbursed to the Contractor and abolition of any “taxes directly related to Contract value” prevailing on last due date for receipt of tenders shall be refunded by the Contractor to the Govt./deducted by the Govt. from the payment due to the Contractor.

Contd . . /-

CA NO  :  CWE/GGN/F-34/2018-19    					Serial Page No 107

SPECIAL CONDITIONS (Contd. . )

31.3   The contractor shall, within a reasonable time of his becoming aware of variation in percentage rates and/or imposition of any further “taxes directly related to Contract value”, give written notice thereof to the GE stating that the same is given pursuant to this Special Condition, together with all information relating thereto which he may be in a position to supply. The contractor shall submit the other documentary proof/ information’s as the GE may require.

31.4.	    The Contractor shall, for the purpose of this condition keep such books of account and other documents as are necessary and shall allow inspection of the same by a duly authorized representative of Govt, and shall further, at the request of the GE furnish, verified in such a manner as the GE may require, any documents so kept and such other information as the GE may require.

31.5.    Reimbursement for increase in percentage rate/imposition of “taxes directly related to Contract value” shall be made only if the Contractor necessarily & properly pays additional “taxes directly related to Contract value” to the Govt. without getting the same adjusted against any other tax liability or without getting the same refunded from the concerned Govt. Authority and submits documentary proof for the same as the GE may require.

_________________________                			SSW

(SIGNATURE OF CONTRACTOR)       		FOR ACCEPTING OFFICER

DATED _________________2018

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 108

##### PARTICULAR SPECIFICATION

- GENERAL

  - The works under this contract shall be carried out in accordance with Schedule ‘A’, particular specifications and General specifications and other provisions in the MES Schedule.

  - The Term “General Specifications referred to in Para 1.1 above as well  as referred in IAFW-2249 (General Conditions of Contract)  shall mean the specifications contained in the MES Standard Schedule of Rates – 2009 (Part-I) Specifications and MES SSR Part-II (2010) Rates.

  - General Rules, specifications, special conditions and all preambles in the MES Schedule shall be deemed to apply to all works under this contract, unless mentioned otherwise in these tender documents in which case specifications in these tender documents shall take precedence over the aforesaid provisions in the MES Schedule.

  - Wherever reference has been given to the catalogue number of firms, the materials and fittings etc, will be only of the make of the firms whose catalogue numbers have been indicated in the tender documents.

  - SAMPLES OF MATERIALS

1.5.1 The contractor is advised to inspect samples of all the materials given herein-after which are displayed in the office of GE, before submitting his tender.  The contractor is deemed to have inspected samples and satisfied himself as to the nature and quality of materials which he is required to incorporate in the work,  irrespective of the fact whether he inspects them or not.  The materials to be incorporated in the work by the contractor shall conform to or shall be superior in quality to such of the samples, which shall comply in all respects with the specifications given here-in-after.

1.5.2 Materials for which samples are displayed are given below:

(a) 	Broken or crushed stone aggregate

(b)	Fine Sand

(c)	Burnt Brick

    - The contractor shall produce samples of all materials and shall obtain approval in writing from GE before he places bulk order for the materials for incorporation in the work.  In respect of materials for which samples are not kept or detailed specifications are not given here-in-after, the materials shall comply with latest relevant Indian Standard specifications whether listed in MES schedule or not.  Materials having ISI mark shall be given preference over those not having ISI mark.

  - MAKING GOOD

The contractor shall cut, leave or form   holes, recesses, chases etc, in concrete, brick work,  walls, ceiling, floors and in any other situations as required or as directed by the Engineer-in-Charge and finish to match the adjoining surfaces.

2.    SCOPE OF WORK: The scope of work included in this contract mainly comprises of REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD all as detailed in these tender Documents .The tenderers are, however, advised to visit the site in consultation with GE to ascertain the actual locations of works, nature of work and quantum of work  etc. involved, Restrictions etc imposed on the entry/exit of labour including requirement of verification of Antecedents of labour/supervisors/work men and issue of passes etc in respect of such  people to be employed for the work by the contractor and/or any other factors which may effect his rates.  The contractor shall be deemed to have visited the site and acquainted himself with all these Important aspects mentioned here-in-before, irrespective of the fact whether he actually visits the site or not and no claim what-so-ever shall be entertained on this account at a later date” .

Contd…

CA NO  :  CWE/GGN/F-34/2018-19					            Serial Page No 109

##### PARTICULAR SPECIFICATION (CONTD….)

3    EXCAVATION - GENERAL

3.1	Excavation and earthwork under this contract shall be considered as excavation in soft/loose soil  as detailed in MES SSR (Part –I).

3.2	In case timbering to excavation is required and specifically ordered by the GE in writing, it shall be paid as deviation. Timbering / planking shall be carried out as per para 3.24 of MES SSR Part-I

3.3	Bailing/pumping out of water where required shall be carried out as described in clause 3.17 of MES SSR. The cost of such work as may be necessary shall be deemed to be included in rates quoted by contractor.

3.4	Contractor shall ensure all safety measures in construction as per para 1.16 of SSR Part-I”.

3.5	DEMOLITION/DISMANTALING

3.5.1	 The contractor shall carry out demolition/dismantling carefully without any damages to the existing structure.  In the event of any loss or damage, the contractor shall at his own expense reinstate and make good to the full satisfaction of Engineer-in-Charges.

3.5.2  During demolition/dismantling all necessary precaution shall be taken by the contractor as per “MES Safety Code” mentioned in General Conditions of Contract (IAFW-2249).

3.5.3	The demolition/dismantling materials which are not covered under Schedule of Credit shall remain Govt property and the contractor shall remove the materials to the MES Store/places outside of the Defence land as directed by Engineer-in-Charge without any extra cost to the Govt.

4  	CEMENT

4.1 	The cement used shall be 43 grade Ordinary Portland cement conforming to IS-8112:1989 or Portland Pozzolana cement, conforming to IS-1489-Part-I: 1991-Specification for Portland Pozzolana cement, Part-I Flyash based. Cement bag shall bear ISI certification mark and date of manufacture.

4.2	Procurement of cement: Cement shall be procured from the main producers/ manufacturers of the cement as specified in appendix ‘B’ to these particular specifications. However where estimated requirements of cement is less than 1200 bags, contractor can procure cement from the authorized distributors/ dealers of the approved firms, but contractor will have to submit test certificate of the batch issued by the main producers.

4.3	The Particulars of the manufacturer of cement along with the date of manufacture shall be produced by the contractor for every lot of cement separately. The cement so brought shall be fresh and in no case older than 60 days from the date of manufacturing. The documents in support of the purchases of cement such as purchase voucher shall be verified by the site staff and GE. Before placing the order for supply of cement by the contractor, he shall obtain written approval from the GE regarding name of manufacturer, quantity of cement etc. Cement shall be procured for minimum requirement of one month and not exceeding the requirement of the same for more than two months at a time. The cement shall be consumed in the work within three months after receipt. Cement shall conform to the requirements of Indian Standard Specification and each bag of cement shall bear relevant ISI mark. The weight of each consignment shall be verified by the GE and recorded.

4.4	The cement shall be procured by the contractor preferably in paper polythelene bags. The Average weight of each bag cement shall not be less than 50 Kg. The average weight shall be tested by taking the weight of 50 Kg bags selected at random by GE per lot. In case the weight is less than 50 Kg whole lot shall be rejected. In case weight is more than 50 Kg it shall be deemed to contain 50 Kg only and nothing extra shall be admissible to contractor on account of extra cement used in the work.

4.5	Purchase vouchers as mentioned here-in-before shall bear machine number from the manufactures.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 110

PARTICULAR SPECIFICATION (CONTD….)

4.5.1	Use of Portland Pozzolana Cement (PPC). While using PPC, the following requirement shall be met with :-

(a)	PPC shall meet the strength criteria of 43 grade Ordinary Portland Cement (OPC) as laid down in IS-8112-1989.

(b)	Minimum period before striking the form work given in clause 11.3.1 of IS 456:2000 and MES Schedule Part-I (SSR Part-I) vide clause 4.11.6.3 shall be 14 days.

(c)	Extra curing shall be carried out as required.

(d)	Mixing of OPC and PPC shall not be allowed in a building. However with the approval of GE, different buildings can be have different type of cement and separate record shall be maintained showing location and types of cement used.

(e)	 While procuring PPC, the following requirements are to be ensured and certificate to that effect shall be obtained by Contractor for each batch from the manufacturer :-

(i)	The quality of fly ash is strictly as per IS 1489 Part-I 2002.

(ii)	Fly ash is inter-ground with clinker and mixed with clinker.

(iii)	Dry fly ash is transported in closed containers and stored in cilos.  Only pneumatic pumping shall be used.

(iv)	The fly ash shall be procured from thermal plants using high temperature combustion above 1000 degree C.

(v)	The fly ash content in PPC shall not exceed 25% to ensure consistency.

(vi)	Ensure strict compliance of clause 4.1.3 and clause 9.2 of IS-1489 (Part-I) : 1991 by getting fly ash and cement tested at National Council of Cement and Building materials, Ballabhgarh, Haryana, PIN-121004 or any other laboratories as mentioned in clause 4.4.4 here-in-after.

- PPC shall not be permitted for use in pavement quality concrete (PQC) such as hanger floor, runway, link taxi etc. and water retaining structures.

4.6   TESTING

4.6.1 The contractor shall submit the manufacturer’s test certificate in original alongwith the Test Sheet giving the result of each physical test as applicable and the chemical composition of the cement or authenticated copy thereof, duly signed by the manufacturer with each consignment clearly bringing out above details.  Engineer-in-Charge shall record these details in the cement acceptance register after due verification. GE shall also organise independent testing of random samples of cement drawn from various lots from the National Test House, SEMT Wing (CME Pune)  Regional Research Laboratories, Government approved laboratories, as per IS: 3535 (method of sampling Hydraulic Cement), IS: 4031 (method of physical test for Hydraulic Cement) and IS: 4032 (method of Chemical analysis of Hydraulic Cement).

4.6.2 The average net mass of cement packed in bags at the plant in a sample shall be equal to or more than 50 Kgs. The number of bags in a sample shall be as given below:-

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 111

PARTICULAR SPECIFICATION (CONTD….)

| Batch/Lot Size (in bags) | Sample Size (in bags) |
| --- | --- |
| 100 to 150 151 to 280 281 to 500 501 to 1200 1201 to 3200 3201 and over | 20 32 50 80 125 200 |

The bags in a sample shall be selected at random.

4.6.3 The cement shall conform to chemical requirements and physical requirements as specified in respective clauses of IS: 269. Each bag shall bear IS certification mark. The tests, carried out as per provisions of IS codes specified hereinbefore, shall be the criteria for acceptance of cement by Engineer-in-Charge. If samples from a lot/lots are not within the acceptable limits of Indian Standard, the lot/lots shall be rejected without any claims or compensation to the contractor for the lot/lots purchased. The contractor shall replace the lot/lots with the fresh one which shall be tested again for acceptance.

4.6.4 The cost of all tests carried out on cement before acceptance for incorporation in the work shall be borne by the contractor whether the results are acceptable or not.

4.7    STORAGE

Cement shall be stored over dry platform at least 20cm high in such a manner as to prevent deterioration due to moisture or intrusion of foreign matter. In case of storerooms, the stock should be at least 20cm above floors and away from walls. Inspection shall be carried out once a day by the Engineer-in-Charge. It shall be ensured by the Engineer-in-Charge that tested and untested cement are segregated and stored separately with distinct identification. The cement godowns shall be provided with two locks on each door. The key of one lock, at each door, shall remain with the Engineer-in-Charge or his representative and that of the other lock with the contractor’s authorised representative at site of works so that cement is removed from the godown only according to daily requirement with the knowledge of both the parties.

4.8.   DOCUMENTATION

The Contractor shall submit original vouchers from the supplier for the total quantity of cement supplied under each consignment to be incorporated in the work.   All consignments received at the work site shall be inspected by GE alongwith the relevant documents before acceptance.   The original vouchers and the Test Certificates shall be defaced by the Engineer-in-Charge and kept on record in the office of GE duly authenticated and with cross reference to the control   number recorded in the Cement Acceptance Register. The Cement Acceptance Register will be signed by JE  (Civil), Engineer-in-Charge, Board of Officers for random check of cement and verification of connected documents. The entire quantity of all types of cement shall also be suitably recorded in the Measurement Book for record purposes before incorporation in the work and shall be signed by the Engineer-in-Charge and the Contractor.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 112

PARTICULAR SPECIFICATION (CONTD….)

4.9. SCHEDULING OF SUPPLY

Schedule of procurement of cement shall be finalised by Contractor with GE and shall be incorporated in CPM chart so that procurement is in accordance with the progress contemplated in the CPM prepared.  The complete requirement of cement shall be worked out before making any RAR payment and procurement of cement by the contractor shall be completed sufficiently in advance of the execution of work.  Cement bags lying for more than 3 months after completion of test may be retested at the discretion of the GE before use and shall be rejected if it fails to conform to any of the requirements of IS-269.

4.10	CONCRETE

4.10.1 COURSE AGGREGATE: Unless otherwise specified, coarse aggregate for all cement concrete work shall be local broken or crushed stone conforming to samples.  In all other respects, specification given in MES Schedule Part I shall be complied with Grading of coarse aggregate

4.10.2 FINE AGGREGATE.   Fine aggregate for all concrete work shall be sand Ghaggar conforming to samples, comply with the requirement as specified in clause 4.4.7.2 for grading Zone I as per MES Schedule (Part I).  Sand with Zone II grading may also be permitted subject to approval of GE and the requisite strength of the concrete is achieved.

NOTE:  wherever Badarpur sand has been specified in the tender documents, the contractor shall be permitted to use Ghaggar sand (from near Chandigarh area) at his own cost.  If he desires due to inadequate supply/nor availability of Badarpur sand, No price adjustment shall be made on this account.  Sample of Ghaggar sand shall however be got approved from GE before incorporation in the work.  Other provisions in the respective clauses shall remain unaltered.

4.10.3 Mix of concrete mentioned in these tender documents shall be by volume for nominal mix and as per approved design for design mix concrete.

4.10.4 Any cement which has deteriorated in quality to any cause whatsoever while in the custody of the contractor shall be removed by the contractor from the site.  The decision of the GE in this regard shall be final, conclusive and binding.

4.10.5 In case of any dispute regarding quality of cement the contractor shall intimate the facts to the GE within 7 days of receipt of cement who will get the cement tested from the Govt. laboratory.  The cost of testing cement will be borne by the contractor, if the cement proves to the quality as specified.

4.10.6 AGGREGATE:  The aggregate shall conform to IS-383.  Aggregate shall be non porous hard, strong, durable, clean and free from various impurities and exceeding the limits specified in the above referred IS.  When required by Engineer in charge the contractor at his own expense carry out test laid down in IS-383 to verify that the aggregate comply with the requirement of the IS.  The tests will be carried out in any laboratory approved by GE without any extra cost to government.  Coarse aggregate proposed to be used shall be approved by the GE prior to bulk delivery on the same at the site of works.  Fields tests for determining the contents of all silt, lime, clay etc fro the aggregate shall be carried out by the Engineer-in charge from time to time to ensure that materials brought to use are conforming to the Samples approved by GE.  The grading of coarse and fine aggregate shall be as per MES Schedule, fine Aggregate shall have a grading as per grading Zone II or Zone III. The grading of coarse and fine aggregate shall be checked as frequently as specified, the current frequency for a given job being determined by the GE/Engineer in charge to ensure that the specified grading is maintained.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 113

PARTICULAR SPECIFICATION (CONTD….)

4.10.7 WORK ABILITY:  this shall be done as specified in clause 4.11.4 of MES schedule Part I (2009).

5.       STRENGTH TEST

Sampling  and  strength  test of  concrete  shall  be  carried  out  as per clause 14 of  IS-456. Coarse, fine aggregate and concrete cubes shall be tested in any Govt. lab approved by GE. The test samples should be identified and signed jointly by Engineer-in-Charge and contractor's representative.

6.      STEEL AND IRON WORK

6.1.1 All steel required for incorporation in the work under this contract shall be procured by the contractor from the sources mentioned here-in-after and shall comply with the requirements of the following specifications:-

(a)  REINFORCEMENT STEEL:

(i) Wherever high yield strength deformed bars or deformed/twisted steel reinforcement bars or CTD bars are specified/shown in the drawings or in these particular specifications, these shall be amended to read as high strength deformed steel bars. The high strength deformed steel bars shall be produced by Thermo Mechanically Treatment process (TMT steel bars) and shall be of grade Fe-500 or Fe 500(D) (as 	indicated in drawings) meeting all other requirements of IS-1786(amended up to date).

(ii) TMT steel bars of grade Fe 500D shall only be used in works to be executed in seismic Zone 4 & 5 irrespective of whatever is shown in drawings. However, Earth Quake Resistant (EQR) steel of grade manufactured by SAIL with the following tensile properties shall also be allowed to be used in Seismic Zone 4 & 5:

| Standard | Mandatory as per IS:1786-2008 | SAIL EQR |
| --- | --- | --- |
| Grade | Fe 500D | Fe 500 |
| Yield Strength (MPa min.) | 500 | 500 |
| Yield Strength (MPa max.) | - | 625 |
| Ultimate Tensile Strength(Min.) | 565 (1.1) | 1.18 |
| Elongation (% Min.) | 16 | 18 |
| Uniform Elongation (% Min.) | 15 | 8 |

(iii) The minimum elongation for steel of grade Fe-500D shall be 16 % as per IS: 1786-2008. For seismic zone II & III, the minimum elongation shall be 12 %. However, in seismic zone II & III steel of grade Fe 500 manufactured by SAIL with minimum elongation 18 % shall also be allowed to be used.

(iv) MS round bars (6 mm Dia) shall be of mild steel grade-I quality conforming to IS:432 (Pt-I)-1982. Chemical composition shall be in accordance with steel designation Fe 410-S of IS: 226-1975.

(b)  STRUCTURAL STEEL:

(i) Definition of structural steel as given in clause  10.4  of  MES Schedule Part-I 	shall  be  applicable. Standard quality steel of grade E-250 (Fe 410W quality ‘A’) 	conforming to IS: 2062 for all types of steel structures including that subject to 	dynamic loading shall be used.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 114

PARTICULAR SPECIFICATION (CONTD….)

(ii) Ordinary quality structural steel wherever mentioned shall be of grade E-165 	(Fe 290) conforming to IS: 2062 shall be used for steel doors, steel windows, 	grills, steel gates, railing, fencing posts etc.

(c) GALVANISED STEEL SHEETS (PLAIN AND CORRUGATED): Unless otherwise mentioned galvanized steel sheet (plain or corrugated) shall be conforming to IS: 277 with minimum average mass of zinc coating (total both sides) as 450gms /square metre.

(d) FABRIC REINFORCEMENT FOR CONCRETE: Hard drawn steel wire fabric for concrete reinforcement shall be conforming to IS: 1566. Steel wire fabric for general use such as window grills, fencing work, etc. shall conform to IS: 4948 Specification for Welded Steel Wire Fabric for General Use.

6.1.2    In the drawings showing reinforcement details, the symbols # and O stands for deformed /twisted steel bars and mild plain round bars respectively. All reinforcement work including that of overlaps shall be provided as per standard Engineering practice and as directed by GE unless otherwise indicated in relevant drawings. No hook shall be provided in respect of the deformed steel bars.

6.1.3 Where there is a discrepancy between number of reinforcement bars as marked on the drawings and number of bars as worked out from the center to center spacing shown on drawings, the later shall prevail.

6.1.4 In the event of deviation, the length of each bar for calculating laps shall be taken as 10 metres. All laps and crossing of reinforcement shall be tied with mild steel annealed wire (soft drawn) of size not less than 0.9mm diameter.

Reinforcement shall be cut and bent to shape and shall be provided all as shown on drawings.

6.1.5.   PROCUREMENT

6.1.5.1 REINFORCEMENT STEEL: TMT bars of all sizes shall be procured from manufacturers as mentioned in Appendix ‘B’.

6.1.5.2 STRUCTURAL STEEL: Structural steel of all sizes shall be procured from manufacturers as mentioned in Appendix ‘B’.

7.	Testing

7.1 Testing of Steel

The manufacturer is to carryout inspections and testing of steel in accordance with the relevant BIS codes for testing. The contractor shall submit the manufacturer’s Test Certificate in original alongwith the Test sheet giving the result of each mechanical test as applicable and the chemical composition of the steel or authenticated copy thereof duly signed by the manufacturer with each consignment.  The Engineer-in-Charge shall record these details in the Steel Acceptance Register, after due verification and send a certified true copy of test sheet to GE for his record.  The GE/CWE shall also organise independent testing of random samples of steel drawn from various lots from a National Test House,  SEMT, CME, Regional Research Labs,  Government approved labs , Zonal labs etc  as per the following frequency. Samples from each lot should be tested for quality elongation.  The elongation shall not be less than 18%. In order to undertake testing, the requisite facilities and cost of materials consumed in tests shall be borne by the contractor.  However, testing charges shall be borne in accordance with condition 10A of IAFW-2249, i.e. testing charges shall be borne by the Deptt if the test results are found in order, otherwise these shall be borne by the contractor.  The contractor at his cost shall arrange facilities for such tests. Tests are mandatory and hence all these tests shall invariably be carried out before incorporating the TMT bars in the work.  No TMT bars shall be incorporated in the work without the above tests under any circumstance. Contractors to note that recovery in lieu of above tests shall not be acceptable.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 115

PARTICULAR SPECIFICATION (CONTD….)

FREQUENCY OF TESTING

| STRUCTURAL STEEL NOMINAL SIZE STEEL FOR CONCRETE REINFORCEMENT | QUANTITY |
| --- | --- |
| 1 Bars size less than 10mm | 1 sample (3 specimen) for each test of every 25 tonnes or part thereof. |
| 2. Bar size 10mm to 16mm inclusive | 1 sample (3 specimen) for each test for every 35 tonnes or part thereof |
| 3. Bar size over 16mm | 1 sample (3 specimen) for each test for every 45 tonnes or part thereof |

| 4. Tensile Test | 1 test for every 25 tonnes of steel or part thereof. |
| --- | --- |
| 5. Bend Test | 1 test for every 10 tonnes or part thereof. |

NOTES:-

(i)	For various tests, acceptance criteria, tolerance etc, refer to details given here-in-before and relevant BIS Codes.

(ii)	Testing by the GE as per above frequency is mandatory before payment is released to the    contractor or steel is incorporated in the work. However, tests will not be insisted upon for the steel required for guard bars, holdfasts, grills and such other allied items.  Any item of steel, not meeting the requirements, shall be rejected and the particular consignment removed from the site by the contractor at his own cost.  The contractor will have no claim on this account.

(iii)	The GE may also increase frequency and number of samples /tests for his satisfaction.  The cost of these additional tests shall be governed as per condition 10 (A) of IAFW-2249.  However cost of samples, transportation and other overheads shall be borne by the contractor irrespective of test results.  .

7.2   Cost of testing, transportation and materials used in testing etc shall be borne by the contractor and no extra claim whatsoever will be admissible. Number of tests will be as mentioned in Para 9.1.8.1 here-in-before.

7.3. DOCUMENTATION

Steel Acceptance Register and measurement Book for steel (for record purposes and not to be abstracted) shall be maintained by the Engineer-in-Charge.  The contractor shall submit original paid vouchers from the manufacturer for the total quantity of steel supplied under each consignment to be incorporated in the work.  All consignments received   at the work site shall be inspected by the GE alongwith the relevant documents before acceptance. The original vouchers and the Test Certificates shall be defaced by the Engineer-in-Charge and kept on record in the office of GE duly authenticated and with cross reference to the control Number recorded in the Steel Acceptance Register. The steel acceptance Register will be signed by JE(civil), Engineer-in-Charge, GE  and  contractor. The Accepting Officer may order a Board of Officers for random check of steel and verification of connected documents. The entire quantity of all steel items shall also be suitably recorded in the measurement book for record purposes as "not to be abstracted” before incorporation in the work and shall be signed by the Engineer-in-Charge and the contractor.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 116

PARTICULAR SPECIFICATION (CONTD….)

7.4    STEEL IN COIL, ETC.

7.4.1 Any bar of any diameter for reinforcement may be procured in round bundles or coils and the cost of straightening the same shall be borne by the contractor.  When bars are procured in bundles, the length of each bundle shall be worked out on the basis of unit weight predetermined by the GE by getting suitable length (not less than 3 metres) out of each consignment(s) received, getting it straightened, length measured and weighed in presence of contractor’s accredited representative.  The said length(s) and the weight(s) shall be calculated.  The length of bars worked out on the basis of unit weight determined as above shall form the basis for the purpose of calculating quantity of steel used/to be used in work and making payment of materials lying at site. However if the unit weight works out  more than the unit weight given in SSR, then unit weight given in SSR shall be followed for computing weight of steel for the purpose of making payment of steel lying at site.

7.4.2   Size, type & grade of steel reinforcement shall be all as mentioned here-in-before.  However, if grade & type of structural steel are not shown on drawing(s), the same shall be of grade Fe 410-S for structural purpose. Various types of steel shall be as given here under: -

(i)  Reinforcement Steel

(a)   Grade of TMT bars shall be as specified in  PS  Clause No. 9.1.1 (a) here-in before with yield stress  (0.2% proof stress)  of 500 N/sq. mm and shall confirm to all requirements of IS-1786 (Latest).

(b)  MS round bars (6 mm dia) shall be of mild steel grade-I quality conforming to IS:432 (Pt-I)-1982. Chemical composition shall be in accordance with steel designation Fe 410-S of IS: 226-1975.

(c)   Fabric reinforcement for concrete shall be conforming to IS: 1566.

8    STORAGE

8.1 Steel of different sizes shall be stacked separately.  For each classification of steel, separate areas shall be earmarked.  Steel shall be marked with distinct painting marks for easy identification.

8.1.2  All  steel shall be so stored  that it is  always  at  least  15 cm  above the ground level and in a manner so  as  to  prevent distortion and corrosion. Any section that has deteriorated and corroded or if considered defective by Engineer-in-Charge shall not be used in the work and shall be removed by the contractor without any extra cost. It will be the responsibility of the contractor to make sure that all possible arrangements are made for the safe custody of the steel. In case of any loss of steel, contractor only will be responsible and the loss will be made good without any delay or claim whatsoever.

8.2    SCHEDULING & SUPPLY

8.2.1	Schedule of supply of steel shall be finalised by contractor with GE and shall be incorporated in CPM chart so that supply of steel is monitored in a way to avoid any delay in completion of the work.

The complete requirement of steel of various sizes will be worked out before making any RAR payment and procurement of steel by the contractor will be completed sufficiently in advance of the date of completion.  No extension of time will be considered for non -availability of any section of steel.

8.3.       WELDING

8.3.1	Refer clause 10.15 of SSR Part-I 2009.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19					Serial Page No 117

PARTICULAR SPECIFICATION (CONTD….)

8.3.2.   Welding of iron and steel work shall be done in approved manner with electric welding/gas welding.

8.3.3.   Electric welding shall be metal arc welding using consumable electrodes.  All fillet welds shown on drawings shall be normal fillet welds.  Welding shall be done as specified in IS-816 and IS-823.

8.3.4	Welding electrodes shall be of quality suitable for welding of structural steel and shall comply with the requirements of IS-814 for covered electrodes for metal arc welding of mild steel.

8.3.5.	Contractor’s particular attention is invited to IS-818 code of practice for safety and health requirements in welding and cutting operations and provisions mentioned vide clause No 10.15.19 of SSR Part-I (2009).

    - All weld shall be cleaned of slag and other deposits after completion.

8.3.7 Unless otherwise specified/shown on drawings, all welds shall be 5mm fillet welds.

8.3.8 All steel/MS work in railing etc, shall have joints welded all-round.  Spot welding shall not be permitted.

8.4  	REINFORCEMENT

8.4.1   Reinforcement shall be bent to shape and provided as indicated on the drgs.

8.4.2	All laps and crossings shall be tied with mild steel wire (annealed) of size not less than 0.9mm dia.

8.4.3 Stirrups fabricated out of tor steel bars shall also be provided with 90-degree bend.

9	BRICK WORK

9.1	Bricks to be used shall be best quality locally available known as first class (Sub class ‘B’ bricks).  The size of bricks shall be within limits  of 8 ¾” x 4 3/16” x 2 5/8”  to 9 inches x 4 ½ inches x 3 inches (Normal size bricks).  Specifications given in clause 5.6.3 of MES schedule Part-I are not applicable to this contract in respect of dimensions/size of bricks.

9.2	Bricks shall be kiln burnt having minimum compressive strength of 75Kg/Sqcm  and shall comply with the requirements of sub class ‘B’ designated as 75-B as specified in IS-1077.

9.3	Sand of mortar in all the brick work shall be 50% coarse sand (Badarpur/Ghaggar Sand) and 50% Jamuna (fine sand) Mix of cement and sand mortar for brick work shall be as given in the respective items of Schedule ‘A’.

9.4	For workmanship, refer clause 5.18.2, 5.18.6, 5.18.7, 5.19 to 5.32 of MES Schedule Part-I.

10	PLASTERING/POINTING

10.1	Sand for plastering shall be 50% Badarpur sand and 50% Jamuna sand conforming to sample kept in GE’s office.

10.2	The thickness of plaster mentioned in Sch ‘A’ is finished thickness exclusive of dubbing out plastering and dubbing out shall be done in one operation.  Mix of plaster shall be as specified in respective item of  Sch ‘A’.  Plastering on brick/concrete surfaces including curing shall be carried out as specified in relevant section of SSR Part-I.

Contd/---

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 118

PARTICULAR SPECIFICATION (CONTD….)

11	FORM WORK

11.1	Form work shall comply with the requirement as specified in para 10 on pages 33 and 34 of IS-456.

11.2  Form work shall  be of timer of adequate strength. However, the form work to be used for surfaces specified in these specifications to be plastered shall  be such that after application of the specified thickness, fair finished surfaces is achieved as specified therein.  The contractor  may at his discretion use timber or steel or plywood form work for which no price adjustment will be admissible and in such cases he will have to properly roughen the concrete surface for receiving plaster finish.  Wall thickness shall not be made use of as form work wall shall be built after the columns are cast.  In this connection also refer to para 14.14.3 of SSR 2009 (Part I).

12   NON SKID TILES IN FLOORING AND GLAZED CERAMIC TILES IN DADO/SKIRTING

12.1	Tiles shall be of first quality and of colour and size as indicated in respective  item of Sch ‘A’.  Non Skid/ Ceramic glazed tiles shall be free from cracks, twist, uneven edge, crazing and such other defects. Non Skid/ Glazed tiles shall be procured from any one of the  firms/manufacturers specified in Appendix ‘B’. The tiles shall be grooved and /or recessed to provide an adequate key for the screed.  Tiles shall be laid, jointed and finished all as specified in clause 13.40.1 and 13.40.2 of MES Sch-2009 
(Part –I). Tiles shall be set and jointed in neat cement slurry and pointed in white cement. Glazed tiles shall be laid true and in plumb over screed of cement and Badarpur sand mortar of ratio and thickness as mentioned in respective item of Sch ‘A’. The tiles shall be firmly set in the mortar bedding/screed.  The joints shall be tight, regular and uniform.  After fixing the tiles shall be thoroughly washed and cleaned to the entire satisfaction of GE. Raking or circular cuttings and wastes including boring through glazed tiles lining for pipes etc and making good shall be deemed to be included in the contractor’s quoted rates in respective item of Sch ‘A’.

13	VITRIFIED TILES

(a)	Ground Floors.	The vitrified tiles shall be 10mm thick and of size as 	given in schedule ‘laid over 15 mm thick screed 	bed in cement mortar (1:6) 	using 3 Kg/m3 cement slurry.

(b)	First floor and above	The vitrified tiles shall be 10mm thick and of size 	as given in the schedule ‘A’ and shade/design as approved by GE, laid over 15mm 	thick 	screed bged in CM (1:6) using 3kg/Sqm cement slurry.

(c)	The tiles shall be obtained from any of the makes as given in Appendix ‘B’ 	here-in-after.

(d)	Tiles shall be set and jointed in neat cement slurry and pointed in white 	cement with pigment to match with colour of tiles

14.2   SKIRTING/DADO

14.2.1	General

Skirting/dado shall be provided as per location and height and as per specifications given in Sch ‘A’ or SSR-2009 (Part -I) as directed at site.

15.	BLANK

16.	GRANITE STONE SLAB

Granite stone where indicated shall be  machine cut, mirror polished  uniform in colour, hard sound, dense and homogeneous in texture, free from cracks, decay weathering and flaws. The granite stone slab to be used for the counter up to 1.20 m long shall be in one piece for the full width of the platform/shelf/counter and 18 to 20 mm thick. Over 1.20 m long counter the slab shall be in two pieces with length of one piece at least not less than 1.0 metre. The slab shall be laid over 10 mm thick screed bed in cement mortar 1:3 using 3Kg/Sqm of cement slurry. Pointing shall be done in white cement using pigment of matching colour of granite stone slab.

Contd…/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 119

PARTICULAR SPECIFICATION (CONTD….)

17.	WOOD WORK (CARPENTER WORK)

Wood Work (Carpenter Work) shall be done as per specification catered in section – 08 of MES SSR Part-I 2009.

17.1.   The timber to be used in various situations (except flush shutters veneered particle board/block board and timber for form work) unless otherwise specified elsewhere in particular specification Sch ‘A’ shall be as under:-

(a)	First class hard wood (Teak)				- As approved by GE.

(b)	Second Class hard wood (HOLLOCK/CHAMP/SAL) 	- As approved by GE

17.2	Maximum permissible moisture content in timber used for various purposes is 14% for compliance of this requirement the contractor shall get the timber (except that required for temporary use as in form work etc).

17. 3	No price adjustment will be made either to the unit rate for the items in schedule ‘A’ section-I or while pricing any deviations on account of kiln seasoning as specified hereinbefore as the provision is deemed to be included in the rates.

17.4	SURFACE FINISH exposed faces of carpenter’s work may be wrought except surfaces buried or in contract with concrete/brick work etc which shall be left clean sawn.

17.5	TOLRANCE:  Tolerance up to +1.5mm for each wrought face for carpenter’s work shall be allowed except for fillets beads and wooden shutters which should be of specified thickness/sizes.  The tolerance for flush shutters shall be within the limits specified in IS-2202 (Part I).

17.6	PRELAMINATED PARTICLE BOARD:

Pre laminated particle board shall be melamine finish decorative shade as approved by GE on both, sides of board.  The pre laminated particle board shall be ISI marked with IS-3087 (1985) or IS-12823 (1990) Grade-I type I having bond strength not less than 12 Kg / Sq cm.

17.7	PANELLED, GLAZED AND GAUZED STUTTERS/PANELLED SHUTTERS

PANELLED, GLAZED AND GAUZED STUTTERS/PANELLED SHUTTERS shall be as per SSR Part-I Clause 8.21 & 8.21.5

17.8	FLUSH DOOR SHUTTERS

Flush door shutters shall be as per SSR Part-I Clause 8.25.

17.9	PVC DOOR FRAME: Frame for PVC door shall be made out of extruded 5mm Rigid PVC prelam foam sheet metre cut at two corners and joined with 2 Nos of 150mm long brackets of 15x15mm MS Square tube. The two vertical door profiles are to be reinforced with 19x19mm MS Square tube of 19 gauge. EPDM rubber gasket weather seal to be provided throughout the frame. The door frame shall be fixed to wall using 75mm long MS screws through the frame by using PVC fasteners. A minimum of 4 Nos of screws to be provided for each vertical member and minimum 2 Nos for horizontal member. PVC sheet and edges will be painted to match the prelam sheet

Contd…/-

A NO  :  CWE/GGN/F-34/2018-19						Serial Page No 120

PARTICULAR SPECIFICATION (CONTD….)

17.10  PVC DOOR SHUTTER : Factory made pre-laminated PVC door shutter (conforming to IS-4020) 30mm thick, consisting of frame made out of MS tubes of 19 gauge thickness and size of stiles, top rail, bottom rail. and lock rail all as per shown on drawings MS frame shall have a coat of steel primers of approved make and manufacture. MS frame covered with 5mm thick heat moulded pre-laminated PVC ‘C’ channel of size 30mm thickness, 70mm width out of which 50mm shall be flat and 20mm shall be tapered in 45 angle on either side forming stiles and 5mm thick, 95mm wide pre-laminated PVC sheet out of which 75mm shall be flat and 20mm shall be tapered in 45 on the inner side to form top and bottom rail and 155mm pre-laminated PVC sheet out of which 75mm shall be flat and 20mm shall be tapered on both sides to form lock rail. Top, bottom and lock rail shall be provided either side of panel. 10mm (5mmx2) thick 20mm wide cross PVC sheet shall be provided as gap insert for top rail and bottom rail. Panelling of 5mm thick prelam PVC sheet to be fitted with the MS frame welded/sealed to the stiles and rails with 5mm + 2mm thick x15mm wide PVC sheet beading on inner side and joined together with solvent cement adhesive etc.

An   additional 5mm thick PVC strip of 20mm width is to be stuck on the interior side of ‘C’ channel using PVC solvent adhesive complete all as per direction of Engineer-in-Charge, manufacturers specification and drawings. PVC doors shall be of make given in appendix ‘D’ to these particular specifications as approved by GE.

17.11 .   ALUMINIUM DOORS, WINDOWS, VENTILATORS AND PARTITIONS

(i) Provide aluminium doors, windows, ventilators and partitions to the size, design and patherns as shown on drawings.

(ii) Various aluminium sections to be used shall confirm to IS-737 as per designation 63400. Size & thickness of all standard aluminium sections shall be as per details covered in drawings. However minium thickness and aluminium anodizing shall conform to IS 1868. All fittings shall be provided as per manufacturer’s instructions. Aluminium sections to be used shall be of make JINDAL/HINDALCO/INDALCO. Doors, windows, ventilators and partitions shall be procured from the firm as approved by the GE. Minium thickness of anodising shall be 15 Micron. Glass pane shall be of selected quality, conforming to IS-2835 of make Atul/Saint Gobain/Modiglass and fixing arrangaements shall be all as per details shown on drawings and as per manufacturers instructions. Accordingly, any modifications to sections of aluminium window from the details shown on relevant drawing shall be provided by the contractor without any extra cost. Pre-laminated particle board in aluminium partition shall be 12mm thick all as specified in Particular Specification Clause No. 6.4 here-in-before. Aluminium grill type DG-902 as per drg No. CEAF/STD/144/02 sheet No. 1/1 shall be provided to all aluminium windows, vents and fixed glazing of the rooms as indicated on the drawings. All doors shall have hydraulic door closer and provided with brass mortice locks of suitable size as specified/directed by the GE.

17.12. HYDRAULIC DOOR CLOSER: It shall be of brass heavy duty complying with the requirements of IS:3564-1975 with ISI mark. The hydraulic door closer shall be suitable for both clock wise & anti-clockwise doors, without any change in parts of the closer. These shall be procured from any of the makes specified in Appendix ‘D’ here-in-after.

17.13    FLOOR SPRINGS : These shall comply with the requirements of IS:6315  and shall be double action floor spring hydraulically regulated made up of minimum 1.25mm thick aluminium sheet foundation box, main body with stainless steel cover, governing pivot of brass, other parts made of mild steel heavy duty.

18	BUILDER’S HARDWARE FITTINGS/IRON MONGERY

18.1.    All iron mongery shall be aluminium anodised, matt finish except butt hinges, piano type hinges, hydraulic door closers, parliamentary hinges, helical door springs unless otherwise specifically indicated in Schedule ‘A’.  All fittings shall be ISI marked as per appendix 'A.  Where ISI marked fittings are not  manufactured  these  shall conform to relevant  IS  or  as approved by GE.

Contd…/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 121

PARTICULAR SPECIFICATION (CONTD….)

18.2.  ALL OTHER LOCATIONS

18.3.   All Iron mongery/Hardware fittings to wooden doors shall be mild steel stove enameled/stainless steel  painted with black Japan (except butt hinges and piano   type hinges) or aluminium anodized as indicated in Sch `A’.   These fitting shall be ISI marked where available as per Appendix 'A'.  Where ISI marked are not available, these shall confirm to relevant I.S.

18.4.   Butt hinges shall be pressed steel, bright finish, medium weight.

18.5.    Screws for all fittings shall match with respective fittings both in material and finish.

18.6.    Iron Mongery/Fittings shall be provided as per size as given in Sch ‘A” item

18.7.   Single/double action helical door spring shall be of mild steel black Japan finishes given in Sch ‘A’ items.

18.8.   Hydraulic door closer shall be of brass heavy duty ISI marked.

18.9.   Parliamentary hinges shall be mild steel black Japan finish.

18.9.1.   Wherever tower bolts have been mentioned these shall be barrel bolt and shall be anodised aluminium.

18.9.2.   All aluminium handles shall be all as descried Schedule ‘A’.

18.9.3	MORTICE LOCK

Mortice Lock shall be of approved quality and of description as specified in BOQ

19   	WIRE CLOTH

19.1	 Wire cloth shall be of  stainless steel conforming to relevant IS having 0.56 nominal dia of wire and 1.18  mm  average width of aperture.   This sheet will be single sheet without  joint  and   fixed  with cadmium plated steel screws at 20cms center  to center.

20   	SANITARY APPLIANCES

20.1	INDIAN TYPE WATER CLOSET (SQUATT PATTERN ORISSA PAN)

20.1.1	Water closet white vitreous chinaware squatting pan (Orissa Pattern) of size 580 x 440mm with integral foot rests with P or S trap of approval make. The water closet shall be set in lime concrete consisting of one part (by volume) of lime surkhi mortar (1 sand : 1 surkhi) mixed with 2.50 parts (by volume) of broken brick aggregate of 40mm size at least 15 cm all round and finished just below rim or pan to specified thickness of floor finished just below rim or pan to receive specified thickness of floor finish.

20.2	PVC FLUSHING CISTERN

20.2.1		PVC cistern shall be of capacity and type as mentioned under respective item of Schedule ‘A’.  It shall be provided with complete internal and external accessories including polythene ball valve, PVC flush pipe 32mm dia with bend, PVC lid and a pair of rolled mild steel cantilever bracket of suitable size duly painted.  All parts of PVC cistern shall operate smoothly and efficiently.  Cistern shall operate on valve-less siphon principle.  Brackets shall be firmly embedded in the wall in cement and sand mortar 1:4 for holding cistern.  The flush pipe shall be securely connected to the cistern by means of coupling nut of PVC as per Manufacturer’s instructions and as directed.  The outlet of flush pipe from the cistern shall be connected to the pan by means of putty joint of best quality all as directed by Engineer-in-Charge.

Contd…/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 122

PARTICULAR SPECIFICATION (CONTD….)

20.3	PVC WATER STORAGE TANKS :

20.3.1	    Water Tank shall be hoisted & fixed in position at the locations as per direction of Engineer-in-Charge.  These shall be procured from any of the make/brand as enumerated in Appendix ‘B’ here-in-after.  Water storage tank shall be two layer HPDE moulded to seam less perfection of rotational moulded (cylindrical vertical tank with closed top).  These shall be provided with fittings such as float valve of cast brass, 15 mm bore dia wash out 30 cm long and over flow GI pipe medium grade of required length.  Tank shall be ISI marked and certified fit for potable water.  One number ball valve high pressure of PTMT with epoxy coated aluminium rod & high density plastic ball screwed suitable to 20mm bore GI pipe shall be provided in each water storage tank.

20.4	Vitreous China Wash Hand Basin

20.4.1	Wash hand basin shall conform to IS-2556 (Part-IV).  It shall be of vitreous china pattern and size as indicated under respective item of Sch ‘A’.  Wash hand basin shall be from Hindustan Sanitary ware catalogue No 10.009 (without pedestal) or Parryware catalogue  No WID 20602 or Neycer Catalogue No WB-09555 or Cera brand cat Part No 1001.  It shall be provided with 32mm dia CP brass waste fittings, a pair of painted rolled steel centiliver brackets of suitable size.  The brackets shall be embedded in walls in PCC 1:2:4 type B-1 block of size 10cm x23cm. WHB shall be connected to 32mm dia waste pipe upto floor trap as directed.

20.5	EUROPEAN WATER CLOSET

20.5.1	EWC shall be provided as specified. It shall be of china ware pedestal pattern with plastic hinged seat and lid rebated type including necessary fittings with ‘P’ or ‘S’ trap as directed. Water closet shall be fixed to floor with brass screws of appropriate size. Jointing pipes to WC, flushing rim shall be done with red lead cement. One piece of PVC sleeves shall be inserted to full length of P or S trap outlet upto external wall face and joint shall be water proof sealed.

20.6	Ball Valve

20.6.1	The ball valve shall be of brass high pressure type and shall conform to IS-1703.  The ball shall be of high quality polythene to withstand the required pressure with necessary fittings and shall conform to relevant IS.

20.7	Looking Mirror : Refer clause 18.38 and 18.91 of MES Schedule Part-I (2009) for materials and workmanship respectively and also as specified under respective item of Sch ‘A’.  Mirror shall be of selected quality and of make ATUL/SWASTIK /HINDUSTAN SAFETY GLASS/MODI GUARD as approved by GE

20.8	GATE VALVE

20.8.1	 Gate valve shall comply with IS and shall be provided of the size as indicated in Sch ‘A’

20.9	BIB TAPS/STOP COCK

20.9.1	Bib tap/stop cock shall be fixed in the pipe line in a workman like manner.  The joints between bib tap/Stop Cock and pipe shall be leak proof as specified in clause

18.62 of SSR Part I and as directed by Engineer in Charge.

20.9.2	Bib tap/stop cock, shall be screw down type and shall conform to IS 781 chromium plated cast copper alloy.  The bib cock shall be  of Make GEM, PARKO, SOMA ISI Marked.

20.10	Towel Rail	Towel rail shall be length and dia as specified in Sch ‘A’ mild steel chromium plated with thickness 1.00mm with standard brackets fixed to walls with steel chromium plated screws on wooden gutties/plugs.

20.11	WC SEAT COVER

20.11.1 WC plastic seat cover shall be as specified in para 18.36 of MES Schedule Part – I.  This shall be ISI marked.  Under size of the seat shall be flat.  The hinging device shall be of brass chromium plated with rubber buffers.

Contd…/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 123

PARTICULAR SPECIFICATION (CONTD….)

21	 STAINLESS STEEL SINK WITHOUT DRAINING BOARD

21.1 	The sink shall conform to IS 13983-1994. It shall be manufactured from Austenitic stainless steel of grade designation X04Cr19Ni9 (Numerical symbol 304) or X07Cr18Ni9 (Numerical symbol 302) conforming to IS 5522-1992. Nominal thickness of stainless steel sheet used in the construction of sink shall be not less than 1.0mm. The sink shall be one of the following type :-

(i) Type A-1 or A-2 : Single Bowl without drainer.

(ii) Type B-1 or B-2 : Double Bowl without drainer.

(iii) Type C : Single Bowl single drainer right or left hand.

(iv) Type D : Single Bowl double drainer.

(v) Type E-1, E-2 or E3 : Double Bowl single drainer. Right or left hand.

(vi) Type F : Double Bowl double drainer.

Note : Hand of sink refers to position of drainers when viewed from the front.

21.2 	The minimum internal dimensions, when measured on the bowl center lines across the top of the bowl, shall be 380mm x340mm for rectangular bowls and 360mm for round bowl. The depth of the sink bowl shall be 150mm minimum, when measured from the top edge of the bowel to the base of the sink. Depth of the smaller bowl for type E2 and E3 may be reduced upto 100mm.

21.3 	The distance between the edge of the sink bowl and the end of the sink shall be 15 mm minimum for sit-on type sink and 30mm minimum for inset type sink. Depth of the collar provided for inset sinks shall be 10 + 2 mm.

21.4 	For sinks designed for use with a 600 mm wide worktop, the distance between the edge of the sink bowl and the front of the sink shall be 50mm minimum and in the case of sink designed for use with 500 mm wide worktop, the distance shall be 45 mm minimum.

21.5 	Both single and double bowl sink shall be set minimum of 10 mm from gridline.

21.6 	CONSTRUCTION AND WORKMANSIP

21.6.1  Sink shall be constructed of the lowest practical numbers of section compatible with the manufacturing practice to ensure a smooth surface. The surface shall be free from any sharp edges. Sink bowl shall have rounded corners to facilitate cleaning. All welded surfaces shall be adequately cleaned off inside and outside the sink.

21.6.2   The edges of any holes in the sink shall not show evidence of undulation, chips, creaks or any other defect which would impair its appearance or performance.

21.6.3 When examined by an unaided eye of an experienced observer, from a distance of 600 + 100 mm from exposed surface, the sink shall be free from visible defects.

21.6.4 The visual examination shall be carried out with uniform illumination at the surface of the sink of 300 lux and with the sink positioned so that it is between the light source and the observer.

21.6.5 Waste Outlet Sink Bowl shall be designed/constructed with a fall to the waste outlet. The waste outlet fitting shall be recessed type.

21.7 TAP HOLES

21.7.1 Sink shall be provided, in one of the following:-

(a) Without tap holes;

(b) With two tap holes of 30 + 2 mm diameter with a distance of 180 + 2 mm 	between center, or 300 + 2 mm between center for round bowled sinks only, for 	nominal size ½ outlet pillar or high level combination taps.

(c) With single tap holes of 35 + 2 mm diameter for high outlet mixer tap.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 124

##### PARTICULAR SPECIFICATION (CONTD….)

21.7.2   The center of tap holes shall be more than 60 mm from the nearest back edge of the bowl and not less than 50mm to the front face of the upstand.

21.8   OVERFLOWS

Sinks shall be provided in either of the following conditions:

- without an overflow hole;

(b) With an overflow hole having a horizontal dimension not greater than 64 mm, and    	a vertical height not less than 15 mm giving an area of not less than 640 sqmm and 	located completely below the spillover level of the sink.

21.9 FINISH

Sinks may be supplied with a bright or dull finish as per IS as indicated.

21.9.1 Sink with draining board shall be ready made one unit. The chain rubber plug arrangement shall be chromium plated brass. Waste fittings screwed with fly nut and washers suitable for 50mm bore pipe shall be of brass chromium plated. The waste pipe from sink to trap, 50mm board GI pipe light grade shall be provided. The CI brackets for supporting sink shall be conforming to IS 775

21.10 FIXING

The sink and draining board shall be supported on CI cantilever brackets embedded in cement concrete 1 : 2 :4 block of size 100 mm x 75mm x 150mm. Brackets shall be fixed in position before the dado work is done. The CP brass or PVC union shall be connected to 40 mm nominal bore GI or PVC waste pipe which shall be suitably bent towards the wall and shall be discharged into a floor trap. The height of front edge of sink from the floor level shall be 80 cm. The bracket shall be painted with two coats of paint over a primer coat.

22	PVC PIPE: -	PVC Pipes shall be conforming to IS 4985-2000 and as specified at Srl clause No 17.1 and fittings shall be conforming to relevant IS and as specified in Srl clause No 18.8.1 of MES Schedule Part I. Laying and jointing of pipe shall be as specified in Srl clause 18.52 and testing as per Srl clause No 18.54 of MES Schedule Part I.

23.1   PIPES AND FITTINGS (PLUMBING WORK)

23.1.1  General  location of soil waste vent and anti-syphonage  pipes  are indicated in the drawings.  Detailed layout shall be marked on the walls in colour chalk and approved by the GE, before execution of work.

(a)	All soil, waste, vents pipe and anti-syphonage pipe shall be centrifugally cast (IS-3989) with or without ears.  However, 50 dia cast iron pipe shall be of sand cast iron. (IS – 1729 ).Pipe shall be with  spigot & socket ends.

(b)	 Pipes shall bear ISI certification mark.  Fittings & accessories shall also conform to relevant IS.  Joints shall be done with lead caulked joints (except joints in vent pipe  which should be jointed with cement joints).  The pipes and fittings shall either without ears or with ears.  All other specifications regarding materials and workmanship shall be as per Clause 18.23 of MES Sch 2009 (Part I).  All the pipes shall be at least 25mm away from external face of wall.

23.1.2   The vent pipes 50mm dia of cast iron shall be taken from soil pipes and waste pipes to a height of 120 cm (height measured from top roof slab to the bottom of the cowl). CI cowl shall be provided on vent pipes and shall be fixed with cement joints.

23.1.3   Soil pipes shall be taken 15cm below ground level and embedded with duck’s foot bend.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 125

##### PARTICULAR SPECIFICATION (CONTD….)

23.1.4   Soil/drain pipes from duck’s foot bend shall be of cast iron upto first manhole and waste pipe from gully traps shall be salt glazed stoneware pipes grade 'A', 100mm dia. conforming to relevant IS and upto first manhole.

23.1.5  The  waste pipe shall be taken upto 15cm below plinth  protection  level and provided with duck’s foot bend  in  gully  trap.

23.1.6   All   exposed cast iron bends branches and other junctions shall be provided with oval pattern access doors with bolts as per relevant IS and 3mm thick rubber insert packing to make it air and water tight.

23.1.7.  Irrespective of what is shown on drawings, sizes of cast iron pipes shall be as follows: -

(a)   Soil pipes               			   -  100 mm dia (Bore)

(b)  Waste pipes              		   -    	75 mm dia (Bore).

(c)   Anti-syphonage pipe  and vent pipes. -    50 mm dia (Bore).

24	FLOOR TRAPS :	CI Floor traps shall be fixed as per clause No 18.26 on page No 358 of MES Schedule of Part I.

24.1   GULLY TRAP

Gully trap shall be of salt glazed stone ware with rebated top and 100mm dia (bore) outlet and cast iron or mild steel grating of size 15cm x 15cm.  It shall be set in cement concrete (1:3:6), type C1 foundation of size 53cm x 53cm with overall depth equal to depth of gully trap 10cm (below gully trap) and curb of PCC foundation block around CI or MS grating of size 52.5mm x 52.5mm.  Gully trap shall be provided in the situations where shown on the drawings.

24.2.   Weight of jointing materials for cast iron pipes shall be as under: -

| Srl No | Dia (bore of pipe/fittings) | Spun Yarn/jute per joint | Pig lead per joint |
| --- | --- | --- | --- |
| (i) (ii) | 100mm 75mm | 0.04 Kg 0.03 Kg | 1.30 Kg 1.00 Kg |

In case quantity of lead and spun yarn/jute mentioned above is insufficient or it cannot be accommodated in joints, the variation of quantity of lead specified above and actually provided in joint shall be regularised through deviation order.

25.	GI PIPES AND FITTINGS

25.1	GI tubing shall be as per relevant IS and of best quality and shall be procured from authorized dealers of makes as specified here-in-after

25.2	WORKMANSHIP OF STEEL TUBING/PIPE :-

The contractor shall use proper bends/elbow/tees at turnings/corners.  Bending of pipe is not permitted except where the pipe has to follow the contour of brick work or where a fitting can not be inserted.  In such cases the bend shall be gradual and formed with the written permission of the Engineer-in-charge.

Pipes shall not run diagonally.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 126

##### PARTICULAR SPECIFICATION (CONTD….)

Unions shall be provided at appropriate places as directed by the Engr-in-Charge without any extra cost to the department so that in repairs etc long length of pipe are not taken down.

Contractor shall provide screwed plugs to all open ends of pipes on completion of 	works without any extra cost to the department.

The run of pipe shall be straight.  All the pipes shall be fixed or laid as directed.  Pipe fixed on wall 	shall be secured with approved pipe hooks at about 0.75 mtr intervals.  Pipes fixed in chases shall be secured with approved hooks at about 15M intervals.  However in case of pipe embedded in 	floors, the pipe hooks need not be provided.

As far as possible, pipe shall be fixed in shafts (where applicable) in such a way so that they do not give an ugly appearance inside. Pipes shall be fixed 15mm away from the walls where they are not required to be embedded/ concealed. All holdings clamps used for holding pipes shall be of galvanized iron. Proper unions, sockets shall be provided in rising/delivery main to and from service tank before or after the stop valve without any extra cost to the department.

Testing of Service Pipes & Fittings : Refer clause 18.55 of MES Schedule Part I.  Testing shall be done by the contractor, at no extra cost to the Govt, all as directed by Engr-in-Charge.

26	WHITE WASHING

26.1	White washing shall consist of three coats of white (lime wash) unless specified otherwise.  White wash (lime wash) shall be carried out all as specified in para 15.2 & 15.12 of MES Sch 2009 (Part –I). In final coat of white wash Fevicol  DDL shall be mixed as per manufacturer’s instructions.  No ultramarine  blue  shall  be mixed in  any  coat.  However sodium  chloride as specified in Clause  15.12.3  of  MES Schedule
(Part –I) shall be mixed in first and second coat.

27	CEMENT BASED PAINT

27.1	Cement based paint shall comprise of two coats of cement based paint of approved tint and applied as specified in Para 15.7 and Para 15.15 of MES Schedule (Part-I).

27.2	The cement based paint shall be obtained from any of the manufactures as specified in Appendix ‘B’ here-in-after.

28	ACRYLIC EXTERIOR EMULSION PAINT   The external wall of the building where-ever shown of drawings shall be painted with 100% Acrylic Exterior Emulsion Paint of “Weather coat” or “Apex- Ultima “ With two finishing coats over a layer of wall care putty after preparation of  the surface all as per clause 17.17 of MES Schedule (Part-I) & manufacturer’s instructions.

29.	OIL BOUND DISTEMPER(OIL EMULSION DISTEMPER) Oil emulsion distemper shall conform to IS-428.  It shall be of first quality and from the firms/manufacturers as specified for paint here-in-before and as approved by GE.  It shall be of colour and shade as approved by GE.  For workmanship, refer clause 15.14 and its sub clauses of MES Schedule Part-I (2009)

30    WALL CARE PUTTY

30.1 	‘Birla White’ wall care putty is water resistant white cement based putty for concrete/mortar for walls and ceilings. Wall Care putty can be applied even on moist surfaces (internal/external).  Wall Care has more adehesive strength, durability and increases the life of paints.  Wall Care putty though white cement based does not require water curing.  It renders a smooth and durable surface for all kinds of paints.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 127

##### PARTICULAR SPECIFICATION (CONTD….)

31.	PAINTING

32.1    GENERAL

32.2  The work “Paint and/or painting” wherever specified/indicated shown on drg shall be deemed to be first quality synthetic enamel paint.

32.3   The tint of the paint shall be as approved by GE. The contractor shall use fresh and first quality paint. The contractor shall obtain the permission of GE in writing well in advance for the makes/brands of paint that he will use in the work.  He shall also submit samples thereof.

32.4 The contractor shall , if so required by the GE produce certificate from the manufacturers or their representative to establish that the brands of paints used by him are of the approved make and brand.  Paints shall be brought at the site in manufacturer’s drums with seal intact.

32.5	  Paints used in priming coat (Primer) under coat and finishing coat shall be of the same manufacturer.  The paints shall be applied, first using vertical strokes until the surfaces are covered and then brushed cross wise for complete coverage with light strokes so as to smooth out laps and brush marks and finally laid off with vertical strokes. This constitutes single coating of paint.

32.6	  Surfaces of items to be painted shall be passed by the Engineer-in-Charge and marked as such before each coat is applied.  Each coat shall be passed by the Engineer-in-Charge before next coat is applied.

33.      GLAZING

33.1   The glazing shall be done with ordinary or selected quality sheet glass conforming to IS-2835 or tinted glass as mentioned in respective item of Schedule ‘A’.  All sheet glass shall be of good quality free from speaks, bubbles, smoke washed, air holes and other defects.

33.2.	Glass shall be fixed to steel windows/vents / doors/ partitions all as described in Sch ‘A' .

34.	WATER PROOFING TREATMENT :  Water proofing treatment shall be provided with APP modified water proofing membrane, minimum 3 mm thick (weighting not less than 3 Kg/ SM) on prepared surface as per manufacturer instructions and under strict supervision of manufacturers technical representative.  The treatment over roof slab and sunken floor will be carried out as under:-

34.1.	Material

APP polymeric water proofing membrane shall consist of a Center core of 160 GSM Non Woven Polyester mat protected on both sides with a high quality polymeric asphaltic mix. The polymeric asphaltic mix will be protected on both sides with thermo fusible HMHDPE film.  The material shall have the following characteristic/properties:-

34.2.	Technical specifications

Reinforcement (Centre core)		-	160 GSM Non Woven Polyester mat

Heat resistance 100 Degree Celsius for 1 hour	-	Does not drip

Cold resistance at (-) 5 Degree Celsius 		-	Does not break / crack

Tensile strength

Lengthwise						-	700 N/Sq cm

Cross wise						-	450 N/Sq cm

Elongation

Length wise						-	>40%

Cross wise						-	>45%

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 128

##### PARTICULAR SPECIFICATION (CONTD….)

34.3.	Application

(i)	Apply 10 mm thick plaster in CM 1:4 as indicated in Schedule ‘A’, mixed with WPC when concrete is green as per Manufacturer’s Instructions.

(ii)	The surfaces of roof, parapet and gutters, drain mouths etc over which waterproofing treatment is to be applied shall be cleaned of all foreign matter such as, fungus, moss, dust etc by wire brushing and dusting.  For cast iron drain out lets a groove shall be cut around to tuck  in the treatment.  Concrete angle-fillets shall be provided at junctions between roofs and vertical faces of walls (parapet and other walls), around obstacles such as pipes, chimneystacks etc and other similar situation to ease up about corners.

(iii)	Apply Primer conforming to IS: 3384-1965 @ 0.4 Ltr / SM to be applied on 	prepared surface, till the surface is properly impregnated.

(iv)	After the primer has dried the membrane will be laid by torching to the 	surface.

(v)	Topping of polymeric membrane

(vi)	Laying of polymeric water proofing membrane and bonded completely to the substrate & the overlaps are then scaled/fused by flame as per manufacture instructions.

34.4.	Laying procedure are as under:-

(a)	The membrane shall normally be laid in length at right angles to direction of the run-off gradient, commencing at the lowest level and working up to the crest.  The membrane shall be first cut to required lengths, brushed clean of dusting material and laid out flat on the roof.  Each length of membrane prepared for laying shall be laid in position and rolled up for a distance of half of its length.  The hot binding material shall be laid on to the roof across the full width of the rolled membrane as the later is steadily rolled out and pressed.  The excess bonding squeezed out at the ends shall be removed as laying proceeds.

(b)	When the first half of the membrane has been bonded to the roof, the other half shall be rolled up and then unrolled on to the hot binding material in the same way as per para 5.4 (a)  above.

(c)	The minimum overlaps of 100 mm on longitudinal direction and 150mm on traverse direction shall be allowed at the ends and sides of strips polymeric membrane.  All overlaps shall be firmly bonded by heating and fusing the layer of asphalt and melting the protective plastic film, but taking care not to over heat this, as too much heat can harm the central polyethylene core, which is essential for water proofing function.

34.5.	Overlap fusing methodology

(i)	Keep the overlap open with the help of trowel and the direct the flame uniformly inside and towards both membranes.  Working the flame in opposite direction to the advance of the applicator.

(ii)	When the asphalt starts to flow, the applicator should press both membranes with his foot, on the apposite side to the hand holding the torch until a thin string of fluid asphalt appears, indicating correct fusing and bonding.  During this phase the trowel should be worked with a back and forth, lengthwise motion, to homogenize the bonded area.

(iii)	Apply a layer of blown grade bitumen (conforming to IS : 702) 85/25 @ 1.2 Kg/Sqm.

(iv)	Binding material, such as sand in dry condition @ 0.5 to 1.0 Kg Sqm shall be dusted over the bitumen.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 129

##### PARTICULAR SPECIFICATION (CONTD….)

34.6.	Treatment around rain water pipe

The rain water pipe outlets (here-in-after referred as drains) can be horizontal or vertical depending on whether they are situated in the floor or in the parapet walls.  In either case, the treatment is the same, although the difficulty of application may vary.  The correct execution of a drain should include the following steps.

(a)	Cut a strip of polymeric membrane 25 cm in width and length equal to the perimeter of the drain, adding 10 cm for the overlapping.  Flame bonds the part of the strip to be inserted into the drain i.e. approx 15 cm.

(b)	Cut the protruding end of the drain strip vertically upwards, with the aid of a heated trowel, into as may slits as are necessary to then be able to press it downwards and flame bond it to the surrounding roof deck.  Then, with the help of the trowel and torch, go over the exterior of the drain to obtain an even spread of the asphalt and fill in all the pores.

(c)	Cut a square of polymer membrane about 15 cm large than the diameter of the drain.  Flame bonds this square over the drain opening, as centered as possible.

(d)	Then, using the heated trowel cut the part that covers the opening of the drain in to the shape of a star with 8 peaks.  Fold the peaks outwards and heat them one by one with the torch and then  insert them into the drain.  Pressing them down with fingers to ensure perfect adherence.

(e)	The last step is to go over the inside of the drain, leveling of the surface.  The drains shall be at least 15 mm lower than the substrata, so that the extra thickness caused by the various layers of the polymeric membrane do not cause unnecessary ponding of water.

34.7.	Water proofing treatment to parapets

In vertical finished with polymeric membrane shall be cut in suitable length and width and should be adhered to the parapets and taking up and over the top of the parapet wall in case of RCC parapet.  The lower portion of membrane shall be taken over wall/RCC slab joint and taken up to a length 150 mm horizontally and bonded effectively with polymeric membrane as explained above.  The membrane shall be protected with 10 mm thick cement mortar 1:4 plaster and PCC coping at top of the parapet.

34.8.	Testing

Frequency of test – At least one test consist of three sample specimen at random from each lot.  The Polymeric membrane shall be got tested from the test house as mentioned there under:-

(a)	Chemical & Meetallurgical services

T.S No 63, SIDCO Industrial Estate

Ekkaduthangal

Chennai – 600097

Fax No 044 – 2312944

(b)	CENTRAL INSTITUTE OF PLASTIC

ENGINEERING & TECHNOLOGY

(Ministry of Chemical and Fertilizers, Govt of India)

Gundy, Chennai – 600032

Fax No. 044 – 2344673

(c)	National Test House Alipore, Kolkata/Delhi

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 130

##### PARTICULAR SPECIFICATION (CONTD….)

35.	GUARANTEE

35.1	Guarantee of water proofing treatment.  The contractor shall furnish a guarantee of Ten years against leakage of roofs where the water proofing treatment  have been done, in favour of GE and an amount to be calculated as “Individual Security Deposit” for total amount of work done of water proofing treatment as per CA rates shall be kept reserved from the final bill for 10 years.  The contractor may produce FDR for the equal amount for 10 years in lieu of above retention money as per the rules.

35.2	Contractor shall provide a cement plate in CM 1:4 mix of size as directed by Engineer-in-Charge for each building showing CA No, date of completion of work and expiry of guarantee period without any extra cost to the government.  Date of expiry of guarantee period shall commence from the date of physical completion certificate.  Any leakage noticed during the guarantee period shall be made goof by the contractor at his own cost, failing which the same shall be made good at the risk and cost  of the contractor.

36	 GALVALUME SHEET ROOFING

Galvalume sheet shall be 0.50mm thick (total coated thickness), 550 Mpa minimum, yield strength. It shall be coated with hot dip alloy of 55% Aluminium 43.5% Zinc 1.5% Silicon and finished with resin coat on both surfaces @ 150 gm/sqm of coating (total both surfaces) having overall width and laid width as specified and shall be fixed using hot dip galvanized, self drilling and self tapping screws neoprene and EPDM washers. Penetrations and laps in sheet shall be sealed by using proper sealant profile. HDPE fillers shall be provided wherever required to close voids between sheets, sheet & fasteners etc.

36.1 Fixing system shall be as per manufacturers instructions and shall be safe against effects of Wind velocity.

36.2 	Galvalume Sheet Wall Cladding

Galvalume Sheet for wall cladding shall be same as for roof and shall be fixed with 8mm and 30mm deep trapezoidal profile sheeting fixed with self trapping fasteners.

36.3 	Roofing Accessories

Roofing accessories ie. Corner piece apron, eaves/valley gutters, hoopers, ridges, sheet floor connectors etc shall be of galvalume sheet and of size shape as specified.

37.	INTERNAL ELECTRIFICATION

37.1	The general layout for wiring point and fittings are as directed at site.  The exact position of fittings etc may altered by the Engineer-in-Charge to suit local requirement cost of cutting chases/grooves whichever required and making good is included in the contractors quoted rates in

Sch ‘A’.

37.2	Loop system of wiring shall invariably be followed throughout the installation where it is absolutely necessary, junction boxed of approved make may be used as permitted by Engineer-in-charge.  Soldered or taped joints are not permitted for jointing under any circumstances porcelain connector with metal parts of brass shall be used.

37.3	The rates for point wiring shall include all the necessary provision made in Clause 19. of SSR     Part I (2009) applicable to conduit wiring as specified in SSR.

37.4 All electrical, fittings and cable etc shall be ISI marked and of approved make irrespective of whatever is specified hereinafter or elsewhere.  However, the cable/fittings etc which are not manufactured marked with IS marks, GE shall approve fittings of reputed make conforming to relevant IS without any price adjustment.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 131

##### PARTICULAR SPECIFICATION (CONTD….)

38    SYSTEM OF WIRING

38.1	System of wiring in building shall be PVC insulated unsheathed stranded copper  conductor cable wiring in PVC conduit as specified in Schedule ‘A’.  Wiring shall be done in accordance with IS-31.2   For PVC wiring IS-1653 shall be followed.  The cover of boxes for concealed conduit wiring shall be HYLEM sheet 3mm thick/ inner and outer plate suitable for modular switches sockets etc as indicated in Schedule ‘A’.  No extra payment is admissible for the same.   All such terminal boxes will be properly earthed and connected to earth dolly.

38.2    Cable for lighting & power circuit shall run separately as directed

38.3.   Not more than 8 (eight) light circuit points should run on one circuit and not more than two power points in one circuit.

39     MATERIAL

39.1  All materials/fittings /accessories/ cables etc to be incorporated in the work shall strictly comply with latest relevant/appropriate Indian standard or if Indian standards have not been issued with current British standards.  However, link clips of width 6mm to 8mm shall be accepted without any price adjustment.

39.2 	The contractor shall produce a sample of all such articles/fittings that he proposes to use and get approved and  lebelled as such and signed by both the contractor and GE.  These approved samples shall be kept in the custody of the GE, till the payment of final bill.  The samples shall be fitted on a board as approved by the GE.

39.3	The rates for point wiring (power/light) in Sch ‘A’ with the provision of stranded copper conductors instead of solid drawn copper conductor as specified in MES schedule.

39.4	The switch of distribution board shall be of approved quality and of rewire-able type.  They shall conform to IS specification.

39.5	Fittings for  concealed wiring such as socket outlets, flush type switches and the like shall be high grade bakelite and ISI marked.  All other fittings shall be of approved make and as approved by the GE.

40.	SHEET METAL ENCLOSURES FOR MCCBs AND ELCBs/MCBs

40.1	Sheet steel enclosures for mounting ELCEs, MCCBs, MCB shall be fabricated out of sheet steel not less than 16 gauge (1.6mm thick) and finished to quick gray, stove enamel.  Label channels shall proved for labeling outgoing circuits.  Two knock out of suitable shall be provided at top for incoming cable and at bottom corresponding to number of ways.  Bus Bar shall be rated accordingly.  These shall be provided with hinges covers.

40.2	PORCELAIN CONNECTORS  Porcelain connectors shall be provided inside the box for Pan hook.  The wiring shall be done in such a way that wires from connector to the fan are not visible situations where ceiling rose is proposed for fan and tube light fittings the porcelain connector need not be provided.

40.3	MCBs shall have silver tungsten contact rewire-able cable connections suitable for flush and surface mounting and shall be capable of being fixed directly on bus bars.  The breaking mechanism shall embody both therein, over load and magnetic short direct tripping devices having rupturing capacity 10KA.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 132

##### PARTICULAR SPECIFICATION (CONTD….)

40.4	PRESSED STEEL BOXES: The boxes for fixing various fittings such as switches sockets, fan regulators etc shall be pressed steel of required size and flush mounting type (refer clause 6.52.4 of IS 782).  Average thickness of said pressed steel boxes shall not be less than 2.5mm.  The boxes shall be embedded in the walls and not be fixed to wooden plugs with counter sunk MS screws. The contractor may at his discretion provided galavanised  MS boxes of thickness not less than 1.6mm without any price adjustment.  Pressed steel boxes shall be painted with two coat of black bituminous paint where embedded as in contract and with a coat of primer and two  coats of synthetic enamel paint on exposed surfaces .  Cost of terminal boxes and painting etc shall be deemed to be included in the unit rate of point wiring.

40.5	RIGID PVC CONDUIT: All conduit and conduit fittings shall be conforming to IS-3413 clause 19.125 of SSR Part I 2009.

40.6	LIGHT FITTINGS:  Light fittings such as wall fittings ceiling fittings and bulk head fittings and the like shall be high grade and marked with  ISI

40.7	RECESSING OF BOARD

Where so indicated switch boards shall be recessed into the wall.  The front shall be fitted with hinges panel teak wood or other suitable materials, such as bakelite, in teak wood frame locking arrangements, the other surface of the doors being flush with walls.  A sample room shall be provided at the back of connection and at front of between the switch gear mounting and the door.

40.8	PVC CABLES:  PVC Cables shall be all as described in BOQ.

40.9	MODULAR SWITCH/ SOCKET : Modular Switch/ Socket shall be of approved make as mentioned in BOQ

41.	LT XLPE CABLES:- LT XLPE cable shall be heavy duty of 1100 volts grade insulated, screened PVC bedded, galvanised steel strip or wire armoured electric power cable with stranded aluminium conductor all as specified in clause No 19.19.2 to 19.19.2.4 on Srl page Nos 433 of MES Standard Schedule of Rates (2009).

42.	LT Distribution Panel Board/Pillars

Distribution panel board/pillars shall be as per IS:5039-1983, Specification for Distribution panel board/pillars for voltages not exceeding 1100 volts.  These shall be double pole and neutral lin, triple pole or triple pole and neutral link type 4, 6, 8 and 10 ways.

42.1	For single phase and three phase system rated voltages of 240 volts and 415 volts are preferred.  Outgoing or incoming current of distribution panel board/pillars shall be 160, 200, 250, 400 and 630 amperes as indicated.  Unless otherwise specified the sum of the rated current of the incoming circuits shall be fixed at the 2/3 of the sum of the current ratings of outgoing circuits, rounded upto the nearest higher value of the preferred current.

43.	ELECTRICAL TESTING

The following tests as specified in IS-372 code of practice for electric wiring and fittings in building shall be complied with before the complete installation in taken over.  The contractor shall carry out the test in the presence of Engineer-in-Charge  and results recorded in triplicate on form 40A, Electrical wiring test sheet shall be signed by the contractor’s representative and the Engineer-in-Charge. All testing equipments shall be supplied by the contractor.

Insulation resistance shall be measured by a 500 volts megohm.  The insulation resistance in megohm of the installation shall not be less than 50 divided by the number of points on the circuits and the whole installation shall not be required to have been insulation resistance greater than one megohm.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 133

##### PARTICULAR SPECIFICATION (CONTD….)

43.1  TESTING OF EARTH CONTINUTY EARTH: The earth continuity conductor including metal conduit shall be tested for electrode continuity and the electrical resistance of the same along with the earthing lead nut excluding added resistance measured from the connection with the earth electrode to any point in the earth continuity conductor in the completed installation shall not exceed one ohm.  The record sheets be signed by contractor and Engineer-in-Charge.

43.2	LAMINATED SHEET COVER :  Laminated sheet cover shall conform to relevant IS and shall be of 3mm thick.

44.   EARTHING

44.1   Refer Clause 19.137 to 19.145 of MES Sch (Part- I) and Electrical Plate No. 3 of MES Schedule (Part-I).

44.2    The contractor shall execute installation of earth plate in the presence of Engineer-in-Charge.  Charcoal dust and salt and return filling shall be done in layers not exceeding 20cm depth, properly watered and rammed.   Surplus spoil shall be carted away to a distance not exceeding 50 metre and the site left clean and tidy.

45.   	TESTING POLARITY OF SWITCHES

In a two-wire installation, a test shall be made to verify that all switches in every circuit have been fitted in the same conductor throughout and such conductor shall be labeled or marked for connection to the phase conductor.

45.1   INSULATION TEST OF WIRING

On completion of installation, the insulation resistance of wiring shall be measured as specified in clause 19.146.1 of MES Schedule 2009, Part-I.  The insulation resistance & earth should be not less than 25 Mega Ohms divided by the number of outlets for PVC insulated cables.  The records of Tests shall be signed by contractor and Engineer-in-Charge.

45.2   TERMINALS

In surface type wiring and concealed conduit wiring the terminal points for power/light socket outlet switches etc shall terminate in recessed  cast iron/mild steel boxes fitted flush with wall surface.  The cover of boxes for surface/conduit type wiring shall be of plastic laminated sheet 3 mm thick.  Rates for points wiring shall be deemed to include for the above provisions.   All such terminal boxes shall be properly earthed and connected to earth dolly.

46.	TESTING OF MATERIALS AND RECOVERY OF TESTING CHARGES

46.1	For testing of materials & testing charges refer appendix “A” to P.S.

46.2	 A statement showing the Nos. of tests required, Nos. of tests carried-out and recovery due etc. shall be attached with each R.A.R and final-bill

46.3	The list of tests given in the Appendix ‘A’ contain only a few common tests, For other tests required to be carried out for the works involved in subject contract.  All the tests shall be carried out accordingly and the rates quoted shall be deemed to include for these provisions and nothing extra shall be admissible on this account.

47.	SITE CLEARANCE:

47.1	After completion of work, the site shall be cleaned neat and tidy and cleared off the rubbish/unserviceable materials to the satisfaction of Engineer in charge without any extra cost to Govt.

Contd---/-

CA NO  :  CWE/GGN/F-34/2018-19						Serial Page No 134

##### PARTICULAR SPECIFICATION (CONTD….)

48.	PRODUCTION OF VOUCHERS:

48.1	The contractor is advised to submit his original purchase vouchers duly machine numbered and dated in respect of following materials.  The materials shall be purchased from the authorized agents/dealers who are required to show on the case memo bill all the times etc and make and IS number as required.  The purchase vouchers shall be produced to the Engineer in charge for verification of materials/equipments before his permission to incorporate the same in the work communicated to the contractor.  Two certified copies of the same shall be made by the Engineer-in-Charge for reference and record.  The original purchase vouchers shall be released to the contractor after technical check of final bill by CWE as required.

(a)	Cement

(b)	Steel (Structural & Reinft)

(c)	Sanitary fittings (Vitreous china) of all types as mentioned in BOQ

(d)   	Flushing cistern (PVC)

(e)   	GI and CI Pipe with fittings etc

(f)	PVC flush Pipes with fittings etc

(g)	Vitrified and Non Skid/ Glazed tiles

(h)	Cement & Steel(Reinft & Structural)

(j)	SE Paint

(k)	Cement based paint

(l)	Exterior emulsion paint (Weather Proof)

(m)	OBD

(n)	Door shutters with frames of all types as mentioned in BOQ.

(o)	PVC Tank.

(p)	CP Fittings of all types.

(q)	Block Board

(r)	WPC.

(s)	All types of Hardware fittings as mentioned in BOQ (MS/ Aluminium).

(t)	Stainless Steel Sink and Plate Rack.

(u)	APP.

(v)	Acrylic Coloured Sheet 3 mm thick

(w)	PVC Pipes (SWR) with fitting.

(x)	Granite stone

(y)	Galvalume sheet

(aa)	Point wiring

(ab)	Electrical Modular Switches

(ac)	Exhaust fan

(ad)	Fan Regulator

(ae)	LED Light fittings of different size & type

(af)	Submain Wiring

(ag)	MCCB

(ah)	MCB

(aj)	DB’s

(ak)	Normal earthing

(al)	LT XLPE cable

(am)	LT Panel/ Feeder Pillar

Signature of Contractor

SSW

Dated :_______________								for Accepting Officer

CA No:  CWE/GGN/F-34/2018-19						Serial Page No 135

PARTICULAR  SPECIFICATIONS  SECTION-II (APPENDIX 'A')

LIST OF ISI CERTIFIED PRODUCTS TO BE USED IN WORKS

- Concrete: Integral cement water proofing compounds (IS-2645:2003) (Second revision).

- Joinery: Wooden flush door shutters, (solid core type), plywood Face panel (IS-2202(part-I) 1999). (Sixth revision).

- Builder’s Hardware :-

- Steel butt hinges (IS-134: 1992) (Fifth revision).

- Non ferrous metal butt hinges (IS-205: 1992) (Fourth revision).

- Ferrous Tower Bolts (IS-204: 1991-part-I), (Fifth revision).

- Non ferrous tower bolts (IS-204-1992 part-II) (Fifth revision).

- Door handles (IS-208-1996), (Fifth revision).

- Parliament hinges (IS-362-1991),(Fifth revision).

- Hydraulically regulated door closers (IS-3564-1995), (Fourth revision)

- Continuous (Piano) Hinges (IS-3818-1992), (Third revision)

(j)	Non ferrous metal sliding door bolts (IS-2681: 1993) (Third revision).

- Tee and strap hinges (IS-206: 2010), (Fifth revision).

- Mild steel sliding door bolts for use with padlocks (IS-281: 2009) (Fourth revision).

- Steel & Iron Work

Steel doors, windows and ventilators (IS 1038: 1983) (Third Revision)

- Roof covering: Bitumen felts for water proofing and damp proofing (IS-1322: 1993) (Fourth revision).

- Ceiling and lining :-Plywood for general purposes (IS:303: 1989) (Third revision).

Block boards (IS:1659: 2004)(Fourth revision)Veneered particle board (IS:3097: 2006)(Second revision)

Marine plywood (IS:710: 2010)(Second revision)

Fiber hardboard (IS:1658: 2006)(Third revision)

Pre-laminated particle board (IS:12823: 1990)(Third revision with amendment No. 1 to 7)

- Flooring :-

- White Portland cement (IS-8042:1989),(Second revision with amendment No. 1 to 6).

- Cement concrete flooring tiles (IS-1237: 2012) (Second revision)

- Water supply, plumbing, drains and sanitary appliances

- Precast Concrete pipes with or without reinforcement (IS-458: 2003) (Fourth revision with amendment

- Glazed stoneware pipes and fittings (IS-651: 2007), (Sixth revision).

- Flushing cisterns for water closets and urinals (other than plastic cisterns) (IS-774:2004) (Fifth revision).

- Cast copper alloy, screw down, bib taps and stop valves for water services (IS-781-1984), (Third revision).

- Steel tubes, tubular and other wrought steel fittings (IS-1239 Part-I: 2004), (Sixth revision) and Steel tubes, tubular and other steel fittings (IS-1239-Part-II: 2011) (Fifth revision).

- Cast iron/ductile iron drainage pipes & pipe fittings for overground non-pressure pipeline socket & spigot series(IS-1729: 2002), (First revision).

Contd…./-

CA No:  CWE/GGN/F-34/2018-19						Serial Page No 136

PARTICULAR  SPECIFICATIONS  SECTION-II (APPENDIX 'A' Contd…/-)

(g)	Copper alloy (Horizontal plunger type) float valves (IS-1703: 2010) (Fourth revision with amendment  No 1).

(h)	Cast iron manhole covers and frames (IS-1726: 1991) (Third revision).

(j)	Asbestos cement pressure pipes & joints (IS-1592: 2003) (Fourth revision).

- Automatic flushing cisterns for urinals(other than plastic cisterns) (IS-2326: 1987), (Second revision).

- Vitreous china, sanitary appliances

- (i)	Washdown water closets (IS-2556 Part-II: 2004) (Fifth revision with amendment No 1 to 2).

- Squatting pans (IS-2556-Part-III: 2004) (Fifth revision).

- Wash basins (IS-2556(Part-IV): 2004)(Fourth revision with amendment Mo 1 to 2).

- Laboratory sinks (IS-2556(Part-V)-1994), (Third revision).

- Foot rests (IS-2556(Part-X)-1974), (Second revision).

- Plastic WC seats and covers (IS-2548 (Part-I & II)-1996) (Fifth revision with amendment No 1 in Part II).

- Vertically cast iron pressure pipes for water, gas and sewage (IS-1537-1976). (First revision)

- Pillar taps for water supply purposes (IS-1795-1982), (Second revision).

- Centrifugally cast (spun) iron spigot and socket soil, waste and ventilating pipes, fitting and accessories) IS-3989-1984), (Second revision).

- Centrifugally cast (spun) iron pressure pipes for water, gas and sewage (IS-1536: 2001)(Fourth revision with amendment Nos 1 to 4).

- Rubber sealing rings for gas mains, water mains and sewers (IS-5382-1985) (Second revision with amendment Nos 1 to 3).

- Cast iron fittings for pressure pipes for water, gas and sewage (IS-1538: 1993)(Third revision with amendment No 1 to 4

- Plastic pipe work for potable water supply (IS-7634 Part I: -1975) (Second revision).

- Sand cast iron spigot pipes (IS-1729: 2002) (Second revision).

- Ductile iron  pipe fittings (IS-9523)

- Ductile iron pipe (IS- 8328-2000)

- Galvanised iron pipe IS-1239(Part-I 1979 & Part-II 1982)

- Sluice valve (IS- 14846 of 2000).

- GI Fittings( IS- 1879 Part I to X –1987)

- Thin walled GI pipe (IS-11722 of 1986).

- ELECTRICAL WORKS

- Ceiling Roses (second revision) (IS-371-1979).

- Three pin plugs and socket outlets (Third revision) (IS-1293-1988).

- Switch fuses (main and switch) (IS-4064-1978-Part I & II).

- Rigid steel conduit (IS-9537-Part-II-1988) with amendment No.1 superseding (IS-1653-1972).

- Plain rigid conduit of insulating material.  (IS-9537(Part-III)-1983) (With amendment No.1) superseding (IS-1653-1972 & 2509-1973).

Contd…./-

CA No:  CWE/GGN/F-34/2018-19						Serial Page No 137

PARTICULAR  SPECIFICATIONS  SECTION-II (APPENDIX 'A' Contd…/-)

- Polyethylene insulated cables for working voltages upto and including 1100 volts (IS-1596-1977), (Second revision).

- LT XLPE cable (IS-7098/1/88)

- Distribution boards( IS-8828 & IEC 898)

(j)	Pre-stressed concrete poles( IS-2713 Part I to III)

(k)	Steel tubular poles( IS-2713 -Part-I to III – 1980), (Second Revision)

(l)	Lightning Arresters (IS-3070- Part-I-1985).

- RCBO( IS 12640 Pt-II of 1988)

- MCB (IS-8828 of 1996).

- RCCB (IS-12640 (Part-I) 2000).

- House wiring (Copper wire) IS- 694 (Part-II).

- Flame Proof Electric Light Fittings IS-2206 (Part I to IV) with latest revision

Note: - (a)	The items which are not included here in before shall be referred from SSR & website of the BIS.

(b)	The IS codes listed above and to be referred from SSR & website of BIS shall be considered with latest amendments/revision up to the date of receipt of tender.

______________________________                				SSW

(SIGNATURE OF CONTRACTOR)               				FOR ACCEPTING OFFICER

DATE : _______________________

CA NO  :  CWE/GGN/F-34/2018-19																	Serial Page No  138

Appendix ‘A’(Contd.../-)

##### MATERIAL AND THEIR TESTS

RECOVERY RATES OF TESTING CHARGES

| Ser No | Material | Test | Method of testing | Frequency of Tests | Level of test | Rate per test Rs. | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1. | Coarse Aggregate | (i) Sieve analysis | IS-2386 (Part-I) | One test for every 15 CUM of aggregates or part thereof brought to site. | ‘A’ | 660/- | Legend A- Site Lab/ Any Govt approved lab B- Zonal Lab C - National Test House SEMT Wing Pune/Engg College |
|  |  | (ii) Flakiness Index | -do- | -do- | ‘A’ | 250/- |  |
|  |  | (iii) Estimation of deleterious materials | IS-2386 (Part I) | One test for every 100 CUM of aggregates or part thereof brought to site | ‘A’ | 600/- |  |
|  |  | (iv) Organic impurities | -do- | One test for each source of supply | ‘B’ | 275/- |  |
|  |  | (v) Moisture content | IS-2386 (Part II) | Regularly as required | ‘A’ | 330/- | Checks for visual and dimensional Characteristics shall also be carried out. |
|  |  | (vi) Specific gravity | -do- | One test for each source of supply | ‘B’ | 330/- | As IS-5454 |
| 2. | Fine aggregate | (i) Sieve analysis | IS-2386 (Part I) | One set for every 15 CUM of FA of part when brought to site. | ‘A’ | 660/- |  |
|  |  | (ii) Test for clay, silt and impurities | -do- (Part I) | -do- | ‘A’ | 500/- |  |
|  |  | (iii) Specific gravity | -do- (Part II) | One test for each source of supply | ‘B’ | 330/- |  |
|  |  | (iv) Moisture content | -do- (Part II) | Regularly as required subject to tests/day when being used. | ‘A’ | 330/- |  |
|  |  | (v) Test for Organic impurities | -do- (Part II) | One test for each source of supply | ‘B’ | 275/- |  |

Contd

##### CA NO  :  CWE/GGN/F-34/2018-19																	Serial Page No  139

##### MATERIAL AND THEIR TESTS  (Contd..)

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | TIMBER Paneled and glazed Door/Window and shutters (including Factory made shutters) | (a) Dimensions, sizes, workmanship and finish | IS-1003 1977 (Part I) | Frequency of sampling from each lot shall be as under ;- Lot size Sample size 26 to 50 5 51 to 100 8 101 to 150 13 151 to 300 20 301 to 500 32 501 to 1000 50 1001 and above 80 | ‘A’ | 180/- |  |
|  |  | (b) Strength Test |  |  |  |  |  |
|  |  | (i) Sampling | IS-1303 -1990 | From the each lot 5% of the factory made shutters shall be manufacturer tested for strength tests. |  |  |  |
|  |  | (ii) Impact indentation | -do- |  |  |  |  |
|  |  | (iii) Shock resistance | -do- |  |  |  |  |
|  |  | (iv) Edge loading | -do- |  |  |  |  |
| 4. | Plywood (IS-303-1989) | (a) Moisture contents | IS-1734-1983 (Part I) | Six tests pieces cut from each of the boards selected as per table shall be subjected to tests. | ‘C’ | 240/- | Sampling shall be as per IS-7835-1975 Table. |
| 5. | Wood particle board (medium density) IS-3097-1985) | (a) Density | IS-2360- (Part III) | Three test specimens from each sample (size 150mm x 75mm) | ‘A’ | 60/- | Sampling shall be as per IS 3487-83 with |
|  |  | (b) Moisture contents | -do- | -do- | ‘A’ & ‘B’ | 60/- |  |
|  |  | (c ) Water Absorption | -do- (Part 16) | -do- (size 300mm x 300mm) | ‘A’ | 60/- |  |
|  |  | (d) Swelling due to surface absorption | -do- (Part 17) | -do- (size 125mm x 100mm) | ‘A’ | 60/- |  |
|  |  | (e) Swelling in water | -do- | -do- (size 200mm x 100mm) | ‘A’ | 60/- |  |
|  |  | (f) Modulus of rupture | -do- (Part 4) | Three test specimens as per IS-2380-77 | ‘B’ | 90/- |  |
|  |  | (g) Screw withdrawal strength | -do- (Part 4) | -do- as per IS-2385 | ‘C’ | 120/- |  |
| 6. | Water for construction purposes | (i) Test for acidity (ii) Test for alkalinity (iii) Test for solid content | IS-456 & 3015 -do- -do- | Once at the stage of approval of source of water | ‘B’ ‘B’ ‘B’ | 500/- 500/- 500/- | Also refer clause 4.3 of IS-456 and its subsequent sub clauses regarding suitability of water. |

SIGNATURE OF THE CONTRACTOR													SSW

DATED:_______________________														FOR ACCEPTING OFFICER

CA No:  CWE/GGN/F-34/2018-19						Serial Page No 140

PARTICULAR  SPECIFICATIONS  SECTION-II (APPENDIX 'B')

LIST OF PRODUCTS WHICH ARE GENERALLY SUPERIOR TO ISI

CERTIFIED PRODUCTS TO BE INCORPORATED IN WORKS

1.   Glazed Earthen ware Tiles                       	IS-777 with latest revision.

2.   AC Sheets                                                 	IS-459-1992 (Third Revision)

3.   AC Building pipes                                    	IS-1626-(Part-I to 3)-1994(Second Revision)

4.   Paints                                                        	IS-2932-2003 (Third Revision)

5.   Distemper dry type                                          IS-427-2005 Second Revision

6.   Bathroom chromium plated cast copper	IS-8931-1993(First Revision) & 8934-1978

alloy fancy bib taps, stop valves & pillar taps

7.   Cement Base paint.                                     	IS-5410-1992 (First Revision)

8.   Oil emulsion distemper			IS-428-2000 (Second Revision)

______________________________                				SSW

(SIGNATURE OF CONTRACTOR)               				FOR ACCEPTING OFFICER

DATE :  ______________________

CA No:  CWE/GGN/F-34/2018-19						Serial Page No 141

PARTICULAR  SPECIFICATIONS  SECTION-II (APPENDIX 'C')

- SOURCES OF MATERIALS

(LIST OF MATERIALS OF LOCAL ORIGIN TO BE INCORPORATED

IN WORKS (FOR GUIDANCE ONLY)

| Sl No | Name of Material | Sources of Material |
| --- | --- | --- |
| 1 | 2 | 3 |
|  | Coarse Aggregate for all RCC and plain cement concrete works. | KHANAK(TOSHAM) /DADRI |
|  | Sand for all RCC and PCC work. | GHAGGAR RIVER SAND NEAR CHANDIGARH, YAMUNA SAND NEAR KARNAL |
|  | Sand for plastering, pointing and brick work | GHAGGAR RIVER SAND NEAR CHANDIGARH, YAMUNA SAND NEAR KARNAL |
|  | Bricks and Brick tiles | Best quality locally available |
|  | Stone for soling | DADRI HARYANA |
|  | WBM crushed stone aggregate | DADRI HARYANA |
|  | Fine sand | GHAGGAR RIVER SAND NEAR CHANDIGARH, YAMUNA SAND NEAR KARNAL |

- NOTES: -

(a) 	Sources of materials shall be as given Serial 1 to 7 above or in the vicinity thereof. The tenderer shall enquire the actual location of source before submitting his tender and no additional payment shall be made on account of any misunderstanding or its distance from site of works.

(b) 	Materials of sources listed above, shall only be used. In the event of non-availability, use of alternatives shall be decided by the Accepting Officer without any price adjustment/extra cost to Government.

______________________________                			SSW

(SIGNATURE OF CONTRACTOR)               			FOR ACCEPTING OFFICER

DATE : _______________________

CA NO : CWE/GGN/F-34/2018-19										Srl  page No. 142

Appendix ' D’

LIST OF MAKE/MANUFACTURERS OF EQUIPMENT/MATERIALS (INTERNAL & EXTERNAL ELECTRICATION)

| S No | Product | GROUP OF PRODUCTS BASED ON MAKES / BRANDS |  |  |
| --- | --- | --- | --- | --- |
|  |  | GROUP 1 | GROUP 2 | GROUP 3 |
| 1 | POWER TRANSFORMER 132/66/33/22 KV | BHEL, SCHNEIDER, ABB, SEIMENS, BHARAT BIJLEE, ALSTOM. | CROMPTON GREAVES, ECE INDUSTRIES LTD, VOLTAMP, ANDREW YULE, MEGAWIN, ITE G URGAON, RAJSTHAN TRANSFORMER & SWITCH GEAR, AREVA (T&D) |  |
| 2 | DISTRIBUTION TRANSFORMERS 11 KV ABOVE 500 KVA CAPACITY | BHEL, SCHNEIDER, ABB, SEIMENS, BHARAT BIJLEE, ALSTOM. | POWERGEAR,ANDREW YULE, INDIAN TRANSFORMERS & ELECTRICALS-GURGAON (ITE-GUR), VOLTAMP, PACTIL, CROMPTON GREAVES, HINDUSTAN TRANSFORMERS, POWER WARE, RAJASTHAN TRANSFORMER AND SWITCHGEAR, SAI TRANSFORMER, URJA TECHNIQUES, DIAMOND, JK TRANSFORMER UNIVERSAL |  |
| 3 | DISTRIBUTION TRANSFORMERS UPTO 500 KVA CAPACITY | CROMPTON GREAVES, ANDREW YULE, ABB, SCHNEIDER, BHARAT BIJLEE, VOLTAMP | POWERWARE, INDIAN TRANSFORMER & ELECTRICALS-GURGAON, DIAMOND, HINDUSTAN TRANSFORMERS |  |
| 4 | CHEMICAL EARTHING | OBO,JMB,JMV (EARTHING), ENOV, POWERTRACK, TIRUPATI |  |  |
| 5 | STAR RATED ENERGY EFFICIENT TRANSFORMERS STEP DOWN UPTO 200 KVA CAPACITY (4/5 STAR RATING ONLY TO BE USED) | ANY MAKE AS APPROVED BY BUREAU OF ENERGY EFFICIENCY AND BEARING 4/5 STAR RATING LABEL. LIST OF MAKES AVAILABLE ON BEE WEBSITE. |  |  |
| 6 | HT SWITCH GEAR 132/33 KV & 66 KV, VCB (OUT DOOR/INDOOR)/ CT & PT | ABB,SIEMENS, SCHNEIDER, BHEL, BHARAT BIJLI, HARTEK | CROMPTON GREAVES, ANDREW YULE, ALSTOM, C&S ELECTRIC, CEC, ITE GURGAON, AREVA (T&D) |  |
| 7 | HT SWITCH GEAR 33/66 KV,SF6 (OUT DOOR/INDOOR) | ABB,SIEMENS, SCHNEIDER, BHEL, HARTEK | CROMPTON GREAVES, ANDREW YULE, ALSTOM, C&S ELECTRIC, AREVA (T&D), L&T |  |
| 8 | HT SWITCH GEAR 11KV, VCB (OUT DOOR/INDOOR)HT RING MAIN UNIT, SF6/VACUUM, 11KV/CT & PT | ABB,SIEMENS, SCHNEIDER, BHEL, HARTEK | ALSTOM, L&T, C&S ELECTRIC,ANDREW YULE, CROMPTON GREAVES ADVANCE PANELS & SWITCHGEAR |  |
| 9 | HT SWITCH GEAR PROTECTION RELAYS (ELECTROMECHANICAL / NUMERICAL) | L&T, ABB, SIEMENS, SCHNEIDER, EASUN ROYALE | CROMPTON GREAVES, BHARTIYA INDUSTRIES |  |
| 10 | PACKAGE/UNIFIED SUB-STATION | ABB, SIEMENS, BHEL, SCHNEIDER, BHARAT BIJLEE, VOLTAMP, ALSTOM | CROMPTON GREAVES, L&T, ANDREW YULE, C&S ELECTRIC, INDIAN TRANSFORMERS,& ELECTRICALS GURGAON, RAJSTHAN TRANSFORMER AND SWITCHGEAR, DIAMOND, HINDUSTAN TRANSFORMERS, SUDHIR, POWERWARE |  |
| 11 | LT/HT CABLE JOINTS HEAT SHRINKABLE /COLD SHRINKABLE/ PUSH ON TYPE | DENSON, M-SEAL, BIRLA 3 M, RAYCHEM, CABSEAL, MSS, JMV |  |  |
| 12 | GANG OPERATED SWITCH DEVICE | BHEL,PACTIL,OBLUM, ABB | JAIPURIA, RASHTRIYA, REYCHEM, GE POWER, DENKE POWER SWITCH, ATLAS, SCREW INDIA, SSK ENTERPRISE |  |
| 13 | LIGHTING ARRESTERS | BHEL, CROMPTON GREVES, SCHEINDER, PACTIL, OBLUM ELECTRICAL, OBO BETTERMEN, JMV, HPL | LEMLOS CO, HPL, ALPRO, CENOTECH INDIA, JAIPURIA, RASHTRIYA |  |
| 14 | HT/LT PCC POLES | CEMENT FABRIC CHANDIGARH, PUNJAB, CONCRETE LTD CHANDIGARH, HARYANA CONCRETE UDYOG LTD, PCIC, ECI,HINDUSTAN PREFAB, PRACTO ENGINEERs, ICB INDUSTRIES, KASHMIR CEMENT, KB INDUSTRIES, PRE CAST CEMENT, CONCRETE FABRIC, CONCRETE UDYOG LTD, MOAHAN CONCRETE UDYOG LUCKNOW |  |  |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 143

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Appendix ' D’Contd/….)

| 15 | CT & PT , 11& 33 KV | ABB, SIEMENS, CROMPTON GREAVES, PRAGATI, AE, KAPPA (AS PER OEM HT PANEL MANUFACTURER) |  |  |
| --- | --- | --- | --- | --- |
| 16 | HT XLPE CABLES 132/66/33 KV & 11 KV | CCI, UNIVERSAL CABLES, FINOLEX, ASIAN CABLES, KEI INDUSTRIES LTD | HAVELLS, GLOSTER CABLES LTD, NICCO, RPG CABLES, POLYCAB, ICL, GEMSCAB, RAVIN, ELEKTRON, CRYSTAL ELECTRIC CO PVT LTD, DIAMOND RALLISON PVT LTD, UNISTAR, PLY CAD |  |
| 17 | HT/LT STEEL TUBULAR SWAGED POLES | NATIONAL TUBING CO. KANPUR, BHARAT CONDUIT & STEEL WORKS KANPUR, C&S ELECTRIC, SHIVAM METALS | QUALITY STEELS, PARUTHI ELECTRICALS, MS ELECTROSTEEL, SURJEET STEEL INDUSTRIES, SOHAN LAL & SONS, TTI, AST, MAHENDRA INDUSTRIES, VIKRAM INDUSTRIES. |  |
| 18 | STEEL TUBULAR DECORATIVE POLES OCTAGONAL/HIGH MAST LIGHT AND POLES | FINOLEX, HAVELLS, CROMPTON GREAVES, C & S ELECTRIC, HOMEDEC | KEI, RALLISON, SURYA NICCO, PARAGON, GEMINI, GRANDLAY, POLYCAB, PLAZA, E STANDARD, KALINGA GOLD, GEMSCAB, INDOASIAN, HPL, BAJAJ, SHALABH, LBEE, VRONICA, EON, PARUTHI ELECTRICALS |  |
| 19 | LT PANELS/APFC/PANELS/AC CONTROL PANELS/PUMP HOUSE PANELS FOR SS HAVING CAPACITY 1000 KVA AND ABOVE OR LT PANELS/APFC/PANELS/AC CONTROL PANELS/PUMP HOUSE PANELS FOR SS HAVING CAPACITY BELOW 1000 KVA | SIEMENS, L&T, ABB, SCHNEIDER, LEGRAND, HENSEL, BHANDARI, INDO ASIAN, OSIAN, &s ELECTRIC, SHALABH, HAVELLS, HARTEK | CROMPTON GREAVES, POWER SYSTEM & CONTROLS JALANDHAR, UNIVERSAL SWITCHGEAR CONTROL, CONELEC SYSTEM, UNILEC, NEPTUNE, CONTROL, WEL TRICOLITE, RMS PANLES,SMS PANELS & SWITCH GEAR, POWER WARE, BENTEC,CATER PILLAR, ADLEC, UNITECH, INIDAN TRANSFORMERS & ELECTRICALS, INDUSTRIAL POWER CONTROL, SYSTEMS & SERVICES (POWER CONTROLS) DV ELECTROMATIC PVT LTD, KRYPTON POWER CONTROLS (INDIA) PVT LTD, AVON CONTROLS, SUPERTECH POWER CONTROL PVT LTD, HANSON ENTERPRISES PVT LTD, STANDARD SWITCHGEAR, ELECTRA POWER, EAP ELECTRO, AE, HPL, SOMBANSI, ADHUNIK SWITCHGEAR, NATIONAL ENGG WORKS, SHALABH,SPC ELECTROTECH PVT LTD, EXPERT SWITCHGEARS, UNIX SWTCHGEAR PVT LTD, MILESTONE, LOMER SUPPEME CONTROL JALANDHAR, SUDHIR POWER LTD, SHALABH, HAVELLS, POWER TECH SWITCHGEARS (I) PVT. LTD. C & ELECTRIC,BCH. |  |
| 20 | HIGH VOLTAGE INSULATING RUBBER MAT | JYOTI, DUNLOP | KARULA PREMIER POLYFILM, SUNTEX INSULATION, SAFEVOLT, SINTEX |  |
| 21 | LT AIR CIRCUIT BREAKERS | ABB, SIEMENS, L&T, SCHNEIDER, LEGRAND, ALSTOM, HAGER, INDO ASIAN, C&S ELECTRIC, HAVELLS | C&S ELECTRIC, BCH, INDOASIAN, HAVELLS, CROMPTON, STANDERD, HPL, GE | KINJAL BENTEX, AHDUNIK, CONTROL & SWITCH GEAR, BCH,BHARTI INDUSTRIES LTD |
| 22 | MCCBS | ABB, SIEMENS, L&T, SCHNEIDER, LEGRAND, MERLIN GERIN, HAGER,SIEMENS,LEGRAND, HAGER, INDO ASIAN, C&S ELECTRIC, KALINGA PREMIUM, HAVELLS, HPL, BENLO | C&S ELECTRIC, BCH, INDOASIAN, HAVELLS, CROMPTON, ANCHOR, GE POWER, HPL, STANDARD ELECTRICALS, SHALABH | ADHUNIK,BHARTIA INUSTRIES, CRYSTAL ELECRIC CO PVT LTD, ELECTRIC CO PVT LTD, SHALABH, BENTEK NOVATEUR. |
| 23 | MCB/ELCB/RCCB/RCBO/ISOLATORS/MCB DISTRIBUTION BOARD | L&T, ABB, SCHNEIDER, SIEMENS,LEGRAND, HAGER, INDO ASIAN, C&S ELECTRIC, KALINGA PREMIUM, HAVELLS, HPL, BENLO | BCH,CROMPTON GREAVES, INDOASIAN, C & S ELECTRIC,HAVELLS,STANDARD ELECTRICALS, PLAZA HPL, ELECTRIC CO PVT LTD, GE, SHALABH | SHALABH, BENTEX, ADHUNIK, ANCHOR, ESS ESS KAY, CRYSTAL, KINJAL. |
| 24 | POWER CONTACTORS | L&T, SIEMENS, ABB, LEGRAND, SCHNEINDER, GE POWER, AE, INDO ASIAN, C&S ELECTRIC, HAVELLS, HPL | BCH ELECTRIC, C&S ELECTRIC, STANDERD, INDOASIAN , HAVELLS, HPL. |  |
| 25 | VOLTAMETER/AMMETER/FREQUENCY METER/ PF METER (ANALOG TYPE) | L&T, AE, SECURE, SCHNEIDER, LEGRAND, HAGER, HAVELLS, HPL | IMP,AMTL, HPL, MECO, ESSMA, , INDOASIAN, HAVELLS, C&S ELECTRIC | NAPTUNE CADEL, BENTEC, ENENERCON, DIVIS, DUCATI, TRINITY, RAAS, CONCORD, VAISHNAV |
| 26 | SAME AS ABOVE (BUT ELECTRONIC TYPE/ DIGITAL TYPE) | SECURE, DUCATI, L&T (RISHAB), RAAS, CONCORD, C&S ELECTRIC, MECO, AMTL |  |  |
| 27 | LT CABLES, 1100 VOLTS, XLPE | CCI,FINOLEX, UNIVERSAL CABLES, RPG, KEI INDUSTRIES PVT LTD, KALINGA PREMIUM, EON, GLOSTER, POLYCAB, HAVELLS | NICCO,ASIAN CABLES, HAVELLS,POLYCAB, ANCHOR, KALINGA GOLD, GRANDLAY, PLAZA HPL. PARAGON, GLOSTER CABLES LIMITED, INUDSTRIAL CABLE, SHALAB, HEAT FLEX, SS CABLE INDUSTRIES, BONTON, PARAMOUNT HIND INDUSTIRES, DIAMOND, WINDSOR, EON ELECTRICAL LTD, GEMSCAB, ALCON WIRES AND CABLES , RALLSON PVT LTD, CABCOM, ICL. |  |
| 28 | PCC CABLE COVER | MEHTAB TILES, PEARLESS INDUSTRIES, HINDMOZAIC GURJAT, JJ CONCRETE LUCKNOW |  |  |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 144

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Appendix ' D’Contd/….)

| 29 | CHANGE OVER SWITCHES | SIEMENS, L&T, ABB, SCHNEIDER, C&S ELECTRIC, KALINGA PREMIUM, HAVELLS, INDO ASIAN | GE POWER, BCH, C &S ELECTRIC, HPL, HAVELLS, STANDARD, GE , INDOASIAN, ANCHOR, HAGER | SHALABH, ADHUNIK SWITCHGEAR BENTEC, CRYSTAL, ELECTRIC CO PVT LTD UNILEC, EE INDIA LTD, ESS ESS KAY |
| --- | --- | --- | --- | --- |
| 30 | SMART/TAMPER PROOF ENERGY METERS | ABB, L&T, SCHENINDER, SECURE, HAVELLS , HPL | LANDIS & GYR, HPL,AMTL,HAVELLS, GENUS, C&S ELECTRIC, INDO-ASIAN | DIVIS, BUKATI, BENTEC, TRINITY, RAAS, INDOASIAN, CONCORD, VAISHNAV, ENERCON |
| 31 | VOLTAGE STABILIZERS UPTO 25 KVA | APLAB, AE, BRENTFORD, V GUARD, ANDREW YULE, VOLINA | POWERWARE, SINETRAC, VOLINA, MICROTECH, INDIAN TRANSFORMERS & ELECTRICALS, VENER-7, AAR KEY, VINITEC. |  |
| 32 | VOLTAGE STABILIZERS UPTO 25 KVA(SERVO CONTROLLED) | AE, V GUARD, BRENTFORD, APLAB, ANDREW YULE | POWERWARE, SINETRAC, VOLINA, LOGICSTAT,BLULINE, PACTIL, VOLTAMP, INDIAN TRANSFORMERS & ELECTRICALS, VENER-7, AAR KEY, VINITEC. |  |
| 33 | UPS (OFFLINE & ON LINE) | EMERSON, TATA LIBERT, APLAB, APC, AE | SU-KUM, MICROTECH, APS, LABOTEK, V-GUARD, SINETRAC, LUMINOUS, MOSER BAER | AAR KEY |
| 34 | DG SETS | ENGINE: CROMPTON GREAVES, MAHINDRA & MAHINDRA, RUSTON, CUMMINS, KIRLOSKAR OILS ENGINES,ASHOK LEYLAND,CATERPILLAR ALTERNATOR: BHARAT BIJLI, CROMPTON GREAVES, SEIMENS, KRILOSKAR ELECTRIC, STAMFORD, CATLER PILLAR, MTU, VOLVO, LEROY SOMER, JYOTI |  |  |
| 35 | DG SET INTEGRATOR | AKSON,SUDHIR, MAHINDRA, KIRLOSKER GREENS | LOMBARDINI INDIA PVT LTD |  |
| 36 | LT CAPACITOR BANKS | L&T, ABB, SCHNIEDER, LEGRAND, BHEL, SIEMENS, ALSTOM, C&S ELECTRIC, HAVELLS | EPCOS, CROMPTON GREAVES, DUCATI, UNIVERSAL(UNISTAR), C&S ELECTRIC, HAVELLS, BCH, GE, | DATAR, GPEC, BHARTIYA INDUSTRIES |
| 37 | HT CAPCITOR BANKS | ABB,UNIVERSAL, BHEL,SCHNIEDER, SIEMENS,EPCOS INDIA PVT LTD |  |  |
| 38 | RIGID PVC CONDUIT | PLAZA, FINOLEX, BAJAJ, KALINGA PREMIUM | KAMPLAST, SUPREME, KALINGA, DUTRON, AKG, KINJAL, PRINCE, DIPLAST, TIRUPATI, POLYCAB, JAIN IRRIGATION, SAVOIR, INDO. | POLY CAB, VISHAL, HARSH, PARTEEK PIPES, KISAN, PKS EXPORTS. |
| 39 | MS CONDUIT/ERW CONDUIT PIPE | BHARAT STEEL, JINDAL, TATA | AKG,BEC,NIC,PRAKASH TUBES, OSWAL, TIRUPATI |  |
| 40 | PVC COPPER WIRES-650/1100 VOLTS | L&T, FINOLEX, RPG, RR KABLE, GRANDLAY, KALINGA PREMIUM, HAVELLS, HPL,PLYCAB, EON, GLOSTER, ORISON | INDOASIAN, PARAMOUNT, C&S ELECTRIC, BCH, V-GUARD, POLYCAB, BONTON, NICCO, KALINGA PREMIUM, HPL, HAVELLS, PLAZA, PARAGON,(ELEKTRON),ANCHOR,GEMINI,ALCON.PARAFLEX, SHALABH | BENTEC,SHALABH, PARAFLEX |
| 41 | PT SWITCH/SOCKETS/CEILING ROSES/FAN RAGULATORS | ANCHOR,LEGRAND, CRABTREE(SCHNEIDER) | C&S ELECTRIC, STANDARD,HAVELLS,SSK,POLYCAB,FINE,PLAZA,CONA, INDOASIAN. | KINJAL,EON,LEADER,RR CABLE |
| 42 | LAMINATED SHEET COVER | HYLUM,FORMICA,GREEN LAMINATED BOARDS |  |  |
| 43 | MODULAR SWITCH/SOCKETS/FAN REGULATORS | LEGRAND, SEIMENS ABB, CRABTREE,(SCHNEIDER), C&S ELCTRIC, HAVELLS, HPL, POLYCAB, INDO ASIAN | ANCHOR,L&T(ORIS),C&S ELECTRIC,LEADER, SSK,INDOASIAN,HAVELLS,CLIPSAN,STANDARD,POLYCAB,HPL | NOVATEAR,KATATIYA,MK,NORTHWEST,ADHUNIK,RR CABLE |
| 44 | STREET LIGHT FITTINGS & ACCESSORIES-HPSV (70/150/250/400),HPMV(80/125/250/400)/ METAL HALIDE | PHILIPS,CROMPTON GREAVES, BAJAJ, WIPRO, SCHNEIDER, C&S ELCTRIC, HAVELLS, HPL, K-LITE | C&S ELECTRIC,GE LIGHTING,HAVELLS, HPL. | KINJAL,TWINKLE, ELECTRO CINE, JAIN INDUSTRIAL LIGHTING CORP (JILCO) |
| 45 | TUBE LIGHT/STREET LIGHT FITTING | PHILIPS,CROMPTON GREAVES, BAJAJ, WIPRO, ORISON, C&S ELECTRIC, HPL, HALONIX | SURYA ROSHNI LTD,INSTA POWER,HALONIX TECHNOLOGIES LTD,HAVELLS, POLYCAB,C&S ELECTRIC,SCHNEIDER, GE LIGHTING | ADHUNIK,HPL |
| 46 | FLOOD LIGHT FITTINGS | PHILIPS,CG, BAJAJ, WIPRO, HAVELLS. POLYCAB, HALONIX | SURYA ROSHNI LTD,INSTA POWER,HALONIX TECHNOLOGIES LTD,HAVELLS, POLYCAB | ADHUNIK,JAIN INDUSTRIAL LIGHTING CORP (JILCO) |
| 47 | ACSR CONDUCTOR | JAIPURIA,ALIND,ICC,NICCO, JMV | DIAMOND,BHARAT CONDUCTORS |  |
| 48 | BOX TYPE DECORATIVE TUBE LIGHT FITTING | PHILIPS,CROMPTON GREAVES, BAJAJ, WIPRO, C&S ELECTRIC, HPL, HALONIX, POLYCAB | SURYA,HALONIX,SHAKTI,ANCHOR,HPL,LEGERO,POLYCAB,C&S ELECTRIC,SCHNEIDER, GE LIGHTING,HAVELLS | SINTEX,ADHUNIK, NOVATEUR,JAQUAR,HOMEDEC, ASIAN, ELECTROMIX, POLYCAB. |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 145

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Appendix ' D’Contd/….)

| 49 | CFL FITTINGS | CROMPTON GREAVES, PHILIPS,BAJAJ, WIPRO, C&S ELECTRIC, HPL, HAVELLS | C&S ELECTRIC,GE LIGHTING,OSRAM,HAVELLS, SURYA,HALONIX,ANCHOR,HPL,SINTEX,INDOASIAN. | ADHUNIK,NOVATEUR,JAGUAR,HOMEDEC,JAIN INDUSTRIAL LIGHTING CORP(JILCO), ASIAN ELECTROMIX,OSRAM,SHAKTI. |
| --- | --- | --- | --- | --- |
| 50 | CFL LAMPS | PHILIPS,CROMPTON GREAVES, BAJAJ, WIPRO, HI-TECH, EON, HALONIX | OSRAM,HALONIX,SURYA,HPL,WIPRO |  |
| 51 | LED LAMP | PHILIPS,CROMPTON GREAVES,OSRAM,SURYA, BAJAJ, BENLO | ELEKTRON,IMPERIAL,SANGWAN ENERGY SYSTEM PRIVATE LTD, HALONIX. |  |
| 52 | SK FITTING | VIKAS, PRAKASH,JEMCO,SPARKS,HOMEDEC |  |  |
| 53 | (A) CEILING PANS(ONLY 5 STAR BEE RATING C/FANS SHALL BE SPECIFIED), (B) EXHAUST/WALL MOUNTED FANS/AIR CIRCULATORS | BAJAJ,CROMPTON GREAVES, GEC. ORISON, EON, HAVELLS, POLYCAB | KHAITAN, ORIENT, POLAR, GEC,HAVELLS, ALMONARD,MIE,OSRAM, ANCHOR,LUMINOUS, ORTEM, HALONIX | POLYCAB,GANESH,EON. |
| 54 | WATER HEATER(ONLY 5 STAR BEE RATING WATER HEATERS SHALL BE SPECIFIED) | CROMPTON GREAVES,BAJAJ,RECOLD,HAVELLS, MORPHY RICHARDS, VENUS,USHA LEXUS, BLACK & DECKER, JAGUAR, LUMINOUS, INDOASIAN,SHRIRAM, THERMOKING,ARISE., ORISON, EON |  | DITZ,SAAHAS, KONARK, PEARLS |
| 55 | BUS BAR TRUNKING SYSTEMS | SHENEIDER, SIEMENS,LEGRAND,OBO BETTERMAN. | L&T, C&S ELECTRIC, GE |  |
| 56 | BATTERY CHARGER | SU-KAM,AMCO,SINETRAC,WAC,BCH,AMAR RAJA |  |  |
| 57 | LEAD ACID BATTERIES | AMARON,STANDARD FURKKAVA, EXIDE, | AMAR RAJA,SUKAM,TATA GREEN,APC,LUMINOUS, POWER ZONE, ARISE,AMCO |  |
| 58 | LED LIGHT FITTING | PHILIPS,BAJAJ,OSRAM,CROMPTON GREAVES, BENLO, HI-TECH, EON, C&S ELECTRIC, KALINGA PREMIUM, HAVELLS, HPL, POLYCAB, ORISON, HALONIX | HAVELLS,C&S ELECTRIC,SURYA ROSHNI LTD, SYSKA LED,ELEKTRON, HALONIX TECHNOLOGIES. | BIRLA POWER, INSTAPOWER,HPL,ESS ESS KAY, ANCHOR, MIC, ADHUNIK,JAIN INDUSTRIAL LIGHTING CORP (JILCO), GOLDWYN LTD, P OLYCAB, IMPERIAL. |
| 59 | FLAME PROOF SWITCH/SOCKET/DB | BAJAJ,CROMPTON GREAVES,SUDHIR,FCG BALIGA LIGHTING EQPTS | SHYAAM, C&S ELECTRIC |  |
| 60 | LIGHT/FITTINGS | BAJAJ,CROMPTON GREAVES,SUDHIR,FCG BALIGA LIGHTING GE | SHYAAM,C&S ELECTRIC, FLEXO ELECTRICALS, PLUTO FLAME PROOF CONTROL, FLEXPRO |  |
| 61 | FLAME PROOF EXHAUST FAN PEDASTAL FAN/FLAME PROOF AC | BAJAJ,SHYAAM,CROMPTON , FCG ,SUDHIR, |  |  |
| 62 | FLAME PROOF SOLAR STREET LIGHT FITTINGS | BAJAJ,PHILIPS,CG | WIPRO, SURYA | JAIN INDUSTRIAL LIGHTING CORP (JILCO) |
| 63 | STREET LIGHT TIMERS | L&T,LEGRAND, BAJAJ,SIEMENES,ABB, OSIAN, C&S ELECTRIC HAVELLS | INDOASIAN,HAVELLS, SINETRAC, GE,BCH,C&S ELECTRIC |  |
| 64 | AVIATION OBSTRUCTION LIGHT | BAJAJ, CROMPTON GREAVES, PHILIPS | WIPRO, SURYA |  |
| 65 | TRANSFORMER OIL | M&I MATERIAL (MIDEL) POWER LINK, POWER OIL, SAVITA |  |  |
| 66 | INTEGRATED SOLAR LIGHT (LED BASED) | ORRISON, AXXON, AURA | ORRISON, AXXON, AURA | ORRISON, AXXON, AURA |
| 67 | EARTHING SYSTEM, LIGHTNING PROTECTION SYSTEM, SURGE PROTECTION DEVICES | JMV | JMV | JMV |
| 68 | COPPER CLAD STEEL CONDUCTOR | JMV | JMV | JMV |
| 69 | CABLE JUNCTION BOXES, CIRCUIT BREAKER BOXES, DC RELATED JUNCTION BOXES | HENSEL | HENSEL | HENSEL |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 146

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Appendix ' D’Contd/….)

| 70 | PUSH BUTTON STATIONS |  | HENSEL | HENSEL |
| --- | --- | --- | --- | --- |
| 71 | INDOOR/OUTDOOR LUMINAIRE INCL STREET LIGHT & GARDEN LIGHT | K-LITE | K-LITE | K-LITE |
| 72 | OVERHEAD CONDUCTOR |  | RHINO | RHINO |
| 73 | GI PIPES/MS PIPES | JINDAL Pipes, TATA, BST, PRAKASH TUBES, OSWAL, BHISHAN, APL PPOLO | NIDHI PIPES, INDUS TUBES LTD. SWASTIK,SURYA ROSHNI (PRAKASH) TUBES, OSWAL, | G00D LUCK, TRIPUTI,RAVINDRA, J STEEL SYSTEM, JTL INFRA |
| 74 | HDPE/UPVC/PPR PIPES | DUTRON,FINOLEX,TIRUPATI,SFMC PIPE,JAIN PIPE, RELLAINCE(RPPPL ), SWASTIK | ALONPOLY EXTRUSION LTD, KIRTI,SAVIOR FAIRE, SARVORAM. |  |
| 75 | CI PIPES | ELECTRO-STEEL/LANCO,JINDAL, RASHMI ,KESORAM,ELECTROTHERM,TATA METALIKS, TATA KUBOTA | JAI BALAJEE, KEJERAWAL,NECO,BENGAL IRON COPN |  |
| 76 | DI PIPES | ELECTRO-STEEL/LANCO,SRIKALAHASTHI,JINDAL,KESORAM,ELECTROTHERM,TATA METALIKS, TATA KUBOTA | JAI BALAJEE, KEJERAWAL,KISWOK,RASHMI METALIKS |  |
| 77 | SLUICE VALVES/NON RETURN VALVES/AIR RELEASE VALVES | KIRLOSKAR, LEADER, ZOLOTO,L&T (AUDCO) | BIR,KARTAR,SANT. | MAC INTERNATIONAL, AIP BVI, MINAR, NETA METAL,UPADHAYAY, NEW METAL WORKS |
| 78 | BUTTERFLY VALVES/CHECK VALVES | ADVANCE/AUDCO/LEADER/CASTLE,NVR,ZOLOTO | AIP,BVI,MINAR, MAC INTERNATIONAL,NETA METAL, UPADHAYAY, NEW METAL WORKS, BIR KARTAR |  |
| 79 | GUN METAL GLOBE VALVE | KIRLOSKAR, LEADER, ZOLOTO,L&T (AUDCO),NVR | AIP,BVI,MINAR, MAC INTERNATIONAL NETA METAL, UPADHAYAY, NEW METAL WORKS, BIR KARTAR,SANT |  |
| 80 | GI FITTING | JINDAL,TATA,BST | ZENTO,NANDA MANUFACTURING, UNIQUE,NIDHI,OSWAL |  |
| 81 | PUMP SETS-MONO BLCOK | KIRLOSKAR, CROMPTON,BEST & CROMPTON,BEACON,MATHER & PLANTT, GRANDFOS, KSB, CRI | WILLO, ARISE, KALSI BS PUMPS,JYOTI,FLOWMORE,MAX FLOW,JOHNSON & JOHNSON |  |
| 82 | CENTRIFUGAL PUMPS | KIRLOSKAR,BEACON,KSB,MATHER & PLATT, GRANDFOS, WASP,ITT, CRI | WILLO, ARISE, KALSI BS PUMPS,JYOTI,FLOWMORE,MAX FLOW,ARMSTRONG |  |
| 83 | SUBMERSIBLE PUMPS | CALAMA, KIRLOSKAR, BEACON, KSB, MATHER & PLATT,GRANDFOS,WASP, ITT, CRI | WILLO, ARISE, GRETINDIA, JYOTI,MODI ATLANTA, SU PUMPS, CROMPTION GREAVES, COLAMER, MODI INDIA, GREAT IND ARMSTRONG. |  |
| 84 | NON CLOG SEWAGE PUMPS | KIRLOSKAR, BEACON,KSB,CROMPTON | FLOWMORE, GREAT IND, JOHNSON & JOHNSON |  |
| 85 | VERTICAL TURBINE PUMP | KSB,KIRLOSKAR,WASP | FLOW MORE BAJAJ ATLANTA, JOHNSON & JOHNSON |  |
| 86 | DOSING PUMP/BLEACHING DOZER | ION EXCHANGE,MAIC INDIA,JESCO | RMCO AQUAPURA, CHLROTECH, VIKRAM PAC |  |
| 87 | MOTOR STARTERS | L&T, SIEMENS, C&S ELECTRIC , ,BCH, SCHNEIDER, ABB | HAVELLS, INDOASIAN,HPL,STANDARD |  |
| 88 | ELECTRIC MOTOR | BHARAT BIJLEE,KIRLOSKAR ELECTRIC CROMPTOM GREAVES, ABB, SIEMENS, GEC | JYOTI,NGEF,BCH |  |
| 89 | SINGLE PHASE PREVENTORS/PHASE SEQUENCE CORRECTOR | L&T, SIEMENS, C&S LECTRIC, SINETRAC, MINILEC, LEGRAND, SCHNEIDER,ABB | AUTO ELECTRONICS, AKASH, TELEMECHANIC, INDOASIAN,HAVELLS, BCH, SINETRAC |  |
| 90 | LIFTS/ELEVATORS | KONE, SCHINDLER, OTIS, THYSSEN KRUPP,HITACHI JHONSON | KONE,SCHINDLER,OTIS, THYSSEN KRUPP, HITACHI JHONSON |  |
|  | AIR CONDITIONING |  |  |  |
| 1 | WINDOW TYPE/SPLIT TYPE AIRCONDITIONERS (NOTE: ONLY 5 STAR BEE RATING ACS SHALL BE SPECIFIED WHERE ANNUAL USAGE IS >1000HRS,3 STAR FOR OTHER PLACES E.G CONFERENCE ROOMS | VOLTAS HITACHI, DAIKIN, O-GENERAL CARRIER, FEDDERS LLYOD | LG, BLUE STAR , VIDEOCON,SAMSUNG, GODREJ | ZENITH,PANASONIC HAIER |
| 2 | WATER COOLERS | VOLTAS,BLUESTAR, SHRIRAM(USHA) AND SIDHWAL | - | - |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 147

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Contd/….)

| 3 | REGRIGERATOR | WHIRLPOOL,LG,SAMSUNG,VOLTAS,VIDEOCON, KELVINATOR | GODREJ, PANASONIC ELECTROLUX, HAIER |  |
| --- | --- | --- | --- | --- |
| 4 | DEEP FREEZER | BLUE STAR, VOLTAS, SHRI RAM (USHA) | SIDHWAL, CARRIER, FEDDERS, LLYOD |  |
| 5 | CASSETTE TYPE AC | BLUE STAR, FEDDERS LLYOD, VOLTAS, DAIKIN | PANASONIC, TOSHIBA, LG |  |
| 6 | PILLAR TYPE AC | FEEDERS LLYOD, DAIKIN, O-GENERAL, HITACHI | LG, BLUE STAR, WHIRLPOOL PANASONIC |  |
| 7 | DUCTABLE AC | FEDDERS LLYOD VOLTAS, DAIKIN, O-GENERAL,HITACHI | LG BLUE STAR, |  |
| 8 | AIR CURTAIN | CROMPTON GREAVES, ALMONARD, ROBUSTIX |  |  |
| 9 | FIRE DAMPER | DYAN CRAFT, RAVISTAR, MAPRO, CARRY AIR ,AIRFLOW, RUSKIN |  |  |
| 10 | ALUMINIUM EXTRUDED, ALUMINIUM GRILL/DIFFUSER | DYNA CRAFT, RAVISTAR, MAPRO, CARRYAIRE, SERVEX, GREEN HECK, BRIGHTFLOW, RUSKIN |  |  |
| 11 | DESERT COOLERS | SYMPHONY, KHAITAN , KENSTAR | CROMPTON GREAVES, BAJAJ,OSRAM | JK ELECTRIC, VENUS, KOHLI & CO. AVINLIGHT |
| 12 | CHILLER/CHILLING UNITS | YORK,TRANE,DAIKIN, MACQUAY, CARRIER, VOLTAS, BLUESTAR,KIRLOSKAR |  |  |
| 13 | AIR HANDLING UNIT, COOLING COIL FOR AHU | BLUE STAR, VOLTAS,CARRIER, FEDDERS LLYODWAVES, HITECH, EDGETECH |  |  |
| 14 | COOLING TOWERS | MIHIR,PAHARPUR, ADVANCE, DELTA | WELLDONE |  |
| 15 | FRACTIONAL HP MOTORS | AUE,SIEMENS |  |  |
| 16 | VARIABLE FREQUENCY DRIVES(VFD) | DANFOSS,MITSUBISHI, HONEYWELL, ABB | ALLENBRADELY, WOLF, AUTOMATION, SIMPHOENIX |  |
| 17 | POT/Y-STRAINER | EMERALD/RAPID COOL/LEADER |  |  |
| 18 | PRESSURE GAUGE/DIAL TYPE THERMOMETERS | FIEBIG,H.GURU,EMERAID, ANERGY | DROPCO,DIGITAL,MARKETIN G,SYSTEM TAYLOR,DS ENGG, DWYER, AUTO MAT LUB SYSTEM |  |
| 19 | INSULATION (FIBRE GLASS) | OWENS CORNING UPTWIGA, LLOYD | SHRI FIRE PACK, IMPEX INSULATION, TRANS INSULATION |  |
| 20 | INSULATION (EXPANDED POLYETHYLENE) | MATTUR BEARDSELL, TOSHIBA, STYRENE PACKAGING | CAPRICORN,ECOTHEM INSULATION |  |
| 21 | INSULATION (CROSS POLYETHYLENE FOAM) | SUPREME, PARAMOUNT AEROFLEX, TROCELLONE |  |  |
| 22 | INSULATION (NITRILE RUBER) | ARMAFLEX,KAIFLEX,KFLEX,VIDOFLEX,PARAMOUNT |  |  |
| 23 | TF THERMOCOL FOR PIPE INSULATION | PK PACKING,BIRDSELL, PROPACK,STYRENE, PACKAGING, RYCON, SERVICES | KIWI THERMO PACK,PRAKASH PACKAGING,SAHARA THERMO PACK |  |
| 24 | CONTROLS(3 WAY VALVES)/ THRMOSTATS | ANERGY, SIEMENS, HONYWELL | ANERGY, SIEMENS, HONYWELL |  |
| 25 | EXTRUDED ALUMINUM GRILLS/DIFFUSERS/ FIRE DAMPERS | DYNE CRAFT, MAPRO, CARRYAIRE, SERVEX, GREEN HECK | DYNE CRAFT, MAPRO,CARRYAIRE, SERVEX, GREEN HECK |  |
| 26 | COPPER REFRIGERANT PIPING | DIAMOND, STAR | DIAMOND, STAR |  |
| 27 | GI SHEETS FOR DUCTING | SAIL,TATA, JINDAL, OSWAL, BHUSHAN |  |  |
| 28 | ACTUATOR | JEVENTA, BELIMO, SIEMENS, ADVANCE | CASTLE, ROTORK,NIBCO,AIP |  |
| 29 | CENTRIFUGAL FANS (AHU | NICOTRA, KRUGER, AIRFLOW,GREENHECK, | COMBIFREE,LLOYD, YILIDA |  |
| 30 | STRIP HEATERS | RAYCOLD, DASSPASS, AUE, HONEYBEE |  |  |
| 31 | HUMIDSTAT/THERMOSTATE | PENN, DANFOSS, HONEY WELL,SIEMENS, JOHNSON, RAPIDCOOL, ANERGY |  |  |
| 32 | AIR FILTER/HEPA FILTER | TENACITY,PUROLATOR, LLYOD, MIHIR, DANFOSS,INDFOSS,KLENZOID JOHN FOWLERS | DELTA,HANNY,AIRTECH, TERMODYNE |  |
| 33 | FACTORY BUILT DUCTS | CORI ENGINEER, RESISSTO FLEX, ROLASTAR, TECHNO AIR, CAMDUCT, ZECO, DUCTOFAB,ECODUCT |  |  |

Contd…/-

CA NO : CWE/GGN/F-34/2018-19											Srl  page No. 148

LIST OF MAKES/MANUFACTURERS OF EQUIPMENTS/MATERIALS (Contd/….)

| 34 | FLEXIBLE CONNECTOR |  | CORI ENGINEER, RESISSTO FLEX,DUNLOP | CORI ENGINEER, RESISTO FLEX, DUNLOP |  |
| --- | --- | --- | --- | --- | --- |
| 35 | HOT WATER GENERATOR |  | THERMAX, INDCON 3M, RAPID CONTROL,ZENITH |  |  |
| 36 | WATER TREATMENT PLANT |  | THERMAX LIMITED, SATHYA SAI AQUA PURA SERVICES, OPTIMUS ENVIROPRO PVT LTD, SOPHISTICATED INDUSTRIAL MATERIALS ANALYTIC(SIMA) LABS PVT LTD, SOMBANSI ENVIRO ENGG PVT LTD (SEEPL) | THERMAX LIMITED, SATHYA SAI AQUA PURA SERVICES, OPTIMUS ENVIROPRO PVT LTD, SOPHISTICATED INDUSTRIAL MATERIALS ANALYTIC(SIMA) LABS PVT LTD, SOMBANSI ENVIRO ENGG PVT LTD (SEEPL) |  |
| 37 | DUCT FLANGE |  | ZECO/ROLSTAR/ECODUCT | ZECO/ROLSTAR/ECODUCT |  |
| 38 | EXPANSION VALVE |  | DANFOSS,INDFOSS,SPORLON,ALCO |  |  |
| 39 | FLOW SWITCH |  | RAPID COOL, SIEMENS, BCH, L&T | RAPID COOL, SEIEMENS, BCH, L&T |  |
| 40 | AUTOMATIC AIR VENT |  | RAPID CONTROL, ANERGY | RAPID CONTROL, ANERGY |  |
| 41 | 3-WAY MODULATING VALVE |  | HONEYWELL, SIEMENS, ANERGY, SUZLON, INDFOSS, DANFOSS | JOHNSON, ASKA,RAPID CONTROL, CASTLE |  |
| 42 | ROOM THERMOSTAT/AHU THERMOSTAT |  | HONEYWELL, SIEMENS, DASPASS,ESCOPRTS,INDFOSS, | HONEYWELL ,SIEMENS, DASPASS, ESCORTS, INDFOSS |  |
| 43 | HP/LP CUTOUTS/CONTROLS |  | HONEYWELL, PENN, DANFOSS,INDFOSS, |  |  |
| 44 | AIR WASHERS |  | BREEZE AIR , NICOTRA, PECMA,AIREF,AIRLOW |  |  |
| 45 | PROPERLLER FANS |  | ABB, KRUGER |  |  |
| 46 | BUTTERFLY VALVE |  | AUDECO, ADVANCE, DEEPAK, ZOLOTO |  |  |
| FIRE DETECTION, FIRE ALARM AND FIRE FIGHTING SYSTEM |  |  |  |  |  |
| 1 |  | FIRE HYDRANT | MINIMAX, FIREX, SAFEX, FLAME GUARD |  |  |
| 2 |  | RRL HOSE PIPE | NEWAGE, DUNLOP, COSMOS, FLAME GUARD |  |  |
| 3 |  | FIRE PANEL | MATHER & PLATT, MINIMAX SAFEX, AGNI,HONEY WELL, SYSTEM SENSOR,FIREX,NOTEFIRE |  |  |
| 4 |  | HOOTER/SIREN | MINIMAX,MELTRON,AHUJA,PHILIPS,AGNI |  |  |
| 5 |  | MANUAL CALL BELL POINT | AGNI SURKSHA,MINI MAX,FIREX |  |  |
| 6 |  | SMOKE/ HEAT/IONISATION DETECTOR ADDRESSABLE & NON ADDRESSABLE | APPOLO,EDWARDS,HONEY WELL SYSTEM SENSER | RAVEL |  |
| 7 |  | WATER SPRINKLER HEAD | TYCO,CEASEFIRE,SAFEX,MINIMAX,STARTECH FIRE SYSTEM,ELECTRONIC CONTROLS, CEASEFIRE |  |  |
| 8 |  | FIRE EXTINGUISHER ALL TYPE | MINIMAX FIREX, NEWAGE, NITIN, CEASEFIRE |  |  |

CA NO:  CWE/GGN/F-34/2018-19    	     														Serial Page No 149

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| S No | Product | GROUP OF PRODUCTS BASED ON MAKES / BRANDS |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | GROUP 1 | GROUP 2 |  | GROUP 3 |
| 1 | Cement |  | (a) M/s Sanghi Industries Ltd. 10th Floor, Kataria Arcade, Off S G Highway, PO- Makarba, Distt-Ahmedabad, Pin-380051 | “SANGHI” |  |
|  |  |  | (b) M/s Cement Manufacturing Company Ltd. Mayur Graden, 2nd Floor, Opp-Rajuv Bhawan, GS Road, Guwhati-781005 | “STAR” |  |
|  |  |  | (c) M/s Ultra Tech Cement Ltd. ‘B’ Wing, 2nd floor, Mahakali Caves Road, Andheri (East), Mumbai-400093 | “Ultratech” |  |
|  |  |  | (d) M/s OCL India Ltd. Rajgangpur, Distt-Sundargarh, Orissa, PIN-770017 | “Konark” |  |
|  |  |  | (e) M/s Dalmia Cement (Bharat) Ltd. Dalmiapuram Dist-Truchirappalli, Tamil Nadu-621651 | “Dalmia Cement” |  |
|  |  |  | (f) M/s Chettinad Cement Corporation Ltd. 4th floor, Rani Seethai Hall Building, 603, Anna Salai Hall, Chennai-600006 | “Chettinad” |  |
|  |  |  | (g) M/s Heidelberg Cement India Ltd 9th Floor, Infinity Tower “C”, DLF Cyber City, Gurgaon, Haryana-122002 | “Mycem” |  |
|  |  |  | (h) M/s My Home Industries Ltd, 9th Floor, Block-3, My Home Hub, Madhapur, Hyderabad-500081 | “Mahashakti” |  |
|  |  |  | (j) M/s Parasakti Cements Ltd. 123/3rt, Plot # 8-3-214/21, Srinivasa Nagar Colony (West) Hyderabad-500038 | “Prasakti” |  |
|  |  |  | (k) M/s Zuari Cement Ltd. No. 6, MC Nichols Road Chetpet Chennai-600031 | “Zuari” |  |
|  |  |  | (l) M/s Toshali Cements Pvt Ltd 123/#rt, 2nd floor, Sanjeeva Reddy Nagar, Hyderabad-500038 | “Gajapati” |  |
|  |  |  | (m) M/s Prism Cement Ltd. 3/113, Vivek Khand, Gomto Nagar, Lucknow-226010 | “Prism” |  |
|  |  |  | (n) M/s Shree Guru Kripa Cement (Pvt) Ltd 4/4, Trikuta Nagar, Jammu | “Sartaj” |  |
|  |  |  | (o) M/s Barak Valley Cements Ltd Debendra Nagar Badarpur Ghat Distt Karimganj Assam-788803 | “BVCL” |  |
|  |  |  | (p) M/s Dhruv Industrial Company Ltd. 49/27, Sinha Market General Ganj, Kanpur-208001 | “Dhruv” |  |
|  |  |  | (q) M/s The Ramco Cements Ltd. Auras Corporate Centre, 98-A, Dr. Radhakrishnan Salai, Mylapore, Chennai-600004 | “Ramco” |  |
|  |  |  | (r) M/s Saurashtra Cement Gala No A-1, Ground Floor, Udhyog Sadan No 3 MIDC, Central Road, Andheri (East), Mumbai-400093 | “Saurashtra” |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     															Serial Page No 150

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| S No | Product | GROUP OF PRODUCTS BASED ON MAKES / BRANDS |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | GROUP 1 | GROUP 2 |  | GROUP 3 |
|  |  |  | (s) M/s Lafarge Cement (Lafarge india Pvt Ltd.) Crescenzo, 1004, B-wing, 10th floor, C-38/39, G Block, Bandra Kurla Complex, Bandra (East), Mumbai-400051 | “Lafarge” |  |
|  |  |  | (t) M/s The Associated Cement Companies Ltd. 414-421, Splendor Forum (4th Floor), 3, District Centre, Jasola, New Delhi-110044 | “ACC” |  |
|  |  |  | (u) M/s Grasim Industries Ltd Birlagram, Nagda, Madhya Pradesh, PIN-456331 | “Grasim” |  |
|  |  |  | (v) M/s The India Cement Dhun Building, 827, Anna Salai, Chennai-600002 |  |  |
|  |  |  | (w) M/s The Andhra Cement Ltd Durga Cement Works, Durgapura, Dechepalli Guntur, Andhra Pradesh, PIN-522414 |  |  |
|  |  |  | (x) M/s Century Cements Industry House, 159 Church gate, Reclamation, Mumbai-400020 | “Century” |  |
|  |  |  | (y) M/s Binani Cements Ltd. Mercantile Chambers, 12, J.N. Heredia Marg, Ballard Estate, Mumbai-400001 | “Binani” |  |
|  |  |  | (z) M/s Mangalam Cement Ltd PO Adityanagar, Morak, Distt-Kota, Rajasthan-326520 | “Mangalam” |  |
|  |  |  | (aa) M/s Birla Corporation Ltd Birla Building (3rd & 4th floor) 9/1, R.N. Mukherjee Road, Kolkata-700001 | “Birla” |  |
|  |  |  | (ab) M/s Orient Cement 5-9-22/57/D, 2nd and 3rd Floor, GP, Birla Centre, Adarsh Nagar, Hyderabad-500063 | “Orient” |  |
|  |  |  | (ac) M/s Shree Cement Bangur Nagar, Beawar, Distt-Ajmer, Rajasthan-305901 | “Shree” |  |
|  |  |  | (ad) M/s J K Cement Kamla Tower, Kanpur-208001 | “J K” |  |
|  |  |  | (ae) M/s J K Lakshmi Cement Ltd Jaykaypuram, Distt-Sirohi, Rajasthan | “J K Lakshmi” |  |
|  |  |  | (af) M/s Jaypee Rewa Cement Jaypee Nagar, PO-Jaypee Nagar, Rewa-486450 MP | “Jaypee” |  |
|  |  |  | (ag) M/s Ambuja Cement Ltd Kodinar, PO-Ambujanagar, Taluka-Kodinar, Distt-Junagadh, Gujarat-362715 | “Ambuja” |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     															Serial Page No 151

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

| Srl No | Product | Company Name & Brand | Address | Type of Steel | Valid Upto |
| --- | --- | --- | --- | --- | --- |
| 2 | TMT Steel | (a) Rashtriya Ispat Nigam Limited (RINL) Brand : “RINL” | Visakhapatnam Steel Plant, Visakhapatnam -530031, India. Tel : (91 891) 518226, 518376, Fax : (91891) 518316, Email: cmdvsp@itpvis.ap.nic.in | All | - |
|  |  | (b) Tata Iron & Steel Company (TISCO, or Tata Steel) Brand “TATA” | Bombay House, 2, 4 Homi Modi Street, Mumbai-400001, India, Tel:(9122)2049131, Fax: (9122) 2049522, 2870840, Email:corpcomm@jsr.tatasteel.com (Br office for North : Jeevan Tara Bldg, Patel Chowk, New Delhi) | All | - |
|  |  | (c) Steel Authority of India Limited Brand “SAIL” | Central Marketing Organization, Northern Region, 17th Floor, scope Minar, Laxmi Nagar Distt. Centre, Delhi-110092 | All | - |
|  |  | (d) M/S Jai Balaji Industries Ltd. Brand “Balaji Shakti” | 5 Bentek street, Kolkata-700001, Delhi office :-510, Block-b, Navraung House 21 Kasturba Gandhi Marg, New Delhi-110001. Tele: 011-43620219, 43620220, Mob-7838272772/9958936103, Email: info@jaibalajigroup.com | TMT Bars of Gde Fe 500 Fe 500D | Feb 2023 |
|  |  | (e) M/S Shyam Steel Industries Ltd. Brand “SHYAM” | Shyam Towers EN-32, Sector-V, Slat Lake, Kolkata-700091, Tel-033-40074007 Fax-033-40074010, Email: marketing@shyamsteel.com | TMT Bars of Gde Fe 500 Fe 500D CRS | Jan 2023 |
|  |  | (f) M/S SPS Steels Industries Ltd. Brand : “ELEGANT TMT” | Elegant Towers, 68A, Ballygunge Circular Road, Kolkata-700019, Ph-033-2895160/67 Fax-033-22894386, Email: spsdelhi@spsgroup.co.in | TMT Bars of Gde Fe 500/ Fe 500D Fe 550 | Feb 2023 |
|  |  | (g) M/S Steel Exchange India Ltd. Brand “SIMHADRI TMT” | My Home Laxminivas Apartments, Ameerpet, Hyderabad-500016, A.P. Tel-040-23403725, Fax-040-23413267, Email: info@seil.co.in | TMT Bars of Gde Fe 500 Fe 500D HSCRM | Jan 2023 |
|  |  | (h) M/S Jindal Steels and Power Ltd. Brand “JINDAL PANTHER” | OP Jindal Road, Hissar, Haryana, PIN-125005 Tel-+91 1662 222471-84, Fax-+91 1662 220476 | TMT Bars of Gde Fe 500/ Fe 500D, Fe 550 /Fe 550D | Feb 2023 |
|  |  | (j) M/S SRMB Srijan Pvt Ltd Brand “SRMB” | SRMB House, 7, Khetra das lane, Kolkata-700012, Tel : 033-66006600 Fax: 033-22110483 | TMT Bars of Gde Fe 500/ Fe 500D, Fe 550 /Fe 550D,(Size 8-32 mm) | Aug 2022 |
|  |  | (k) M/S Concast Steel & Power Ltd. Brand: “CONCAST MAXX” | 21 Hemant Basu Sarani, Suit Nos -511 & 512, 5th Floor, Kolkata-700001 Tel-91-33-2213041-87, 91-33-22130488, Email:info@concastgroup.com | TMT Bars of Gde Fe 500/ Fe 500D, (Size 8-32 mm) | Aug 2019 |
|  |  | (l) M/S Shri Bajrang Power & Ispat Ltd Brand “GOEL TMT” | Vill-Borjhara Urla Industrial Area, Raipur-493221, Chhattisgarh, Tel: 0771 4288019/29/39 | TMT Bars of Gde Fe 500, Fe 500D(Size 8-32mm) | Jan 2020 |
|  |  | (m) M/S JSW Steel Ltd Brand “NEOSTEEL” | JSW Centre, Bandra Kurla Complex, Bandra (East) Mumbai-400051, Maharashtra Phone: 022-42861000, Fax-022-42863000 | TMT Bars of Gde Fe 500, Fe 500D CRS(Size 8-40mm) | Feb 2023 |
|  |  | (n) M/S Electrosteel Steels Ltd Brand “ELECTROSTEEL” | G K Tower, 2nd & 3rd Floor, 19 Camac Street, Kolkata, WB-700017 Tel No: 91-33-2283-9990, 91-33-7103-4400 Fax: 91-33-22902882, Website : www.electrosteel.com | TMT Bars of Gde Fe 500D (Size 8-36mm) | Aug 2020 |

Contd../-

CA NO:  CWE/GGN/F-34/2018-19    	     															Serial Page No 152

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

| Srl No | Product | Company Name & Brand | Address | Type of Steel | Valid Upto |
| --- | --- | --- | --- | --- | --- |
|  | TMT Steel (contd../) | (o) M/S Shyam Metalics & Energy Ltd. Brand “SEL” | Viswakarma, 1st Floor, 86 C, Topsia Road, Kolkata-700046 Ph: +91 33 22852212, Website: www.shyamgroup.com | TMT Bars of Gde Fe 500, Fe 500D(size 8-32mm) | Dec 2020 |
|  |  | (p) M/S Kamachi Industries Ltd Brand “KAMACHI” | ABC Trade Centre, 3rd floor, (Inside Devi Theatre Complex) Old No. 50, New No. 39, Anna Salai, Chennai-600002, India. Tel: +91-044-42961100, Fax: +91-044-42961122, Email: sales@kamachitmt.com, Website: www.kamachitmt.com | TMT Bars of Gde Fe 500, Fe 500D, Fe 550, Fe 550D HCRM(Size 8-40mm) | May 2021 |
|  |  | (q) M/S BDG Metal & Power Ltd Brand “BDG 6” | HMP House, 4 Fairlie Place, 5th floor, Kolkata-700001, India, Tel: +91-33-4005-9005 Fax: +91-33-4005-9095, Email: info@goyalgroup.in, Website: www.goyalgroup.in | TMT Bars of Gde Fe 500 Fe 500D Fe 550D(size 8-40mm) | Mar 2019 |
|  |  | (r) M/S Gallant Metal Ltd Brand “GALLANT TMX” | Ward 10BC, Plot No. 123, Ground floor, Gandhi Dham, Kutch, Gujrat-370201 Tel: +91-2836-228164, Fax: +912836-235787, Email: gml@gallantt.com Website: www.gallantt.com | TMT Bars of Gde Fe 500 Fe 500D(size 8-32mm) | Jul 2019 |
|  |  | (s) M/S Rashmi Metaliks Ltd Brand “RASHMI TMT” | Premlata Building, 39, Shakespeare Sarani, 6th floor, Kolkata-700017 Tel: 033-22894255/56, Fax: 033-22894254, Email: domesticdip@rashmigroup.com Website: www.rashmigroup.com | TMT Bars of Gde Fe 500(Size 8-32mm) Fe 500D, Fe 550D(Size 8-25mm) | Aug 2019 |
|  |  | (t) M/S Real Ispat & Power Ltd Brand “G K TMT” | Vrindavan, Near IDBI Bank, Civil Lines, Raipur-492001, C.G. Tel: +91-771-4224000, Fax: +91-771-4224010, Email: real@realispat.com Website: www.realispat.com | TMT Bars of Gde Fe 500 Fe 500D (Size 8-36mm) | Jan 2020 |
|  |  | (u) M/S Super Smelters Ltd Kolkata Brand “SUPER SHAKTI” | Premlata, 39, Shakespeare Sarani, 3rd floor, Kolkata-700017, Tel/Fax: +91-33-2289-2734/36, Email: info@supershakti.in Website: www.supershakti.in | TMT Bars of Gde Fe 500 Fe 500D, Fe 550(Size 8-32mm) | Feb 2020 |

| Srl No | Product | Company Name & Brand | Address | Type of Steel |
| --- | --- | --- | --- | --- |
| 2A | Structural Steel | (a) Rashtriya Ispat Nigam Limited (RINL) Brand “RINL” | Visakhapatnam Steel Plant, Visakhapatnam -530031, India. Tel : (91 891) 518226, 518376, Fax : (91891) 518316, Email: cmdvsp@itpvis.ap.nic.in | Structural Steel (Angle, Beam, Column, Channel, Plate) |
|  |  | (b) Tata Iron & Steel Company (TISCO, or Tata Steel) Brand “TATA” | Bombay House, 2, 4 Homi Modi Street, Mumbai-400001, India, Tel:(9122)2049131, Fax: (9122) 2049522, 2870840 Email:corpcomm@jsr.tatasteel.com, (Br office for North : Jeevan Tara Bldg, Patel Chowk, New Delhi) | -Do- |
|  |  | (c) Steel Authority of India Limited (SAIL) Brand “SAIL” | Central Marketing Organization, Northern Region, 17th Floor, scope Minar, Laxmi Nagar Distt. Centre, Delhi-110092 | -Do- |
|  |  | (d) M/S Jindal Steels and Power Ltd Brand “JINDAL” | Jindal Centre, Plot No. 2, Sector-32, Gurgaon-122001, Haryana, Tele-01246612000 Fax-01246612125 Website: www.jindalsteelpower.com | -Do- |

Contd…/-

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 153

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| S No | Product | GROUP OF PRODUCTS BASED ON MAKES / BRANDS |  |  |
| --- | --- | --- | --- | --- |
|  |  | GROUP 1 | GROUP 2 | GROUP 3 |
| 3 | Pressed Steel Door Frames/Chowkhats for Doors/Cupboard and Window frames | M/s SK Steel Fabricators Ludhiana, M/s Sehgal Doors, New Delhi, M/s Bhawani Steel Fabriction, Ghaziabad, M/s India Mart Intermesh Ltd, Hyat Interiors, Ashish Industries, Shivam Metal Shapers | SS Engg Industries, Ghaziabad, Dahiya Industries,Panchkula, M/s Metal Window Corporation, New Delhi, M/s Ishwar Industries, Meerut, M/s Trishul Industies, M/s Aswani & Sons, M/s Jangid Engineering Works , Ghaziabad, M/s GS Udyog, Kanpur,Shri Krishna Associates, Panchkula, Steel Master Industries, Panchkula, Pioneer Fabricatrion Meerut, Vardhman Precision Tubes and profiles, New Delhi M/s Royal Safe Works, New Delhi, M/s Delite Safe works, New Delhi,M/s Jangid Engineering Works, M/s Steelman Industries, Jalandhar,M/s laxmi steel Works, Rohtak, | M/s Anoop Industries, M/s Mohata Engg & Construction Co, Bikaner, M/s Chhabra Steel Udyog, Meerut, M/s Chandni Industries. |
| 4 | Steel Window/Vents | Agew Steel Manufacturer PVt. Ltd, Ahmedebad, Multiwyn Industial Corp, Kolkata, Satkar Industies, Pathankot Rd Jalandhar, Arcat, Ashish industries, Shivam Metal Shapers | Ganpat doors, Rajpura, M/s Metal Window Corporation, M/s Mohindra Fabricators, M/s SK Fabrication (India) M/s Gurjeet Industries, M/s GR Kalsi & Co, M/s SKS Industires,M/s Steel PlastsMachines,M/S Surbi Metal(India),Govind Enterprises,Delhi, M/s GS Udyog, Kanpur, M/s Shree Krishna Associates, Panchkula, M/s Jangid Engineering Works, Jaipur, Godrej and Boyce, Mfg, Mumbai, Steel Master Industires, Jalandhar, Shri Krishna Associates, Punchkula, M/s Bharat Steel fabrication & Engineer,Ghaziabad,M/S Laxmi Steel Works , Rohatak, M/s Steel Man Industries Jalandhar | Anup Industires, M/s Chandni Industries, Sen Harvice, Mumbai, M/s Bihar Bobbin & Engg Works, Katihar, M/s Mohata Engg & Construction Co. Bikaner |
| 5 | Rolling Shutters & Rolling Grills | Swastik Rolling Shutters & manufacturing works,Mumbai, Hercules Rolling shutters Bangalore, Standard Industries Pune | Prakash & Co, New Delhi, Ishwar Industries, Meerut Cantt, Dahiya Industries, Panchkula, Shubdwar, M/s Prakash Industies, SKS Steel Industires, New Delhi , M/s Akash Rolling Shutters, Delhi, M/s Auto Rolling Shutters Enterprises, Delhi, Rama Rolling Shutters industries New Delhi, Shri Krishna Associates, Panchkula, M/s Bharat Rolling Shutters Industries, Jabalpur, M/s Prakash Rolling Shuttter Delhi,M/S Steelman Industries, Jalandhar, Chabra Steel Udyog. |  |
| 6 | Welded wire Mesh/Fabric | Multiweld Wire Co Ltd, Mumbai, Jainsons Sales Crop, Delhi, Jaisons industries | Multiweld Wire Co Ltd, Mumbai, Jainsons Sales Crop, Delhi, Jaisons industries |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 154

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 8 | Factory mad Panelld Door Shutters | M/s MP Wood Product Indore, M/s Jainwood Industires (Jayana Board) Delhi, M/s Jain Doors Pvt Ltd Sonipat. | Chandigarh Timber Products, Patiala, M/s New Jagdamba Doors, M/s AB Composites Pvt Ltd, M/s Haryana Industries, M/s Supreme Doors and allied products, kanpur, M/S NND Wood Industries, Srigananagar, M/S Shakti Industries, Dhanaula. M/s Sarab Enterprises, Kangra,M/s Ecocell Doors, Udaipur, M/s Massonite Doors, Pathankot, Pioneer Timber Products, Chandigarh, Goyal Industiral Corporation New Delhi, Shri Krishna industries, Panchkula, M/s Laxmi Doors, M/s Joinery Manufacturing Co Kolkata, | M/s Rajendra, M/s Neha Indusries, M/s Goel Brothers, Raipur, M/s Surbhi, Metal India, Ltd, Jodhpur. |
| --- | --- | --- | --- | --- |
| 9 | Factory made Flush door Shutters | M/s Green Ply Industries, M/s Centuary Ply, M/s Dura Ply. Mysore Chip Board, Archid, Swastik Ply Wood, M/s Jain Wood Industries | Sitapur Plywood Manufacturers Sitapur, M/s Laxmi Doors, Lucknow, Merino Flush Door, Faridabad. MP Wood, Goyal Industries Faridabad | M/s Harkirat Industries, M/s PR Ceiling Products |
| 10 | PVC Door Frame/Shutters | Sintex, Rajshri Plastiwood Ltd, M/s Dura Plast Extraction PVt Ltd, M/s Fenesta | M/s Poly Window, Pune Accura, Polytech Ahmedabad, Fixopan indo Plast Pvt Ltd, New Delhi |  |
| 11 | UPVC Window/Doors | Fenesta, Veka Industries Pvt Ltd Mumbai, Kundli Industrial Estate, Sonipat, H2O solutions | Accura Polytech, Kumar Arch Tech, Poly windows, Pune, H20 Solution (Window & doors) |  |
| 12 | Iron Mongery | Mowjee, M/s Kitch Architectural Product Pvt Ltd, RS Industries. | Mowjee, M/s Kitch Architectural Product Pvt Ltd, RS Industries. |  |
| 13 | Standard Mortice lock | Godrej, Harrison, Link | Godrej, Harrison, Link |  |
| 14 | Hydraulic Door Closer | Everest, Universal, Godrej | Amar, Sandhu, Priya |  |
| 15 | Anodised Aluminium Doors/Window/Frames/Partitions | Fenesta, jindal, Indal, Hindalco | Alumininum System Corp, Mumbai, Nairs Arkinetal Enterprises, New Delhi, Aluminium Manufacturing Co, Kolkatta Santosh & Co, New Delhi, Dada Aluminum Fabricators, Jalandhar, M/s Alumilite PVt Ltd, Dhiraj, M/s Ajay Industries, Bombay, M/s Ramnikal S Raste,, Jabalpur, M/s Aluminium Tech Industries, Delhi, M/s VR Associates, Delhi, Mahavir, Ambala, Consolidated Engineer Com, New Delhi, Aluminium PVT LTd, Ajit India Pvt. Ltd |  |
| 16 | Aluminium wooden Doors and Window Fittings | Argent Industries, Mowjee, Crown | M/s Elite Enterprises, Mumbai, M/s Classic, NEW Delhi, M/s aluminium Udyog, M/s Mohan Metal Industries, Delhi | Ganpati |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 155

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 16 | Aluminium Section | Hindalco, Jindal, Indal | Valco Industries Ltd Chandigarh, Banco Aluminium Ltd. Vadodra Gujrat. |  |
| --- | --- | --- | --- | --- |
| 17 | Aluminium Sheets | NALCO Pvt Ltd, CRIL, Jindal, BALCO | Jagdish Aluminium Pvt Ltd, Ahmedabad, Gurjat, Alco Industires Pvt Ltd New Delhi |  |
| 18 | Aluminium Composite Panels | ALCO Bond, Aluminium Clad, Alstrong, Armstrong | Alstone |  |
| 19 | Particle Board(Veneered & Unveneered Laminaed) | Kitply, Nova Pan Industries, New Delhi, M/s Green Ply Industries Ltd, Archid Ply, Bhutan Board, Dura Board Mysore Chip Board Ltd | Bakelite Hylam LTd | Asis Particle Board, Shirdi Industries, Arolite Ceiling System Pvt Ltd , M/s Associate Décor Ltd |
| 20 | Plywood for General Purposes | Dura Ply, Archid ply, Bhutan Board, Archid Board, Century, Durian, Mysore Chip Board Ltd | Swastik Ply, Jaipur, National Plywood Industries PVT Ltd, Kolkata, Merino Plywood, Mayur Ply, Jayna Plywood ,M/s Janardhan Ply Board Industries | Sh Ram Pannels Pvt Ltd Punjab, Rams Wood & General Industries Ltd, BLJ Plyam Marketing Pvt Ltd, MP & Co. |
| 21 | Decorative Laminates | Archid Lam, Sunmica, Merino, Lam, Mysore Chip Board,Greelam | Sungloss, Formica, ecolam, Bakelite Hylam |  |
| 22 | Fibre Board(Medium Density) | Novapan,Bhuttan Board, Kit Ply, Mysore Chip Board Ltd, Green Panel Max (plain exterior Grade MDF/prelam/veneered MDF/Green Floormax Laminated) | Managalam Timber Products, Kolkatta, Ramco Industries Ltd, DECO, Green Panel Max Plain exterior MDF |  |
| 23 | Pre Fab Panel Boards/Wall Lining ceiling tiles | Lafarge, Boral Gypsum Board Pvt Ltd, Shri Nepal Board Ltd, Aerolite Ceiling System Pvt Ltd, Hilux, Armstrong, V Board | Ramco Industries Pvt Ltd, Endura Modular Systems, Reliance Bldg System , BPB India Gypsum Ltd | M/s PR Ceiling Product,Dexume Marketing Pvt Ltd, M/s Bharat Steel Roll BahadurGarh(Calsi Brand) |
| 24 | Galvanised steel sheets & Colour Coated galvanized steel sheets | SAIL, TATA, Jindal, Bhushan | Aone Industires, Bhushan, CRIL, Prestar | Bhushan |
| 25 | Polycarbonate Sheets | Duratuff, Lexan , VMT Plaste Ltd M/s Coxwell Domes Engg Pvt Ltd | Duratuff, Lexan , VMT Plaste Ltd M/s Coxwell Domes Engg Pvt Ltd |  |
|  | Galvalume sheets | Indian Ispat, TATA Blue scope, JSW, Bhishan Galvacolor | Multicolor, aone industries, metco Global, CRIL, Kirby, Prestar | Bhushan Galvacolor |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 156

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 26 | AC Sheets/AC Boards (Corrugated, Semi Corrugated) | Charminar, Ramco, Everest | Swastik, Bombay, M/s Eternit Everest Ltd, UP Asbestos Ltd |  |
| --- | --- | --- | --- | --- |
| 27 | Gypsum Board | India Gypsum, Lafarge, Son Industries, Kanpur | India Gypsum, Lafarge, Son Industries, Kanpur |  |
| 28 | PVC Tiles/Sheet | Primer Polyfilm Ltd, Wonder Floor, Armstrong | Rikvin Floot Ltd, New Delhi, Fixopen Machineries, New Delhi, Krishna Tiles, Polyfin |  |
| 29 | Glass Mosaic Tiles | Johnson, Italia, Coral Mosaic, NITCO | Paladio, Accura, Bisazza, Mridul, Unistone, Arihant |  |
| 30 | Terrazzo Tiles /PPC Tiles/PPC Chequered tiles | NTC,NITCO, Eurocon, Duracrete | Ultra Tiles Pvt Ltd Bharat Tiles, Mehtab Tiles, Regent Tiles, Hindustan Tiles, SS tiles | Oasis Vitrified Pvt. Ltd. |
| 31 | Interlocking Tiles/Exterior Tiles/ Paver Blocks | Unistone, NTC, NITCO, Ultra, Johnson, Surya K | Terra Firma, A-One tiles, Coral, Mehtab, Tiles, Pavit, SS Tiles, Hindustan Tiles | Shri Tiles, Surya K, Singh Traders |
| 32 | Decorative textures/Coatings | Unitile, Bakelite Hylam (Heritage) NCL Altek Seccolor, Dulux (Acratex), Apex (Duracast), British ( Xtracem 76) | Luxture surface coatings, Spectrum Paint |  |
| 33 | Exposed Brick Façade | Unistone, Pioneer Bricks, Regent Tiles | Unistone, Pioneer Bricks, Regent Tiles |  |
| 34 | Glazed Earthen Ware Tiles | H&R Johnson, Kajaria, Somani | Orient Ceramic, Asian, Vermora, Orient Bell |  |
| 35 | Glazed Ceramic/non Skid Wall/Floor Tiles | Kajaira, H&R Johnson, Cera, Unistone , Somani, NITCO, Eurotiles, Spartek, Cengres, Simpolo, Sunheart, Varmora | National tiles , Ultra, tiles, Orient Ceramic, Asian, Swastik, Varmora, Orient Bell, Bonzer-7 (Trial) | Victory Ceratec, Sogo Ceramics, Oricle Granites, Royal tiles, GEM tiles, Regency, Romano, Ferrous-Crete, Mashusudan Ceramics, Pavit Ceramic, Oasis Vitrified |
| 36 | Vitrified Tiles (Normal/Antiskid) | Somani,Kajaria, johnson,Orient Bell, NITCO, Cengres, Simpolo, Sunheart, Varmora | Murdushwar Ceramics Ltd, Orient, Asian, Swastik,Crystal, Bonzel-7(Trial) | Oasis Vitrified, Oracles Granito. |
| 37 | HDPE Storage Water Tanks | Sintex, Polycon, Sheetal | Rotex, Fusion, SPL, Diplast Plastics, Aqua Polymers | Uniplus |
| 38 | Sanitary appliances/fittings(Chinaware) | Hindustan Sanitary Ware, Parryware,Cera, Jaquar, Neycer | Duravit, Madhusudan Ceramics | Blue Star Sanitary, Anupam Industires, Sona Ceramic, Prakash Industries,SFMC Solution |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 157

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

|  | Water Closet Seats and cover (Solid Bakelite) Thermostat Moulded toilet seat cover | Parryware, Jaquar, Somani, Commander, CERA, Neycer | Supreme, Prayag, Polytuff, Milennium | Ajanta, Precision Products |
| --- | --- | --- | --- | --- |
|  | PVC Flushing Cisterns | Hindustan Sanitary Wares, Commander, Parryware, CERA, Jaquar, Johnson Pedar, Neycer | Khodiyar Pottery Works, Milennium, Supreme, Prayag | Precision Products |
| 39 | CI Flushing Cistern | Hindustan Sanitary Ware, Parryware, Orient Sanitary Ware | Sanifix Inida, Phenoweld Polymer, Anupam industries | Areal Bros, Hind Iron Foundry, Jaipur Maze Products |
| 40 | Stainless Steel Kitchen Sink with or without Draining Board, Plate Rack | NIRALI, Kobra, Neelkanth, Jayna Blue Star | Pheonix Diamond, AMC, Prestige, Allex, Neel, Prayag Polymers, Anupam Industries, Vardhaman Enterprises (Jain ko), Elite Metal Products, Franke India Pvt Ltd Prakash Sanitary Appliance, Shakti Enterprises | RA Engineering Industries, Plasto Craft, Impex Sanitation Kodar Industries |
| 41 | Ball Valves (Horzontal Plunger type) | Dripless Faucets India, Flowjet , Ball Valves Inida. | Hind Enterprises, Prakash & Co, Leader valves, Bombay metal, Taurus Engineering Industries, Prima |  |
| 42 | Shower Roses Chromium plated (Swivel Type) | GEM,JAQUAR, Jal | Jainka,Blustar, Prima | Jal, Shakti |
| 43 | Bath room Fancy fittings | JAQUAR,GEM,MARC, Jalangi | Anchor, Spectrum,Pico,Dripless, Kingston, Prima | Shakti, Jalangi, Coronet |
| 44 | Bib Taps and Stop Taps (CP) Fancy fittings | JAQUAR, PARKO, GEM, Marc, ESS ESS, Jalangi | ELITE, Zim, Prima, Essco, Jainko, Prayag, Jalangi, Coronet, Shakti | Jalangi, Coronet, Shakti |
|  | Bathroom Cabinets | Jaquar, Cera, Commander, Parryware | Gratolite,Alpina,Prayag, Pearl | Pearl |
|  | Salt Glazed Stone Ware Pipes/ Glazed Stone Ware Pipes | Devraj Industrial, Buran, Perfect Santiary Pipe, Superme Pipe and fittings | Shri Kamakshi Agencies, Hind Creamics, Bhardwaj stone Ware, Binary Udyog, Creamic Industries | Bhaskar Sons, TriumatiMoulds, Kiran Potteries |
|  | Concrete Hume Pipes | Indian Hume Pipe Company | Jain Spun,DayaSpun,Delhi Spun pipe,Ramnik Enterprises | Hindustan Pressure Pipes, Bhasker Sons |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 158

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 46 | AC Pipes | Hyderabad Asbestos,Everest, Ganga Asbestos, Konark Cement and Asbestos | JK Super Pipes , Sarbamangala Manufactruing Co, Maharashra Asbestos | Poddar Industrial Corporation |
| --- | --- | --- | --- | --- |
| 47 | PVC Rain Water Pipe/Sewage Pipes | Supreme,Finolex,Reliance | Kissan, Prince,Diplast Plastics |  |
| 48 | GI Pipe /fittings | Jindal, TATA, NECO<UNCO Steel Industries, Bharat Steel Tube Delhi, Bhishan, APL Appolo | Nidhi Pipe Ltd, Swastik Ltd, Surya Roshni (Prakash) Indus Tubes Ltd Bhushan, APL Applo | Tirupati, J-Steel, JTL, Bhushan, APL Applo |
| 49 | CI Pipes Fittings (For Sewerage/Rainwater) | SKF,SRIF, Singhal Iron Foundry, Hindustan Engineering Products, Jindal Saw, NECO(Jayaswal), HEPCO(BinaryUdyog) | Ashutosh Casting LTd, Veetus Industries LTD,Anand Founders&Engineers, Electrosteel,Kesoram, BIC, NFL. | Bhara Industrial corpn Delhi, New india Founry, Ludhinana, Mahavir Iron Foundry, NFL |
| 50 | Soil Waste Pipes fittings/steel Manhole Cover | SKF,Singhal Iron Foundry, NECO,SLIC | BIC |  |
| 51 | PPR Pipes | SFMC,SAFE,WETFLOW | Diplast Plastics, Veekay Technocrat PVt Ltd, Amitex Polymers, Kitec Industries Ltd | Hindustan Plastics & Machine Corpn |
| 52 | HDFE Pipes/SNR Pipes(Water/Sewage) | Gamson India, Dustron, Rex Polyextrusion Ltd, SRIF, SKF | Kirti Industries India Ltd, Vertex Green Poly Pipes, Uniplus,Diplast Plastics | Nandi Polymer, Tirupati, Structurals |
| 53 | Sand Cast Iron Spigot & Socket Soil Waste, Vent Pipes & fittings | SRIF, RIF (Gola Castings), NECO (Jayaswal), HIF | Raj Iron, Foundary, BIC Kolkatta, Kajecao, NFL | KK Pumps, NFL |
|  | Cement Based Paints | Snowcem, Asian, Jenson & Nicholson, Berger, Duracem, British Xtracem | Acquolac Paints, Godavari Paints, Rajdoot Paints, Classic Paints, Acropoints | Gattocem, Rubycem, Cemkote, Snow White Industrial Corpn |
|  | Dry Distemper/Oil Bound Distemper/Plastic Emulsion /Exterior emulsion /Silicon paints & Coating | Goodless Nerolac Paints, Jenson & Nicholson, Berger Paints, ICI Dulax, Asian paints, British Acri silk | Shalimar Paints, Godavari paints, Acro Paints |  |
|  | Plastic Emulsion Paint | Berger (Silk,Rangoli easy clean), Asian (Royale, Apcolite advance), Akzo Nobel (Velvet touch), Nerolac (Impression ecoclean, impression 24 carat), British (Splendour luxury) | Berger (Rangoli emulsion), Asian (Premium emulsion), Akzo Nobel (Supermooth), Nerolac (Lotus Touch Beauty Gold), Jenson & Nicholson (Eqvt. Make), Shalimar (Eqvt. Make), Shalimar (Equt. Make), British (Glamour Premium). | Bergar (Bison emulsion), Asia(Tractor emulsion), Akzo Noble (Rainbow), Nerolac(Beauty silver, Little Master), Jension & Nicholson (Eqvt. Make) Shalimar (Eqvt Make), British Interior Emulsion. |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 159

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 64 | Paint Exterior | Berger (Weather Coat all guard), Asian (Apex Ultima) Akzo Noble (Weather shield max), nerolac (Excel total), British ( Expa-7 Advanced) | Berger (Weather Coat smooth), Asian (Apex weather proof) Akzo Noble (Weather shield), nerolac (Suraksha Advanced), British (Expa Cool) | Berger (Walmasta), Asian (Ace) Akzo Noble (Promise), nerolac (Suraksha Plus), British (Shiner Exterior) |
| --- | --- | --- | --- | --- |
| 65 | Synthetic Enamel Paint | Goodless Nerolac Paints, Jenson & Nicholson, Berger Paints, ICI Dulux, Asian paints, British (Glo Highgloss) | Aquolac Paints, Shalimar Paints, Acro Paints, British (YAK) | British (20-20 Synthetic) |
| 66 | False Ceiling Tiles Fiber Cement Board | Lafarge, Boral, Gyproc, Armstrong, Diaken, Lloyds, luxalong., Dexune V- Board | Reliance big System , BPB India Ltd, Shree Nepal Boards, Bhutan , Duratuff, Anchor, V Board | Dexune Mareting, Endusa Modular System, V Board |
| 67 | Drapery rods | Vista Levalor | Visa Levalor | Visa Levalor |
| 68 | Mirror Looking | Saint Gobain, Modi Float, Triveni Float Glass | Saint Gobain, Modi Float, Triveni Float Glass, Crown, Prayag polymers | Saint Gobain, Modi Float, Triveni Float Glass, Crown, Prayag polymers |
| 69 | False Ceiling | Gypboard, Armstrong, Anchorlam Anchor, Hi Steel, Dexune | Gypboard, Armstrong, Anchorlam Anchor,Bhutan Boad, Duratuf, Aerolite, Hi Steel, Dexune. | Gyboard, Armstrong, Anchorlam Anchor,Bhutan Boad, Duratuff, Aerolite, Hi Steel, Dexune. |
| 70 | PTMT Fitting | PRAYAG, Shakti , Polytuf | PRAYAG, Shakti , Polytuf, Pearl, Millennium Ajanta Polymers | PRAYAG, Shakti , Polytuf, Pearl, Millennium Ajanta Polymers |
| 71 | Tiles PCC (Chequered/plain/Terrazzo) | (a)Mehtab Tiles (b) NITCO (c) Bharat Tiles (d) Hindustan Tiles (e) Regent Tiles (f) NTC (g) Oasis Vitrified Pvt Ltd | (a)Mehtab Tiles (b) NITCO (c) Bharat Tiles (d) Hindustan Tiles (e) Regent Tiles (f) NTC (g) Oasis Vitrified Pvt Ltd |  |
| 72 | WC Seat cover ISI Marked | (a) Commander (b) Parryware; (c)Hindware (d) Prayag (e) CERA | (a) Commander (b) Parryware; (c)Hindware (d) Prayag (e) CERA |  |
| 73 | Steel Windows | (a) M/s Ram Fabricators Pvt. Ltd., 223, Industrial Area, Panchkula (b) Ganpati Doors, 18, Industrial Estate Rajpura (c) Tee Pee Entps, Gill Road, Ludhiana Punjab (d) Friends Manufacture Co., B-1 Focal point, Kotakapura, PB (e) Steelman Industries, Old Adda, Kapurthala, Jalandhar City. (f) Steelmaster Industries, Old Area, Kapurthala, Jalandhar City (g) Bharat steel fabricators & Engineers, 44 Majitha Road,B/S Canara Bank, Amritsar | (a) M/s Ram Fabricators Pvt. Ltd., 223, Industrial Area, Panchkula (b) Ganpati Doors, 18, Industrial Estate Rajpura (c) Tee Pee Entps, Gill Road, Ludhiana Punjab (d) Friends Manufacture Co., B-1 Focal point, Kotakapura, PB (e) Steelman Industries, Old Adda, Kapurthala, Jalandhar City. (f) Steelmaster Industries, Old Area, Kapurthala, Jalandhar City (g) Bharat steel fabricators & Engineers, 44 Majitha Road,B/S Canara Bank, Amritsar |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 160

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 74 | Dry Distemper/Oil Bound Distemper/Plastic Emulsion /Exterior emulsion /Silicon paints& Coating | (a) Choksey (b) Fairmate; (c) Pidilite; (Dr Fixit- such as Terrece water proofing - Roofseals, New coat, Sunkens area -Fastflex, Pidifin 2K, Bathseal kit, General repair/water proofing- Powercrete, Pidicrete URP) (d) MC Bauchemie; (e) CICO; (f) Fosroc (g) Kunal Conchem (h) SIKA (J) STP LTD | (a) Choksey (b) Fairmate; (c) Pidilite; (Dr Fixit- such as Terrece water proofing - Roofseals, New coat, Sunkens area -Fastflex, Pidifin 2K, Bathseal kit, General repair/water proofing- Powercrete, Pidicrete URP) (d) MC Bauchemie; (e) CICO; (f) Fosroc (g) Kunal Conchem (h) SIKA (J) STP LTD |  |
| --- | --- | --- | --- | --- |
| 75 | INTEGRAL WATER PROOFING COMPOUND | (a) Water Seal/Acro1/Acroflo LWP from Acro Paints (b) Fair Plast IP from Fairmate (c) SIKA (d) Pidilite (Dr Fixit LW +, Dr Fixit) (e) Fosroc (f) Choksey (Masterproof IWP-1) (g) Kuna kon from Kunal Conchem (H)STP Ltd(h) BASF (j) Maruti Bitumen Pvt Ltd | (a) Water Seal/Acro1/Acroflo LWP from Acro Paints (b) Fair Plast IP from Fairmate (c) SIKA (d) Pidilite (Dr Fixit LW +, Dr Fixit) (e) Fosroc (f) Choksey (Masterproof IWP-1) (g) Kuna kon from Kunal Conchem (H)STP Ltd(h) BASF (j) Maruti Bitumen Pvt Ltd |  |
| 76 | APP MODIFIED MEMBRANE FOR WATER PROOFING AND DAMP PROOFING | (a) Multi-plas-M/s Texas; (b) Shalimar Tar Products; (c)Tikitar; (d) Torch Tar (e) Pidilite Ind Ltd (Dr Fixit Torch Shield) (f) Bengal Bitumen (g) Modern Bitumen Pvt Ltd (h) Shivam Tar Products (j) Hyper Plas from IWL India Ltd (k) STP Ltd | (a) Multi-plas-M/s Texas; (b) Shalimar Tar Products; (c)Tikitar; (d) Torch Tar (e) Pidilite Ind Ltd (Dr Fixit Torch Shield) (f) Bengal Bitumen (g) Modern Bitumen Pvt Ltd (h) Shivam Tar Products (j) Hyper Plas from IWL India Ltd (k) STP Ltd |  |
| 77 | Polyurethane Joints Sealant and Primer | (a) M/s Ameya Dye chem Pvt Ltd (ADPL) (b) CIPY Polyurethanes Pvt Ltd (c) Pidilite Industries Ltd (d) Sika India Pvt Ltd (e) AI Stone (f) BASF (g) STP Ltd (h) Maruti Bitumen Pvt Ltd | (a) M/s Ameya Dye chem Pvt Ltd (ADPL) (b) CIPY Polyurethanes Pvt Ltd (c) Pidilite Industries Ltd (d) Sika India Pvt Ltd (e) AI Stone (f) BASF (g) STP Ltd (h) Maruti Bitumen Pvt Ltd |  |
| 78 | Backup rod | (a) STP Limited (b) Supreme Industries ltd | (a) STP Limited (b) Supreme Industries ltd |  |
| 79 | Expansion Pad | Supreme Industries Ltd ,STP LTD | Supreme Industries Ltd ,STP LTD |  |
| 80 | Premoulded Joint filler (IS-1838) | (a) Tikitar Industries Ltd, (b) STP Ltd (c) Capital Steel & Chemicals, (d) M/s Garlick & Co Pvt Ltd | (a) Tikitar Industries Ltd, (b) STP Ltd (c) Capital Steel & Chemicals, (d) M/s Garlick & Co Pvt Ltd |  |
| 81 | Polymer modified Bitumen (PMB-40/70) /Polymer modified emulsion | a) M/s Ooms Polymer Modified Bitumen Pvt Ltd b) M/s Shell India Market Pvt Ltd c) HINDUSTAN COLAS Ltd, New delhi | a) M/s Ooms Polymer Modified Bitumen Pvt Ltd b) M/s Shell India Market Pvt Ltd c) HINDUSTAN COLAS Ltd, New delhi |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 161

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 93 | Refurbishment | a) Sika India Pvt Ltd | a) Sika India Pvt Ltd |  |
| --- | --- | --- | --- | --- |
|  | Concrete surface Improvement | M/s BASF India Ltd,STP LTD | M/s BASF India Ltd,STP LTD |  |
| 94 | Bitumen Emulsion | Shiva Asphaltic products Pvt Ltd M/s Shell India Markets Pvt Ltd M/s LN Petro Chem Pvt Ltd,STP LTD, Maruti Bitumen Pvt Ltd | Shiva Asphaltic products Pvt Ltd M/s Shell India Markets Pvt Ltd M/s LN Petro Chem Pvt Ltd,STP LTD, Maruti Bitumen Pvt Ltd |  |
| 95 | Non circular synthetic fibre | Recron 3S. | Recron 3S. |  |
| 96 | Repair and rehabilitation/Bonding agent/Grouts | a) The Structural Water Proofing Co Pvt Ltd b) Pidilite Industries Ltd c) Sika India Pvt Ltd d) STP Ltd e) BASF India Ltd | a) The Structural Water Proofing Co Pvt Ltd b) Pidilite Industries Ltd c) Sika India Pvt Ltd d) STP Ltd e) BASF India Ltd |  |
| 97 | Reinforcement Glass Grid | a) M/s HMBS Textiles Pvt Ltd b) Maccaferri Environmental Solutions Pvt Ltd\ c) Tech Fab (India) Industries Ltd d) Giridhar Tech Fab Pvt Ltd | a) M/s HMBS Textiles Pvt Ltd b) Maccaferri Environmental Solutions Pvt Ltd\ c) Tech Fab (India) Industries Ltd d) Giridhar Tech Fab Pvt Ltd |  |
| 98 | Curing Compound | a) The Structural Water Proofing Co Pvt Ltd b) STP Ltd (c) SIKA INDIA PVT LTD(d)BASF (e)Maruti Bitumen Pvt Ltd | a) The Structural Water Proofing Co Pvt Ltd b) STP Ltd (c) SIKA INDIA PVT LTD(d)BASF (e)Maruti Bitumen Pvt Ltd |  |
| 99 | Admixtures for PQC/DLC | a) SIKA India Pvt Ltd b) STP Ltd c) BASF India Ltd d) The Structural Water Proofing Co Pvt Ltd (e)Maruti Bitumen Pvt Ltd | a) SIKA India Pvt Ltd b) STP Ltd c) BASF India Ltd d) The Structural Water Proofing Co Pvt Ltd (e)Maruti Bitumen Pvt Ltd |  |
| 100 | Ready Mix Concrete | Alliance Concrete construction Company Adampur/RMC India Ludhiana/ACC Ludhiana/Lafarge Amritsar | Alliance Concrete construction Company Adampur/RMC India Ludhiana/ACC Ludhiana/Lafarge Amritsar |  |
| 101 | Hangar Doors | M/S Butzbach Industries(Jugapro) M/S RCC Eco Build Systems Ltdd | M/S Butzbach Industries(Jugapro) M/S RCC Eco Build Systems Ltdd |  |

Contd/---

CA NO:  CWE/GGN/F-34/2018-19    	     																Serial Page No 162

PARTICULAR SPECIFICATION (CONTD….)

Appendix ‘D’(Contd…)

LIST OF MAKES / FIRMS/ MANUFACTURERS OF MATERIALS

| 102 | Polymeric Bitumen Emulsion | (a)M/S Shell India Markets Private Ltd (b) M/S LN Petro Chem Private Ltdd (c) M/S Maruti Bitumen Pvt Ltd | (a)M/S Shell India Markets Private Ltd (b) M/S LN Petro Chem Private Ltdd (c) M/S Maruti Bitumen Pvt Ltd |  |
| --- | --- | --- | --- | --- |
| 103 | Soil Stabilizer | M/S Alchemist Touchnology Ltd | M/S Alchemist Touchnology Ltd |  |
| 104 | Pothole Repair | M/S Shell India Markets Pvt Ltd, M/S Fosroc Chemicals, M/S STP Ltd, M/S Tiki Tar Industries (Baroda) Ltd, M/S Choksey Chemicals Pvt Ltd | M/S Shell India Markets Pvt Ltd, M/S Fosroc Chemicals, M/S STP Ltd, M/S Tiki Tar Industries (Baroda) Ltd, M/S Choksey Chemicals Pvt Ltd |  |
| 105 | Reinforcement/Concrete Protective Coatings/Systems | a) SIKA India Pvt Ltd b) BASF India Ltd c)Maruti Bitumen Pvt Ltd (d) M/S Fosroc Chemicals | a) SIKA India Pvt Ltd b) BASF India Ltd c)Maruti Bitumen Pvt Ltd (d) M/S Fosroc Chemicals |  |
| 106 | Rolled frames GI section windows | (a) NCL (b) Ashish Industries | (a) NCL (b) Ashish Industries |  |
| 107 | EPOXY POLYURETHANE FLOORING | a) SIKA India Pvt Ltd b) STP Ltd c) Choksey Chemicals Pvt Ltd (d) M/S Fosroc Chemicals (e) CIPY Polyurethanes Pvt Ltd | a) SIKA India Pvt Ltd b) STP Ltd c) Choksey Chemicals Pvt Ltd (d) M/S Fosroc Chemicals (e) CIPY Polyurethanes Pvt Ltd |  |

Notes:-

(i)	If makes of items specified in Schedule ‘A’ are mentioned, than makes mentioned in Schedule ‘A’ are to be provided and makes of Group-2 of Appendix- B shall be provided if makes are not mentioned in Schedule ‘A’

(ii)	In case makes mentioned in Group-2 are not available than Group I products shall be provided.

(iii)	In case makes are not specified in the tender documents, these shall be confirming to IS.

_____________________________                														SSW

(SIGNATURE OF CONTRACTOR)               													FOR ACCEPTING OFFICER

DATE: _______________

CA NO  :  CWE/GGN/F-34/2018-19		     			Serial Page No 163

Appendix ‘E’

CEMENT SUPPLY AND ACCEPTANCE REGISTER

1. CA No & Name of Work: CWE/GGN/F-34/2018-19: REPAIR AND RENOVATION TO BLDG NO P-4, P-8, P-10, P-236, P-238, P-259 AND JCOS/OR MARRIED ACCOMMODATION (J-01 TO J-04 & N-01 TO N-14) AT HQ SFF CAMP MAUDE LINES DELHI CANTT UNDER GE (AF) FARIDABAD

2.	Control No	:

3.	Name of Manufacturer/Brand Name/Gde of Cement:

(a)	Manufacturer……………	(b)	Brand…………	(c)	Grade…………

4.	Qty of cement & Lot No/Week No (in Bags):  (a)	Qty………………………….		(b)	Lot No /Week No………………

5.	Manufacturer’s test Certificates to ………………………..

6.	Random Test Details:

(a)	Physical test report from…………………………… vide their letter No ………

(Name of approved Lab/Engg College)

(b)	Chemical test report from ……………………….. vide their letter No ……………..

(Name of approved Lab/Engg College)

7.	Details of Physical & Chemical properties:-

|  | Physical Requirements (As per IS 4031) |  |  |  |  |  |  |  |  |  | Chemical Requirements (As per IS 4032) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Specific Surface (Area (M 2/Kg | Soundness by Le Chatellar | Soundness by Auto Clave | Initial Setting Time (Minutes) | Final Setting Time (Minutes) | 03 days | 07 days | 28 days | Temp during testing 0 C | Stranded Consistency (%) | Lime Saturation Factor (Ratio) | Alumina iron Ratio (Ratio) | Insoluble Residue (%) | Magnesium (%) | Sulphuric Anhydride (%) | Loss on lgnition (%) | Alkalies (%) | Chlorides (%) |
| As per relevant IS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Remarks with Signature								Accepted/Rejected

Contractor	Junior Engineer		Engineer-in-Charge		Garrison Engineer

Remarks of BOO/Inspecting Office/CWE

Signature of Contractor

SSW

Dated: _______________						for Accepting Officer